## Executive Summary
nM
Analyte | DTXSID | Mix | R2 | MDL | eLOQ | AF A | AF B | AF C | T1 A | T1 B | T1 C | T5 A | T5 B | T5 C | Fu A | Fu B | Fu C | Avg Fu | Std Dev Fu | CV (%)
Perfluorooctadipic acid | DTXSID4059833 | 2 | 0.996 | 0.58585 | 1.82 | 1430.8109 | 1578.3574 | 1474.0909 | 12013.1344 | 11721.2584 | 11745.3 | 13924.348 | 12322.5272 | 12255.0424 | 0.10276 | 0.12809 | 0.12028 | 0.11704 | 0.012973 | 11.08%

## Raw Data
Quantify Compound Summary Report
Printed Mon May 03 11:52:54 2021
Compound 1: octafluoroadipic
| # | Name | Sample Text | Type | RT | Area | Height | IS Area | Response | Coeff. Of Determination | Std. Conc | nM | %Dev | Primary Flags | Acq.Date
1 | 1 | 20210426_PFAS_PPB_UC_Sample001 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-26
2 | 2 | 20210426_PFAS_PPB_UC_Sample002 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-26
3 | 3 | 20210426_PFAS_PPB_UC_Sample003 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-26
4 | 4 | 20210426_PFAS_PPB_UC_Sample004 | Crash Blank | Blank | [5 empty] | 0.996 |  |  |  |  | 2021-04-26
5 | 5 | 20210426_PFAS_PPB_UC_Sample005 | Crash Mixed Matrix Blank | Blank | 1.65 | 0.576 | 21 | 17652.006 | 0 | 0.996 |  |  |  | MMI | 2021-04-26
6 | 6 | 20210426_PFAS_PPB_UC_Sample006 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  | MM- | 2021-04-26
7 | 7 | 20210426_PFAS_PPB_UC_Sample007 | CC1 - 0.053 pg/uL | Standard | 1.5 | 9.463 | 72 | 17982.123 | 0 | 0.996 | 0.17 | 0.3211 | 88.89 | MM | 2021-04-26
8 | 8 | 20210426_PFAS_PPB_UC_Sample008 | CC2 - 0.085 pg/uL | Standard | 1.87 | 6.415 | 64 | 17972.965 | 0 | 0.996 | 0.28 | 0.11825 | -57.77 | MM | 2021-04-26
9 | 9 | 20210426_PFAS_PPB_UC_Sample009 | CC3 - 0.135 pg/uL | Standard | 1.63 | 12.306 | 74 | 18890.436 | 0 | 0.996 | 0.44 | 0.4711 | 7.07 | MM | 2021-04-26
10 | 10 | 20210426_PFAS_PPB_UC_Sample010 | CC4 - 0.217 pg/uL | Standard | 1.72 | 16.929 | 132 | 17945.406 | 0 | 0.996 | 0.71 | 0.82085 | 15.61 | MM | 2021-04-26
11 | 11 | 20210426_PFAS_PPB_UC_Sample011 | CC5 - 0.347 pg/uL | Standard | 1.69 | 31.228 | 202 | 22943.939 | 0 | 0.996 | 1.14 | 1.3213 | 15.91 | MM | 2021-04-26
12 | 12 | 20210426_PFAS_PPB_UC_Sample012 | CC6 - 0.555 pg/uL | Standard | 1.62 | 26.267 | 171 | 17147.428 | 0 | 0.996 | 1.82 | 1.526 | -16.16 | MM | 2021-04-26
13 | 13 | 20210426_PFAS_PPB_UC_Sample013 | Crash Blank | Blank | [5 empty] | 0.996 |  |  |  |  | 2021-04-26
14 | 14 | 20210426_PFAS_PPB_UC_Sample014 | CC7 - 0.888 pg/uL | Standard | 1.74 | 56.507 | 337 | 19809.535 | 0 | 0.996 | 2.91 | 3.1086 | 6.83 | MM | 2021-04-26
15 | 15 | 20210426_PFAS_PPB_UC_Sample015 | CC8 - 1.420 pg/uL | Standard | 1.7 | 72.001 | 412 | 18169.176 | 0 | 0.996 | 4.66 | 4.4394 | -4.73 | MM | 2021-04-26
16 | 16 | 20210426_PFAS_PPB_UC_Sample016 | CC9 - 2.272 pg/uL | Standard | 1.65 | 118.369 | 752 | 22449.201 | 0 | 0.996 | 7.45 | 6.0099 | -19.33 | MM | 2021-04-26
17 | 17 | 20210426_PFAS_PPB_UC_Sample017 | CC10 - 3.636 pg/uL | Standard | 1.66 | 241.252 | 1338 | 20868.342 | 0 | 0.996 | 11.92 | 13.5526 | 13.7 | MM | 2021-04-26
18 | 18 | 20210426_PFAS_PPB_UC_Sample018 | CC11 - 5.817 pg/uL | Standard | 1.67 | 354.505 | 2034 | 20127.174 | 0 | 0.996 | 19.07 | 20.82 | 9.18 | MM | 2021-04-26
19 | 19 | 20210426_PFAS_PPB_UC_Sample019 | CC12 - 9.308 pg/uL | Standard | 1.66 | 535.869 | 3199 | 19876.451 | 0 | 0.996 | 30.52 | 32.0565 | 5.03 | MM | 2021-04-26
20 | 20 | 20210426_PFAS_PPB_UC_Sample020 | Crash Mixed Matrix Blank | Blank | 1.79 | 10.559 | 70 | 18577.885 | 0 | 0.996 |  | 0.37157 |  | MM | 2021-04-26
21 | 21 | 20210426_PFAS_PPB_UC_Sample021 | CC13 - 14.893 pg/uL | Standard | 1.67 | 839.563 | 4652 | 19941.707 | 0 | 0.996 | 48.83 | 50.2939 | 3 | MM | 2021-04-26
22 | 22 | 20210426_PFAS_PPB_UC_Sample022 | CC14 - 23.828 pg/uL | Standard | 1.67 | 1266.612 | 8373 | 18942.52 | 0.001 | 0.996 | 78.13 | 80.219 | 2.67 | MM | 2021-04-26
23 | 23 | 20210426_PFAS_PPB_UC_Sample023 | CC15 - 38.125 pg/uL | Standard | 1.66 | 2277.205 | 12591 | 21535.51 | 0.001 | 0.996 | 125 | 127.4354 | 1.95 | MM | 2021-04-26
24 | 24 | 20210426_PFAS_PPB_UC_Sample024 | CC16 - 47.656 pg/uL | Standard | 1.67 | 2563.659 | 14701 | 19472.326 | 0.001 | 0.996 | 156.25 | 159.0757 | 1.81 | MM | 2021-04-26
25 | 25 | 20210426_PFAS_PPB_UC_Sample025 | CC17 - 76.250 pg/uL | Standard | 1.68 | 4085.582 | 24417 | 19638.408 | 0.002 | 0.996 | 250 | 253.1255 | 1.25 | MM | 2021-04-26
26 | 26 | 20210426_PFAS_PPB_UC_Sample026 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  | MM- | 2021-04-26
27 | 27 | 20210426_PFAS_PPB_UC_Sample027 | QC-A | QC | 1.7 | 19.152 | 128 | 19718.521 | 0 | 0.996 | 0.63 | 0.85429 | 35.6 | MM | 2021-04-26
28 | 28 | 20210426_PFAS_PPB_UC_Sample028 | QC-B | QC | 1.66 | 51.847 | 315 | 19527.705 | 0 | 0.996 | 2.5 | 2.872 | 14.88 | MM | 2021-04-26
29 | 29 | 20210426_PFAS_PPB_UC_Sample029 | QC-C | QC | 1.7 | 98.649 | 623 | 19268.641 | 0 | 0.996 | 6.25 | 5.8263 | -6.78 | MM | 2021-04-26
30 | 30 | 20210426_PFAS_PPB_UC_Sample030 | QC-D | QC | 1.71 | 389.258 | 2165 | 19696.182 | 0 | 0.996 | 25 | 23.4031 | -6.39 | MM | 2021-04-26
31 | 31 | 20210426_PFAS_PPB_UC_Sample031 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-26
32 | 32 | 20210426_PFAS_PPB_UC_Sample032 | CC1 - 0.053 pg/uL | Standard | 1.49 | 9.658 | 59 | 19245.213 | 0 | 0.996 | 0.17 | 0.29187 | 71.69 | MM | 2021-04-26
33 | 33 | 20210426_PFAS_PPB_UC_Sample033 | CC2 - 0.085 pg/uL | Standard | 1.59 | 12.184 | 70 | 18883.75 | 0 | 0.996 | 0.28 | 0.46364 | 65.58 | MM | 2021-04-26
34 | 34 | 20210426_PFAS_PPB_UC_Sample034 | CC3 - 0.135 pg/uL | Standard | 1.66 | 16.598 | 137 | 19614.271 | 0 | 0.996 | 0.44 | 0.70447 | 60.11 | MM | 2021-04-26
35 | 35 | 20210426_PFAS_PPB_UC_Sample035 | CC4 - 0.217 pg/uL | Standard | 1.7 | 18.52 | 114 | 18210.824 | 0 | 0.996 | 0.71 | 0.90906 | 28.04 | MM | 2021-04-26
36 | 36 | 20210426_PFAS_PPB_UC_Sample036 | CC5 - 0.347 pg/uL | Standard | 1.66 | 32.272 | 229 | 23353.961 | 0 | 0.996 | 1.14 | 1.3463 | 18.09 | MM | 2021-04-26
37 | 37 | 20210426_PFAS_PPB_UC_Sample037 | CC6 - 0.555 pg/uL | Standard | 1.64 | 23.887 | 186 | 17945.646 | 0 | 0.996 | 1.82 | 1.2854 | -29.37 | MM | 2021-04-26
38 | 38 | 20210426_PFAS_PPB_UC_Sample038 | Crash Mixed Matrix Blank | Blank | 1.61 | 7.808 | 60 | 19293.148 | 0 | 0.996 |  | 0.17549 |  | MM | 2021-04-26
39 | 39 | 20210426_PFAS_PPB_UC_Sample039 | CC1 - 0.053 pg/uL | Standard | 1.72 | 10.709 | 86 | 19577.539 | 0 | 0.996 | 0.17 | 0.34598 | 103.52 | MM | 2021-04-26
40 | 40 | 20210426_PFAS_PPB_UC_Sample040 | CC2 - 0.085 pg/uL | Standard | 1.63 | 6.224 | 58 | 18687.93 | 0 | 0.996 | 0.28 | 0.08965 | -67.98 | MM | 2021-04-26
41 | 41 | 20210426_PFAS_PPB_UC_Sample041 | CC3 - 0.135 pg/uL | Standard | 1.73 | 10.666 | 84 | 19424.961 | 0 | 0.996 | 0.44 | 0.34847 | -20.8 | MM | 2021-04-26
42 | 42 | 20210426_PFAS_PPB_UC_Sample042 | CC4 - 0.217 pg/uL | Standard | 1.62 | 13.559 | 93 | 18550.344 | 0 | 0.996 | 0.71 | 0.56633 | -20.23 | MM | 2021-04-26
43 | 43 | 20210426_PFAS_PPB_UC_Sample043 | CC5 - 0.347 pg/uL | Standard | 1.69 | 31.711 | 184 | 23802.168 | 0 | 0.996 | 1.14 | 1.2868 | 12.88 | MM | 2021-04-26
44 | 44 | 20210426_PFAS_PPB_UC_Sample044 | CC6 - 0.555 pg/uL | Standard | 1.69 | 26.436 | 196 | 17798.01 | 0 | 0.996 | 1.82 | 1.4702 | -19.22 | MM | 2021-04-27
45 | 45 | 20210426_PFAS_PPB_UC_Sample045 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
46 | 46 | 20210426_PFAS_PPB_UC_Sample046 | UC_AF_Mix2_A | Analyte | 1.67 | 712.375 | 4415 | 19011.229 | 0 | 0.996 |  | 44.7128 |  | MM | 2021-04-27
47 | 47 | 20210426_PFAS_PPB_UC_Sample047 | UC_AF_Mix2_B | Analyte | 1.67 | 797.301 | 4166 | 19306.85 | 0 | 0.996 |  | 49.3237 |  | MM | 2021-04-27
48 | 48 | 20210426_PFAS_PPB_UC_Sample048 | UC_AF_Mix2_C | Analyte | 1.67 | 793.19 | 4231 | 20552.422 | 0 | 0.996 |  | 46.0653 |  | MM | 2021-04-27
49 | 49 | 20210426_PFAS_PPB_UC_Sample049 | Crash Mixed Matrix Blank | Blank |  |  |  | 20002.777 |  | 0.996 |  |  |  |  | 2021-04-27
50 | 50 | 20210426_PFAS_PPB_UC_Sample050 | UC_T1hr_Mix2_A | Analyte | 1.66 | 2935.418 | 15668 | 23602.537 | 0.001 | 0.996 |  | 150.1642 |  | MM | 2021-04-27
51 | 51 | 20210426_PFAS_PPB_UC_Sample051 | UC_T1hr_Mix2_B | Analyte | 1.66 | 3120.935 | 17093 | 25711.563 | 0.001 | 0.996 |  | 146.5157 |  | MM | 2021-04-27
52 | 52 | 20210426_PFAS_PPB_UC_Sample052 | UC_T1hr_Mix2_C | Analyte | 1.65 | 2943.644 | 16358 | 24201.912 | 0.001 | 0.996 |  | 146.8162 |  | MM | 2021-04-27
53 | 53 | 20210426_PFAS_PPB_UC_Sample053 | Crash Blank | Blank | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
54 | 54 | 20210426_PFAS_PPB_UC_Sample054 | UC_T5hr_Mix2_A | Analyte | 1.66 | 2927.502 | 16329 | 20345.916 | 0.001 | 0.996 |  | 174.0543 |  | MM | 2021-04-27
55 | 55 | 20210426_PFAS_PPB_UC_Sample055 | UC_T5hr_Mix2_B | Analyte | 1.67 | 2857.587 | 16426 | 22406.723 | 0.001 | 0.996 |  | 154.0316 |  | MM | 2021-04-27
56 | 56 | 20210426_PFAS_PPB_UC_Sample056 | UC_T5hr_Mix2_C | Analyte | 1.65 | 2940.04 | 15083 | 23178.645 | 0.001 | 0.996 |  | 153.188 |  | MM | 2021-04-27
57 | 57 | 20210426_PFAS_PPB_UC_Sample057 | Crash Mixed Matrix Blank | Blank |  |  |  | 20263.445 |  | 0.996 |  |  |  |  | 2021-04-27
58 | 58 | 20210426_PFAS_PPB_UC_Sample058 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
59 | 59 | 20210426_PFAS_PPB_UC_Sample059 | CC1 - 0.053 pg/uL | Standard | 1.69 | 9.923 | 59 | 20184.883 | 0 | 0.996 | 0.17 | 0.2796 | 64.47 | MM | 2021-04-27
60 | 60 | 20210426_PFAS_PPB_UC_Sample060 | CC2 - 0.085 pg/uL | Standard | 1.55 | 11.804 | 73 | 19881.344 | 0 | 0.996 | 0.28 | 0.40195 | 43.55 | MM | 2021-04-27
61 | 61 | 20210426_PFAS_PPB_UC_Sample061 | CC3 - 0.135 pg/uL | Standard | 1.72 | 15.02 | 152 | 20468.559 | 0 | 0.996 | 0.44 | 0.56978 | 29.5 | MM | 2021-04-27
62 | 62 | 20210426_PFAS_PPB_UC_Sample062 | CC4 - 0.217 pg/uL | Standard | 1.77 | 11.573 | 92 | 19090.504 | 0 | 0.996 | 0.71 | 0.41692 | -41.28 | MM | 2021-04-27
63 | 63 | 20210426_PFAS_PPB_UC_Sample063 | CC5 - 0.347 pg/uL | Standard | 1.69 | 19.077 | 115 | 24190.055 | 0 | 0.996 | 1.14 | 0.63547 | -44.26 | MM | 2021-04-27
64 | 64 | 20210426_PFAS_PPB_UC_Sample064 | CC6 - 0.555 pg/uL | Standard | 1.67 | 28.415 | 241 | 18563.932 | 0 | 0.996 | 1.82 | 1.5246 | -16.23 | MM | 2021-04-27
65 | 65 | 20210426_PFAS_PPB_UC_Sample065 | Crash Blank | Blank | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
66 | 66 | 20210426_PFAS_PPB_UC_Sample066 | CC7 - 0.888 pg/uL | Standard | 1.64 | 47.085 | 258 | 21701.838 | 0 | 0.996 | 2.91 | 2.2902 | -21.3 | MM | 2021-04-27
67 | 67 | 20210426_PFAS_PPB_UC_Sample067 | CC8 - 1.420 pg/uL | Standard | 1.65 | 58.069 | 449 | 19398.408 | 0 | 0.996 | 4.66 | 3.2776 | -29.67 | MM | 2021-04-27
68 | 68 | 20210426_PFAS_PPB_UC_Sample068 | CC9 - 2.272 pg/uL | Standard | 1.64 | 140.432 | 890 | 24118.762 | 0 | 0.996 | 7.45 | 6.669 | -10.48 | MM | 2021-04-27
69 | 69 | 20210426_PFAS_PPB_UC_Sample069 | CC10 - 3.636 pg/uL | Standard | 1.66 | 224.847 | 1391 | 22057.348 | 0 | 0.996 | 11.92 | 11.9122 | -0.07 | MM | 2021-04-27
70 | 70 | 20210426_PFAS_PPB_UC_Sample070 | CC11 - 5.817 pg/uL | Standard | 1.62 | 326.014 | 1735 | 21287.195 | 0 | 0.996 | 19.07 | 18.0597 | -5.3 | MM | 2021-04-27
71 | 71 | 20210426_PFAS_PPB_UC_Sample071 | CC12 - 9.308 pg/uL | Standard | 1.64 | 559.247 | 2908 | 21331.479 | 0 | 0.996 | 30.52 | 31.1626 | 2.11 | MM | 2021-04-27
72 | 72 | 20210426_PFAS_PPB_UC_Sample072 | Crash Mixed Matrix Blank | Blank | 1.77 | 5.388 | 39 | 21225.229 | 0 | 0.996 |  |  |  | MMI | 2021-04-27
73 | 73 | 20210426_PFAS_PPB_UC_Sample073 | CC13 - 14.893 pg/uL | Standard | 1.66 | 821.598 | 4441 | 21290.678 | 0 | 0.996 | 48.83 | 46.0606 | -5.67 | MM | 2021-04-27
74 | 74 | 20210426_PFAS_PPB_UC_Sample074 | CC14 - 23.828 pg/uL | Standard | 1.67 | 1368.343 | 8065 | 20821.406 | 0.001 | 0.996 | 78.13 | 78.8292 | 0.89 | MM | 2021-04-27
75 | 75 | 20210426_PFAS_PPB_UC_Sample075 | CC15 - 38.125 pg/uL | Standard | 1.65 | 2410.583 | 13262 | 23162.967 | 0.001 | 0.996 | 125 | 125.3994 | 0.32 | MM | 2021-04-27
76 | 76 | 20210426_PFAS_PPB_UC_Sample076 | CC16 - 47.656 pg/uL | Standard | 1.65 | 2659.883 | 15069 | 21138.355 | 0.001 | 0.996 | 156.25 | 151.9527 | -2.75 | MM | 2021-04-27
77 | 77 | 20210426_PFAS_PPB_UC_Sample077 | CC17 - 76.250 pg/uL | Standard | 1.66 | 4199.565 | 24842 | 20806.488 | 0.002 | 0.996 | 250 | 245.4454 | -1.82 | MM | 2021-04-27
78 | 78 | 20210426_PFAS_PPB_UC_Sample078 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  | MM- | 2021-04-27
79 | 79 | 20210426_PFAS_PPB_UC_Sample079 | QC-A | QC | 1.61 | 24.063 | 116 | 21178.283 | 0 | 0.996 | 0.63 | 1.0519 | 66.97 | MM | 2021-04-27
80 | 80 | 20210426_PFAS_PPB_UC_Sample080 | QC-B | QC | 1.68 | 38.404 | 222 | 21288.953 | 0 | 0.996 | 2.5 | 1.852 | -25.92 | MM | 2021-04-27
81 | 81 | 20210426_PFAS_PPB_UC_Sample081 | QC-C | QC | 1.7 | 90.05 | 507 | 20363.877 | 0 | 0.996 | 6.25 | 4.99 | -20.16 | MM | 2021-04-27
82 | 82 | 20210426_PFAS_PPB_UC_Sample082 | QC-D | QC | 1.69 | 414.772 | 2207 | 21171.502 | 0 | 0.996 | 25 | 23.1963 | -7.21 | MM | 2021-04-27
83 | 83 | 20210426_PFAS_PPB_UC_Sample083 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
84 | 84 | 20210426_PFAS_PPB_UC_Sample084 | Crash Mixed Matrix Blank | Blank | 1.49 | 9.65 | 72 | 21873.691 | 0 | 0.996 |  | 0.21918 |  | MM | 2021-04-27
85 | 85 | 20210426_PFAS_PPB_UC_Sample085 | CC1 - 0.053 pg/uL | Standard | 1.76 | 6.643 | 51 | 21563.041 | 0 | 0.996 | 0.17 | 0.05973 | -64.87 | MM | 2021-04-27
86 | 86 | 20210426_PFAS_PPB_UC_Sample086 | CC2 - 0.085 pg/uL | Standard | 1.66 | 11.617 | 90 | 20940.6 | 0 | 0.996 | 0.28 | 0.35527 | 26.88 | MM | 2021-04-27
87 | 87 | 20210426_PFAS_PPB_UC_Sample087 | CC3 - 0.135 pg/uL | Standard | 1.66 | 9.481 | 64 | 21389.67 | 0 | 0.996 | 0.44 | 0.22167 | -49.62 | MM | 2021-04-27
88 | 88 | 20210426_PFAS_PPB_UC_Sample088 | CC4 - 0.217 pg/uL | Standard | 1.7 | 20.413 | 164 | 20121.535 | 0 | 0.996 | 0.71 | 0.90607 | 27.62 | MM | 2021-04-27
89 | 89 | 20210426_PFAS_PPB_UC_Sample089 | CC5 - 0.347 pg/uL | Standard | 1.77 | 28.265 | 167 | 25246.25 | 0 | 0.996 | 1.14 | 1.032 | -9.48 | MM | 2021-04-27
90 | 90 | 20210426_PFAS_PPB_UC_Sample090 | CC6 - 0.555 pg/uL | Standard | 1.65 | 33.379 | 248 | 19383.559 | 0 | 0.996 | 1.82 | 1.7539 | -3.63 | MM | 2021-04-27
91 | 91 | 20210426_PFAS_PPB_UC_Sample091 | Crash Mixed Matrix Blank | Blank | 1.81 | 8.02 | 64 | 19528.357 | 0 | 0.996 |  | 0.18266 |  | MM | 2021-04-27
92 | 92 | 20210426_PFAS_PPB_UC_Sample092 | CC1 - 0.053 pg/uL | Standard | 1.87 | 4.764 | 32 | 22119.461 | 0 | 0.996 | 0.17 |  |  | MMI | 2021-04-27
93 | 93 | 20210426_PFAS_PPB_UC_Sample093 | CC2 - 0.085 pg/uL | Standard | 1.71 | 4.488 | 34 | 21530.318 | 0 | 0.996 | 0.28 |  |  | MMI | 2021-04-27
94 | 94 | 20210426_PFAS_PPB_UC_Sample094 | CC3 - 0.135 pg/uL | Standard | 1.61 | 14.939 | 130 | 21824.785 | 0 | 0.996 | 0.44 | 0.5107 | 16.07 | MM | 2021-04-27
95 | 95 | 20210426_PFAS_PPB_UC_Sample095 | CC4 - 0.217 pg/uL | Standard | 1.69 | 17.098 | 111 | 20076.127 | 0 | 0.996 | 0.71 | 0.71098 | 0.14 | MM | 2021-04-27
96 | 96 | 20210426_PFAS_PPB_UC_Sample096 | CC5 - 0.347 pg/uL | Standard | 1.62 | 26.836 | 152 | 25515.787 | 0 | 0.996 | 1.14 | 0.95071 | -16.6 | MM | 2021-04-27
97 | 97 | 20210426_PFAS_PPB_UC_Sample097 | CC6 - 0.555 pg/uL | Standard | 1.66 | 31.606 | 179 | 19635.27 | 0 | 0.996 | 1.82 | 1.6192 | -11.03 | MM | 2021-04-27
98 | 98 | 20210426_PFAS_PPB_UC_Sample098 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
99 | 99 | 20210426_PFAS_PPB_UC_Sample099 | CC1 - 0.053 pg/uL | Standard | 1.74 | 9.677 | 57 | 22370.643 | 0 | 0.996 | 0.17 | 0.20888 | 22.87 | MM | 2021-04-27
100 | 100 | 20210426_PFAS_PPB_UC_Sample100 | CC2 - 0.085 pg/uL | Standard | 1.7 | 13.68 | 73 | 21678.836 | 0 | 0.996 | 0.28 | 0.44665 | 59.52 | MM | 2021-04-27
101 | 101 | 20210426_PFAS_PPB_UC_Sample101 | CC3 - 0.135 pg/uL | Standard | 1.67 | 16.007 | 125 | 22074.059 | 0 | 0.996 | 0.44 | 0.55941 | 27.14 | MM | 2021-04-27
102 | 102 | 20210426_PFAS_PPB_UC_Sample102 | CC4 - 0.217 pg/uL | Standard | 1.66 | 19.175 | 120 | 20386.076 | 0 | 0.996 | 0.71 | 0.81754 | 15.15 | MM | 2021-04-27
103 | 103 | 20210426_PFAS_PPB_UC_Sample103 | CC5 - 0.347 pg/uL | Standard | 1.63 | 23.665 | 208 | 25443.777 | 0 | 0.996 | 1.14 | 0.80495 | -29.39 | MM | 2021-04-27
104 | 104 | 20210426_PFAS_PPB_UC_Sample104 | CC6 - 0.555 pg/uL | Standard | 1.68 | 36.303 | 267 | 20158.318 | 0 | 0.996 | 1.82 | 1.8484 | 1.56 | MM | 2021-04-27
105 | 105 | 20210426_PFAS_PPB_UC_Sample105 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
106 | 106 | 20210426_PFAS_PPB_UC_Sample106 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
107 | 107 | 20210426_PFAS_PPB_UC_Sample107 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
108 | 108 | 20210426_PFAS_PPB_UC_Sample108 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
109 | 109 | 20210426_PFAS_PPB_UC_Sample109 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
110 | 110 | 20210426_PFAS_PPB_UC_Sample110 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
111 | 111 | 20210426_PFAS_PPB_UC_Sample111 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
112 | 112 | 20210426_PFAS_PPB_UC_Sample112 | Solvent Blank | Solvent | [5 empty] | 0.996 |  |  |  |  | 2021-04-27
Compound 2: pyruvate
| # | Name | Sample Text | Type | RT | Area | Height | IS Area | Response | Coeff. Of Determination | Std. Conc | nM | %Dev | Primary Flags | Acq.Date
1 | 1 | 20210426_PFAS_PPB_UC_Sample001 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-26
2 | 2 | 20210426_PFAS_PPB_UC_Sample002 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-26
3 | 3 | 20210426_PFAS_PPB_UC_Sample003 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-26
4 | 4 | 20210426_PFAS_PPB_UC_Sample004 | Crash Blank | Blank | [6 empty] | 0.01 |  |  | MM- | 2021-04-26
5 | 5 | 20210426_PFAS_PPB_UC_Sample005 | Crash Mixed Matrix Blank | Blank | 2.05 | 17652.006 | 139445 |  | 17652.006 |  | 0.01 | 0.00856 | -14.4 | MM | 2021-04-26
6 | 6 | 20210426_PFAS_PPB_UC_Sample006 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-26
7 | 7 | 20210426_PFAS_PPB_UC_Sample007 | CC1 - 0.053 pg/uL | Standard | 2.05 | 17982.123 | 140631 |  | 17982.123 |  | 0.01 | 0.00872 | -12.8 | MM | 2021-04-26
8 | 8 | 20210426_PFAS_PPB_UC_Sample008 | CC2 - 0.085 pg/uL | Standard | 2.05 | 17972.965 | 143182 |  | 17972.965 |  | 0.01 | 0.00872 | -12.84 | MM | 2021-04-26
9 | 9 | 20210426_PFAS_PPB_UC_Sample009 | CC3 - 0.135 pg/uL | Standard | 2.04 | 18890.436 | 147103 |  | 18890.436 |  | 0.01 | 0.00916 | -8.39 | MM | 2021-04-26
10 | 10 | 20210426_PFAS_PPB_UC_Sample010 | CC4 - 0.217 pg/uL | Standard | 2.05 | 17945.406 | 140704 |  | 17945.406 |  | 0.01 | 0.0087 | -12.98 | MM | 2021-04-26
11 | 11 | 20210426_PFAS_PPB_UC_Sample011 | CC5 - 0.347 pg/uL | Standard | 2.04 | 22943.939 | 176206 |  | 22943.939 |  | 0.01 | 0.01113 | 11.26 | MM | 2021-04-26
12 | 12 | 20210426_PFAS_PPB_UC_Sample012 | CC6 - 0.555 pg/uL | Standard | 2.04 | 17147.428 | 135053 |  | 17147.428 |  | 0.01 | 0.00832 | -16.85 | MM | 2021-04-26
13 | 13 | 20210426_PFAS_PPB_UC_Sample013 | Crash Blank | Blank | [6 empty] | 0.01 |  |  | MM- | 2021-04-26
14 | 14 | 20210426_PFAS_PPB_UC_Sample014 | CC7 - 0.888 pg/uL | Standard | 2.05 | 19809.535 | 154111 |  | 19809.535 |  | 0.01 | 0.00961 | -3.94 | MM | 2021-04-26
15 | 15 | 20210426_PFAS_PPB_UC_Sample015 | CC8 - 1.420 pg/uL | Standard | 2.04 | 18169.176 | 145983 |  | 18169.176 |  | 0.01 | 0.00881 | -11.89 | MM | 2021-04-26
16 | 16 | 20210426_PFAS_PPB_UC_Sample016 | CC9 - 2.272 pg/uL | Standard | 2.04 | 22449.201 | 172676 |  | 22449.201 |  | 0.01 | 0.01089 | 8.86 | MM | 2021-04-26
17 | 17 | 20210426_PFAS_PPB_UC_Sample017 | CC10 - 3.636 pg/uL | Standard | 2.04 | 20868.342 | 164105 |  | 20868.342 |  | 0.01 | 0.01012 | 1.2 | MM | 2021-04-26
18 | 18 | 20210426_PFAS_PPB_UC_Sample018 | CC11 - 5.817 pg/uL | Standard | 2.04 | 20127.174 | 161135 |  | 20127.174 |  | 0.01 | 0.00976 | -2.4 | MM | 2021-04-26
19 | 19 | 20210426_PFAS_PPB_UC_Sample019 | CC12 - 9.308 pg/uL | Standard | 2.04 | 19876.451 | 155628 |  | 19876.451 |  | 0.01 | 0.00964 | -3.61 | MM | 2021-04-26
20 | 20 | 20210426_PFAS_PPB_UC_Sample020 | Crash Mixed Matrix Blank | Blank | 2.04 | 18577.885 | 153071 |  | 18577.885 |  | 0.01 | 0.00901 | -9.91 | MM | 2021-04-26
21 | 21 | 20210426_PFAS_PPB_UC_Sample021 | CC13 - 14.893 pg/uL | Standard | 2.04 | 19941.707 | 152822 |  | 19941.707 |  | 0.01 | 0.00967 | -3.3 | MM | 2021-04-26
22 | 22 | 20210426_PFAS_PPB_UC_Sample022 | CC14 - 23.828 pg/uL | Standard | 2.04 | 18942.52 | 153928 |  | 18942.52 |  | 0.01 | 0.00919 | -8.14 | MM | 2021-04-26
23 | 23 | 20210426_PFAS_PPB_UC_Sample023 | CC15 - 38.125 pg/uL | Standard | 2.04 | 21535.51 | 172640 |  | 21535.51 |  | 0.01 | 0.01044 | 4.43 | MM | 2021-04-26
24 | 24 | 20210426_PFAS_PPB_UC_Sample024 | CC16 - 47.656 pg/uL | Standard | 2.04 | 19472.326 | 154182 |  | 19472.326 |  | 0.01 | 0.00944 | -5.57 | MM | 2021-04-26
25 | 25 | 20210426_PFAS_PPB_UC_Sample025 | CC17 - 76.250 pg/uL | Standard | 2.04 | 19638.408 | 160226 |  | 19638.408 |  | 0.01 | 0.00952 | -4.77 | MM | 2021-04-26
26 | 26 | 20210426_PFAS_PPB_UC_Sample026 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-26
27 | 27 | 20210426_PFAS_PPB_UC_Sample027 | QC-A | QC | 2.04 | 19718.521 | 158029 |  | 19718.521 |  | 0.01 | 0.00956 | -4.38 | MM | 2021-04-26
28 | 28 | 20210426_PFAS_PPB_UC_Sample028 | QC-B | QC | 2.04 | 19527.705 | 155235 |  | 19527.705 |  | 0.01 | 0.00947 | -5.3 | MM | 2021-04-26
29 | 29 | 20210426_PFAS_PPB_UC_Sample029 | QC-C | QC | 2.04 | 19268.641 | 154935 |  | 19268.641 |  | 0.01 | 0.00934 | -6.56 | MM | 2021-04-26
30 | 30 | 20210426_PFAS_PPB_UC_Sample030 | QC-D | QC | 2.04 | 19696.182 | 160708 |  | 19696.182 |  | 0.01 | 0.00955 | -4.49 | MM | 2021-04-26
31 | 31 | 20210426_PFAS_PPB_UC_Sample031 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-26
32 | 32 | 20210426_PFAS_PPB_UC_Sample032 | CC1 - 0.053 pg/uL | Standard | 2.04 | 19245.213 | 156764 |  | 19245.213 |  | 0.01 | 0.00933 | -6.67 | MM | 2021-04-26
33 | 33 | 20210426_PFAS_PPB_UC_Sample033 | CC2 - 0.085 pg/uL | Standard | 2.04 | 18883.75 | 151528 |  | 18883.75 |  | 0.01 | 0.00916 | -8.43 | MM | 2021-04-26
34 | 34 | 20210426_PFAS_PPB_UC_Sample034 | CC3 - 0.135 pg/uL | Standard | 2.04 | 19614.271 | 161197 |  | 19614.271 |  | 0.01 | 0.00951 | -4.88 | MM | 2021-04-26
35 | 35 | 20210426_PFAS_PPB_UC_Sample035 | CC4 - 0.217 pg/uL | Standard | 2.04 | 18210.824 | 148761 |  | 18210.824 |  | 0.01 | 0.00883 | -11.69 | MM | 2021-04-26
36 | 36 | 20210426_PFAS_PPB_UC_Sample036 | CC5 - 0.347 pg/uL | Standard | 2.04 | 23353.961 | 180197 |  | 23353.961 |  | 0.01 | 0.01133 | 13.25 | MM | 2021-04-26
37 | 37 | 20210426_PFAS_PPB_UC_Sample037 | CC6 - 0.555 pg/uL | Standard | 2.04 | 17945.646 | 146779 |  | 17945.646 |  | 0.01 | 0.0087 | -12.97 | MM | 2021-04-26
38 | 38 | 20210426_PFAS_PPB_UC_Sample038 | Crash Mixed Matrix Blank | Blank | 2.04 | 19293.148 | 159475 |  | 19293.148 |  | 0.01 | 0.00936 | -6.44 | MM | 2021-04-26
39 | 39 | 20210426_PFAS_PPB_UC_Sample039 | CC1 - 0.053 pg/uL | Standard | 2.04 | 19577.539 | 160872 |  | 19577.539 |  | 0.01 | 0.00949 | -5.06 | MM | 2021-04-26
40 | 40 | 20210426_PFAS_PPB_UC_Sample040 | CC2 - 0.085 pg/uL | Standard | 2.04 | 18687.93 | 149379 |  | 18687.93 |  | 0.01 | 0.00906 | -9.38 | MM | 2021-04-26
41 | 41 | 20210426_PFAS_PPB_UC_Sample041 | CC3 - 0.135 pg/uL | Standard | 2.04 | 19424.961 | 153131 |  | 19424.961 |  | 0.01 | 0.00942 | -5.8 | MM | 2021-04-26
42 | 42 | 20210426_PFAS_PPB_UC_Sample042 | CC4 - 0.217 pg/uL | Standard | 2.04 | 18550.344 | 151873 |  | 18550.344 |  | 0.01 | 0.009 | -10.04 | MM | 2021-04-26
43 | 43 | 20210426_PFAS_PPB_UC_Sample043 | CC5 - 0.347 pg/uL | Standard | 2.04 | 23802.168 | 188346 |  | 23802.168 |  | 0.01 | 0.01154 | 15.43 | MM | 2021-04-26
44 | 44 | 20210426_PFAS_PPB_UC_Sample044 | CC6 - 0.555 pg/uL | Standard | 2.04 | 17798.01 | 148940 |  | 17798.01 |  | 0.01 | 0.00863 | -13.69 | MM | 2021-04-27
45 | 45 | 20210426_PFAS_PPB_UC_Sample045 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
46 | 46 | 20210426_PFAS_PPB_UC_Sample046 | UC_AF_Mix2_A | Analyte | 2.04 | 19011.229 | 155018 |  | 19011.229 |  | 0.01 | 0.00922 | -7.81 | MM | 2021-04-27
47 | 47 | 20210426_PFAS_PPB_UC_Sample047 | UC_AF_Mix2_B | Analyte | 2.04 | 19306.85 | 149520 |  | 19306.85 |  | 0.01 | 0.00936 | -6.37 | MM | 2021-04-27
48 | 48 | 20210426_PFAS_PPB_UC_Sample048 | UC_AF_Mix2_C | Analyte | 2.04 | 20552.422 | 161382 |  | 20552.422 |  | 0.01 | 0.00997 | -0.33 | MM | 2021-04-27
49 | 49 | 20210426_PFAS_PPB_UC_Sample049 | Crash Mixed Matrix Blank | Blank | 2.04 | 20002.777 | 165237 |  | 20002.777 |  | 0.01 | 0.0097 | -3 | MM | 2021-04-27
50 | 50 | 20210426_PFAS_PPB_UC_Sample050 | UC_T1hr_Mix2_A | Analyte | 2.04 | 23602.537 | 190231 |  | 23602.537 |  | 0.01 | 0.01145 | 14.46 | MM | 2021-04-27
51 | 51 | 20210426_PFAS_PPB_UC_Sample051 | UC_T1hr_Mix2_B | Analyte | 2.04 | 25711.563 | 200318 |  | 25711.563 |  | 0.01 | 0.01247 | 24.68 | MM | 2021-04-27
52 | 52 | 20210426_PFAS_PPB_UC_Sample052 | UC_T1hr_Mix2_C | Analyte | 2.04 | 24201.912 | 186866 |  | 24201.912 |  | 0.01 | 0.01174 | 17.36 | MM | 2021-04-27
53 | 53 | 20210426_PFAS_PPB_UC_Sample053 | Crash Blank | Blank | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
54 | 54 | 20210426_PFAS_PPB_UC_Sample054 | UC_T5hr_Mix2_A | Analyte | 2.04 | 20345.916 | 161538 |  | 20345.916 |  | 0.01 | 0.00987 | -1.34 | MM | 2021-04-27
55 | 55 | 20210426_PFAS_PPB_UC_Sample055 | UC_T5hr_Mix2_B | Analyte | 2.04 | 22406.723 | 179535 |  | 22406.723 |  | 0.01 | 0.01087 | 8.66 | MM | 2021-04-27
56 | 56 | 20210426_PFAS_PPB_UC_Sample056 | UC_T5hr_Mix2_C | Analyte | 2.04 | 23178.645 | 182161 |  | 23178.645 |  | 0.01 | 0.01124 | 12.4 | MM | 2021-04-27
57 | 57 | 20210426_PFAS_PPB_UC_Sample057 | Crash Mixed Matrix Blank | Blank | 2.04 | 20263.445 | 167447 |  | 20263.445 |  | 0.01 | 0.00983 | -1.74 | MM | 2021-04-27
58 | 58 | 20210426_PFAS_PPB_UC_Sample058 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
59 | 59 | 20210426_PFAS_PPB_UC_Sample059 | CC1 - 0.053 pg/uL | Standard | 2.04 | 20184.883 | 166642 |  | 20184.883 |  | 0.01 | 0.00979 | -2.12 | MM | 2021-04-27
60 | 60 | 20210426_PFAS_PPB_UC_Sample060 | CC2 - 0.085 pg/uL | Standard | 2.03 | 19881.344 | 164205 |  | 19881.344 |  | 0.01 | 0.00964 | -3.59 | MM | 2021-04-27
61 | 61 | 20210426_PFAS_PPB_UC_Sample061 | CC3 - 0.135 pg/uL | Standard | 2.04 | 20468.559 | 164453 |  | 20468.559 |  | 0.01 | 0.00993 | -0.74 | MM | 2021-04-27
62 | 62 | 20210426_PFAS_PPB_UC_Sample062 | CC4 - 0.217 pg/uL | Standard | 2.04 | 19090.504 | 154771 |  | 19090.504 |  | 0.01 | 0.00926 | -7.42 | MM | 2021-04-27
63 | 63 | 20210426_PFAS_PPB_UC_Sample063 | CC5 - 0.347 pg/uL | Standard | 2.04 | 24190.055 | 188829 |  | 24190.055 |  | 0.01 | 0.01173 | 17.31 | MM | 2021-04-27
64 | 64 | 20210426_PFAS_PPB_UC_Sample064 | CC6 - 0.555 pg/uL | Standard | 2.03 | 18563.932 | 156895 |  | 18563.932 |  | 0.01 | 0.009 | -9.98 | MM | 2021-04-27
65 | 65 | 20210426_PFAS_PPB_UC_Sample065 | Crash Blank | Blank | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
66 | 66 | 20210426_PFAS_PPB_UC_Sample066 | CC7 - 0.888 pg/uL | Standard | 2.04 | 21701.838 | 172731 |  | 21701.838 |  | 0.01 | 0.01052 | 5.24 | MM | 2021-04-27
67 | 67 | 20210426_PFAS_PPB_UC_Sample067 | CC8 - 1.420 pg/uL | Standard | 2.03 | 19398.408 | 160737 |  | 19398.408 |  | 0.01 | 0.00941 | -5.93 | MM | 2021-04-27
68 | 68 | 20210426_PFAS_PPB_UC_Sample068 | CC9 - 2.272 pg/uL | Standard | 2.04 | 24118.762 | 187527 |  | 24118.762 |  | 0.01 | 0.0117 | 16.96 | MM | 2021-04-27
69 | 69 | 20210426_PFAS_PPB_UC_Sample069 | CC10 - 3.636 pg/uL | Standard | 2.03 | 22057.348 | 176133 |  | 22057.348 |  | 0.01 | 0.0107 | 6.96 | MM | 2021-04-27
70 | 70 | 20210426_PFAS_PPB_UC_Sample070 | CC11 - 5.817 pg/uL | Standard | 2.04 | 21287.195 | 169400 |  | 21287.195 |  | 0.01 | 0.01032 | 3.23 | MM | 2021-04-27
71 | 71 | 20210426_PFAS_PPB_UC_Sample071 | CC12 - 9.308 pg/uL | Standard | 2.04 | 21331.479 | 171312 |  | 21331.479 |  | 0.01 | 0.01034 | 3.44 | MM | 2021-04-27
72 | 72 | 20210426_PFAS_PPB_UC_Sample072 | Crash Mixed Matrix Blank | Blank | 2.04 | 21225.229 | 171044 |  | 21225.229 |  | 0.01 | 0.01029 | 2.93 | MM | 2021-04-27
73 | 73 | 20210426_PFAS_PPB_UC_Sample073 | CC13 - 14.893 pg/uL | Standard | 2.03 | 21290.678 | 169010 |  | 21290.678 |  | 0.01 | 0.01032 | 3.25 | MM | 2021-04-27
74 | 74 | 20210426_PFAS_PPB_UC_Sample074 | CC14 - 23.828 pg/uL | Standard | 2.03 | 20821.406 | 168412 |  | 20821.406 |  | 0.01 | 0.0101 | 0.97 | MM | 2021-04-27
75 | 75 | 20210426_PFAS_PPB_UC_Sample075 | CC15 - 38.125 pg/uL | Standard | 2.04 | 23162.967 | 181590 |  | 23162.967 |  | 0.01 | 0.01123 | 12.33 | MM | 2021-04-27
76 | 76 | 20210426_PFAS_PPB_UC_Sample076 | CC16 - 47.656 pg/uL | Standard | 2.03 | 21138.355 | 170313 |  | 21138.355 |  | 0.01 | 0.01025 | 2.51 | MM | 2021-04-27
77 | 77 | 20210426_PFAS_PPB_UC_Sample077 | CC17 - 76.250 pg/uL | Standard | 2.03 | 20806.488 | 165857 |  | 20806.488 |  | 0.01 | 0.01009 | 0.9 | MM | 2021-04-27
78 | 78 | 20210426_PFAS_PPB_UC_Sample078 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
79 | 79 | 20210426_PFAS_PPB_UC_Sample079 | QC-A | QC | 2.03 | 21178.283 | 170526 |  | 21178.283 |  | 0.01 | 0.01027 | 2.7 | MM | 2021-04-27
80 | 80 | 20210426_PFAS_PPB_UC_Sample080 | QC-B | QC | 2.03 | 21288.953 | 171872 |  | 21288.953 |  | 0.01 | 0.01032 | 3.24 | MM | 2021-04-27
81 | 81 | 20210426_PFAS_PPB_UC_Sample081 | QC-C | QC | 2.03 | 20363.877 | 164763 |  | 20363.877 |  | 0.01 | 0.00988 | -1.25 | MM | 2021-04-27
82 | 82 | 20210426_PFAS_PPB_UC_Sample082 | QC-D | QC | 2.03 | 21171.502 | 170463 |  | 21171.502 |  | 0.01 | 0.01027 | 2.67 | MM | 2021-04-27
83 | 83 | 20210426_PFAS_PPB_UC_Sample083 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
84 | 84 | 20210426_PFAS_PPB_UC_Sample084 | Crash Mixed Matrix Blank | Blank | 2.04 | 21873.691 | 176085 |  | 21873.691 |  | 0.01 | 0.01061 | 6.07 | MM | 2021-04-27
85 | 85 | 20210426_PFAS_PPB_UC_Sample085 | CC1 - 0.053 pg/uL | Standard | 2.03 | 21563.041 | 176788 |  | 21563.041 |  | 0.01 | 0.01046 | 4.57 | MM | 2021-04-27
86 | 86 | 20210426_PFAS_PPB_UC_Sample086 | CC2 - 0.085 pg/uL | Standard | 2.03 | 20940.6 | 170422 |  | 20940.6 |  | 0.01 | 0.01015 | 1.55 | MM | 2021-04-27
87 | 87 | 20210426_PFAS_PPB_UC_Sample087 | CC3 - 0.135 pg/uL | Standard | 2.03 | 21389.67 | 170853 |  | 21389.67 |  | 0.01 | 0.01037 | 3.73 | MM | 2021-04-27
88 | 88 | 20210426_PFAS_PPB_UC_Sample088 | CC4 - 0.217 pg/uL | Standard | 2.03 | 20121.535 | 160802 |  | 20121.535 |  | 0.01 | 0.00976 | -2.42 | MM | 2021-04-27
89 | 89 | 20210426_PFAS_PPB_UC_Sample089 | CC5 - 0.347 pg/uL | Standard | 2.04 | 25246.25 | 197618 |  | 25246.25 |  | 0.01 | 0.01224 | 22.43 | MM | 2021-04-27
90 | 90 | 20210426_PFAS_PPB_UC_Sample090 | CC6 - 0.555 pg/uL | Standard | 2.03 | 19383.559 | 158465 |  | 19383.559 |  | 0.01 | 0.0094 | -6 | MM | 2021-04-27
91 | 91 | 20210426_PFAS_PPB_UC_Sample091 | Crash Mixed Matrix Blank | Blank | 2.03 | 19528.357 | 161164 |  | 19528.357 |  | 0.01 | 0.00947 | -5.3 | MM | 2021-04-27
92 | 92 | 20210426_PFAS_PPB_UC_Sample092 | CC1 - 0.053 pg/uL | Standard | 2.03 | 22119.461 | 183278 |  | 22119.461 |  | 0.01 | 0.01073 | 7.27 | MM | 2021-04-27
93 | 93 | 20210426_PFAS_PPB_UC_Sample093 | CC2 - 0.085 pg/uL | Standard | 2.03 | 21530.318 | 174046 |  | 21530.318 |  | 0.01 | 0.01044 | 4.41 | MM | 2021-04-27
94 | 94 | 20210426_PFAS_PPB_UC_Sample094 | CC3 - 0.135 pg/uL | Standard | 2.03 | 21824.785 | 172147 |  | 21824.785 |  | 0.01 | 0.01058 | 5.84 | MM | 2021-04-27
95 | 95 | 20210426_PFAS_PPB_UC_Sample095 | CC4 - 0.217 pg/uL | Standard | 2.03 | 20076.127 | 161780 |  | 20076.127 |  | 0.01 | 0.00974 | -2.64 | MM | 2021-04-27
96 | 96 | 20210426_PFAS_PPB_UC_Sample096 | CC5 - 0.347 pg/uL | Standard | 2.03 | 25515.787 | 198180 |  | 25515.787 |  | 0.01 | 0.01237 | 23.74 | MM | 2021-04-27
97 | 97 | 20210426_PFAS_PPB_UC_Sample097 | CC6 - 0.555 pg/uL | Standard | 2.03 | 19635.27 | 161777 |  | 19635.27 |  | 0.01 | 0.00952 | -4.78 | MM | 2021-04-27
98 | 98 | 20210426_PFAS_PPB_UC_Sample098 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
99 | 99 | 20210426_PFAS_PPB_UC_Sample099 | CC1 - 0.053 pg/uL | Standard | 2.03 | 22370.643 | 184607 |  | 22370.643 |  | 0.01 | 0.01085 | 8.48 | MM | 2021-04-27
100 | 100 | 20210426_PFAS_PPB_UC_Sample100 | CC2 - 0.085 pg/uL | Standard | 2.03 | 21678.836 | 175510 |  | 21678.836 |  | 0.01 | 0.01051 | 5.13 | MM | 2021-04-27
101 | 101 | 20210426_PFAS_PPB_UC_Sample101 | CC3 - 0.135 pg/uL | Standard | 2.03 | 22074.059 | 174011 |  | 22074.059 |  | 0.01 | 0.0107 | 7.05 | MM | 2021-04-27
102 | 102 | 20210426_PFAS_PPB_UC_Sample102 | CC4 - 0.217 pg/uL | Standard | 2.03 | 20386.076 | 165777 |  | 20386.076 |  | 0.01 | 0.00989 | -1.14 | MM | 2021-04-27
103 | 103 | 20210426_PFAS_PPB_UC_Sample103 | CC5 - 0.347 pg/uL | Standard | 2.03 | 25443.777 | 198677 |  | 25443.777 |  | 0.01 | 0.01234 | 23.39 | MM | 2021-04-27
104 | 104 | 20210426_PFAS_PPB_UC_Sample104 | CC6 - 0.555 pg/uL | Standard | 2.03 | 20158.318 | 165203 |  | 20158.318 |  | 0.01 | 0.00978 | -2.24 | MM | 2021-04-27
105 | 105 | 20210426_PFAS_PPB_UC_Sample105 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
106 | 106 | 20210426_PFAS_PPB_UC_Sample106 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
107 | 107 | 20210426_PFAS_PPB_UC_Sample107 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
108 | 108 | 20210426_PFAS_PPB_UC_Sample108 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
109 | 109 | 20210426_PFAS_PPB_UC_Sample109 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
110 | 110 | 20210426_PFAS_PPB_UC_Sample110 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  |  | 2021-04-27
111 | 111 | 20210426_PFAS_PPB_UC_Sample111 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27
112 | 112 | 20210426_PFAS_PPB_UC_Sample112 | Solvent Blank | Solvent | [6 empty] | 0.01 |  |  | MM- | 2021-04-27

## DTXSID4059833
*Analyte in Mix 2 | [8 empty] | Compound 1: octafluoroadipic
[9 empty] | # | Name | Sample Text | Type | RT | Area | Height | IS Area | Response | Coeff. Of Determination | Std. Conc (nM) | Actual Conc (nM) | %Dev
Fraction Unbound Determination | [8 empty] | 7 | 20210426_PFAS_PPB_UC_Sample007 | CC1 - 0.053 pg/uL | Standard | 1.5 | 9.463 | 72 | 17982.123 | 0 | 0.996 | 0.17 | 0.3211 | 88.89
Sample Text | Actual Conc (nM) | Corrected Conc (nM) | Fu | Avg Fu | Std Dev Fu | CV |  |  | 32 | 20210426_PFAS_PPB_UC_Sample032 | CC1 - 0.053 pg/uL | Standard | 1.49 | 9.658 | 59 | 19245.213 | 0 | 0.996 | 0.17 | 0.29187 | 71.69
UC_AF_Mix2_A | 44.7128 | 1430.8109 | 0.10276 | 0.11704 | 0.012973 | 11.08% |  |  | 39 | 20210426_PFAS_PPB_UC_Sample039 | CC1 - 0.053 pg/uL | Standard | 1.72 | 10.709 | 86 | 19577.539 | 0 | 0.996 | 0.17 | 0.34598 | 103.52
UC_AF_Mix2_B | 49.3237 | 1578.3574 | 0.12809 | [5 empty] | 59 | 20210426_PFAS_PPB_UC_Sample059 | CC1 - 0.053 pg/uL | Standard | 1.69 | 9.923 | 59 | 20184.883 | 0 | 0.996 | 0.17 | 0.2796 | 64.47
UC_AF_Mix2_C | 46.0653 | 1474.0909 | 0.12028 | [5 empty] | 85 | 20210426_PFAS_PPB_UC_Sample085 | CC1 - 0.053 pg/uL | Standard | 1.76 | 6.643 | 51 | 21563.041 | 0 | 0.996 | 0.17 | 0.05973 | -64.87
UC_T1hr_Mix2_A | 150.1642 | 12013.1344 | [6 empty] | 92 | 20210426_PFAS_PPB_UC_Sample092 | CC1 - 0.053 pg/uL | Standard | 1.87 | 4.764 | 32 | 22119.461 | 0 | 0.996 | 0.17
UC_T1hr_Mix2_B | 146.5157 | 11721.2584 | [6 empty] | 99 | 20210426_PFAS_PPB_UC_Sample099 | CC1 - 0.053 pg/uL | Standard | 1.74 | 9.677 | 57 | 22370.643 | 0 | 0.996 | 0.17 | 0.20888 | 22.87
UC_T1hr_Mix2_C | 146.8162 | 11745.3 | [6 empty] | 8 | 20210426_PFAS_PPB_UC_Sample008 | CC2 - 0.085 pg/uL | Standard | 1.87 | 6.415 | 64 | 17972.965 | 0 | 0.996 | 0.28 | 0.11825 | -57.77
UC_T5hr_Mix2_A | 174.0543 | 13924.348 | [6 empty] | 33 | 20210426_PFAS_PPB_UC_Sample033 | CC2 - 0.085 pg/uL | Standard | 1.59 | 12.184 | 70 | 18883.75 | 0 | 0.996 | 0.28 | 0.46364 | 65.58
UC_T5hr_Mix2_B | 154.0316 | 12322.5272 | [6 empty] | 40 | 20210426_PFAS_PPB_UC_Sample040 | CC2 - 0.085 pg/uL | Standard | 1.63 | 6.224 | 58 | 18687.93 | 0 | 0.996 | 0.28 | 0.08965 | -67.98
UC_T5hr_Mix2_C | 153.188 | 12255.0424 | [6 empty] | 60 | 20210426_PFAS_PPB_UC_Sample060 | CC2 - 0.085 pg/uL | Standard | 1.55 | 11.804 | 73 | 19881.344 | 0 | 0.996 | 0.28 | 0.40195 | 43.55
[9 empty] | 86 | 20210426_PFAS_PPB_UC_Sample086 | CC2 - 0.085 pg/uL | Standard | 1.66 | 11.617 | 90 | 20940.6 | 0 | 0.996 | 0.28 | 0.35527 | 26.88
MDL Determination | [8 empty] | 93 | 20210426_PFAS_PPB_UC_Sample093 | CC2 - 0.085 pg/uL | Standard | 1.71 | 4.488 | 34 | 21530.318 | 0 | 0.996 | 0.28
Sample Name | Cal Curve Point | Std. Conc (nM) | Actual Conc (nM) | Average Conc (nM) | StDev (nM) | CV | MDL (nM) | % Dev (avg conc) | 100 | 20210426_PFAS_PPB_UC_Sample100 | CC2 - 0.085 pg/uL | Standard | 1.7 | 13.68 | 73 | 21678.836 | 0 | 0.996 | 0.28 | 0.44665 | 59.52
20210426_PFAS_PPB_UC_Sample012 | CC6 | 1.82 | 1.526 | 1.5754 | 0.1864 | 11.83% | 0.58585 | -13.44% | 9 | 20210426_PFAS_PPB_UC_Sample009 | CC3 - 0.135 pg/uL | Standard | 1.63 | 12.306 | 74 | 18890.436 | 0 | 0.996 | 0.44 | 0.4711 | 7.07
20210426_PFAS_PPB_UC_Sample037 | CC6 | 1.82 | 1.2854 | [5 empty] | 34 | 20210426_PFAS_PPB_UC_Sample034 | CC3 - 0.135 pg/uL | Standard | 1.66 | 16.598 | 137 | 19614.271 | 0 | 0.996 | 0.44 | 0.70447 | 60.11
20210426_PFAS_PPB_UC_Sample044 | CC6 | 1.82 | 1.4702 | [5 empty] | 41 | 20210426_PFAS_PPB_UC_Sample041 | CC3 - 0.135 pg/uL | Standard | 1.73 | 10.666 | 84 | 19424.961 | 0 | 0.996 | 0.44 | 0.34847 | -20.8
20210426_PFAS_PPB_UC_Sample064 | CC6 | 1.82 | 1.5246 | [5 empty] | 61 | 20210426_PFAS_PPB_UC_Sample061 | CC3 - 0.135 pg/uL | Standard | 1.72 | 15.02 | 152 | 20468.559 | 0 | 0.996 | 0.44 | 0.56978 | 29.5
20210426_PFAS_PPB_UC_Sample090 | CC6 | 1.82 | 1.7539 | [5 empty] | 87 | 20210426_PFAS_PPB_UC_Sample087 | CC3 - 0.135 pg/uL | Standard | 1.66 | 9.481 | 64 | 21389.67 | 0 | 0.996 | 0.44 | 0.22167 | -49.62
20210426_PFAS_PPB_UC_Sample097 | CC6 | 1.82 | 1.6192 | [5 empty] | 94 | 20210426_PFAS_PPB_UC_Sample094 | CC3 - 0.135 pg/uL | Standard | 1.61 | 14.939 | 130 | 21824.785 | 0 | 0.996 | 0.44 | 0.5107 | 16.07
20210426_PFAS_PPB_UC_Sample104 | CC6 | 1.82 | 1.8484 | [5 empty] | 101 | 20210426_PFAS_PPB_UC_Sample101 | CC3 - 0.135 pg/uL | Standard | 1.67 | 16.007 | 125 | 22074.059 | 0 | 0.996 | 0.44 | 0.55941 | 27.14
[9 empty] | 10 | 20210426_PFAS_PPB_UC_Sample010 | CC4 - 0.217 pg/uL | Standard | 1.72 | 16.929 | 132 | 17945.406 | 0 | 0.996 | 0.71 | 0.82085 | 15.61
[9 empty] | 35 | 20210426_PFAS_PPB_UC_Sample035 | CC4 - 0.217 pg/uL | Standard | 1.7 | 18.52 | 114 | 18210.824 | 0 | 0.996 | 0.71 | 0.90906 | 28.04
[9 empty] | 42 | 20210426_PFAS_PPB_UC_Sample042 | CC4 - 0.217 pg/uL | Standard | 1.62 | 13.559 | 93 | 18550.344 | 0 | 0.996 | 0.71 | 0.56633 | -20.23
[9 empty] | 62 | 20210426_PFAS_PPB_UC_Sample062 | CC4 - 0.217 pg/uL | Standard | 1.77 | 11.573 | 92 | 19090.504 | 0 | 0.996 | 0.71 | 0.41692 | -41.28
[9 empty] | 88 | 20210426_PFAS_PPB_UC_Sample088 | CC4 - 0.217 pg/uL | Standard | 1.7 | 20.413 | 164 | 20121.535 | 0 | 0.996 | 0.71 | 0.90607 | 27.62
[9 empty] | 95 | 20210426_PFAS_PPB_UC_Sample095 | CC4 - 0.217 pg/uL | Standard | 1.69 | 17.098 | 111 | 20076.127 | 0 | 0.996 | 0.71 | 0.71098 | 0.14
[9 empty] | 102 | 20210426_PFAS_PPB_UC_Sample102 | CC4 - 0.217 pg/uL | Standard | 1.66 | 19.175 | 120 | 20386.076 | 0 | 0.996 | 0.71 | 0.81754 | 15.15
[9 empty] | 11 | 20210426_PFAS_PPB_UC_Sample011 | CC5 - 0.347 pg/uL | Standard | 1.69 | 31.228 | 202 | 22943.939 | 0 | 0.996 | 1.14 | 1.3213 | 15.91
[9 empty] | 36 | 20210426_PFAS_PPB_UC_Sample036 | CC5 - 0.347 pg/uL | Standard | 1.66 | 32.272 | 229 | 23353.961 | 0 | 0.996 | 1.14 | 1.3463 | 18.09
[9 empty] | 43 | 20210426_PFAS_PPB_UC_Sample043 | CC5 - 0.347 pg/uL | Standard | 1.69 | 31.711 | 184 | 23802.168 | 0 | 0.996 | 1.14 | 1.2868 | 12.88
[9 empty] | 63 | 20210426_PFAS_PPB_UC_Sample063 | CC5 - 0.347 pg/uL | Standard | 1.69 | 19.077 | 115 | 24190.055 | 0 | 0.996 | 1.14 | 0.63547 | -44.26
[9 empty] | 89 | 20210426_PFAS_PPB_UC_Sample089 | CC5 - 0.347 pg/uL | Standard | 1.77 | 28.265 | 167 | 25246.25 | 0 | 0.996 | 1.14 | 1.032 | -9.48
[9 empty] | 96 | 20210426_PFAS_PPB_UC_Sample096 | CC5 - 0.347 pg/uL | Standard | 1.62 | 26.836 | 152 | 25515.787 | 0 | 0.996 | 1.14 | 0.95071 | -16.6
[9 empty] | 103 | 20210426_PFAS_PPB_UC_Sample103 | CC5 - 0.347 pg/uL | Standard | 1.63 | 23.665 | 208 | 25443.777 | 0 | 0.996 | 1.14 | 0.80495 | -29.39
[9 empty] | 12 | 20210426_PFAS_PPB_UC_Sample012 | CC6 - 0.555 pg/uL | Standard | 1.62 | 26.267 | 171 | 17147.428 | 0 | 0.996 | 1.82 | 1.526 | -16.16
[9 empty] | 37 | 20210426_PFAS_PPB_UC_Sample037 | CC6 - 0.555 pg/uL | Standard | 1.64 | 23.887 | 186 | 17945.646 | 0 | 0.996 | 1.82 | 1.2854 | -29.37
[9 empty] | 44 | 20210426_PFAS_PPB_UC_Sample044 | CC6 - 0.555 pg/uL | Standard | 1.69 | 26.436 | 196 | 17798.01 | 0 | 0.996 | 1.82 | 1.4702 | -19.22
[9 empty] | 64 | 20210426_PFAS_PPB_UC_Sample064 | CC6 - 0.555 pg/uL | Standard | 1.67 | 28.415 | 241 | 18563.932 | 0 | 0.996 | 1.82 | 1.5246 | -16.23
[9 empty] | 90 | 20210426_PFAS_PPB_UC_Sample090 | CC6 - 0.555 pg/uL | Standard | 1.65 | 33.379 | 248 | 19383.559 | 0 | 0.996 | 1.82 | 1.7539 | -3.63
[9 empty] | 97 | 20210426_PFAS_PPB_UC_Sample097 | CC6 - 0.555 pg/uL | Standard | 1.66 | 31.606 | 179 | 19635.27 | 0 | 0.996 | 1.82 | 1.6192 | -11.03
[9 empty] | 104 | 20210426_PFAS_PPB_UC_Sample104 | CC6 - 0.555 pg/uL | Standard | 1.68 | 36.303 | 267 | 20158.318 | 0 | 0.996 | 1.82 | 1.8484 | 1.56
[9 empty] | 14 | 20210426_PFAS_PPB_UC_Sample014 | CC7 - 0.888 pg/uL | Standard | 1.74 | 56.507 | 337 | 19809.535 | 0 | 0.996 | 2.91 | 3.1086 | 6.83
[9 empty] | 66 | 20210426_PFAS_PPB_UC_Sample066 | CC7 - 0.888 pg/uL | Standard | 1.64 | 47.085 | 258 | 21701.838 | 0 | 0.996 | 2.91 | 2.2902 | -21.3
[9 empty] | 15 | 20210426_PFAS_PPB_UC_Sample015 | CC8 - 1.420 pg/uL | Standard | 1.7 | 72.001 | 412 | 18169.176 | 0 | 0.996 | 4.66 | 4.4394 | -4.73
[9 empty] | 67 | 20210426_PFAS_PPB_UC_Sample067 | CC8 - 1.420 pg/uL | Standard | 1.65 | 58.069 | 449 | 19398.408 | 0 | 0.996 | 4.66 | 3.2776 | -29.67
[9 empty] | 16 | 20210426_PFAS_PPB_UC_Sample016 | CC9 - 2.272 pg/uL | Standard | 1.65 | 118.369 | 752 | 22449.201 | 0 | 0.996 | 7.45 | 6.0099 | -19.33
[9 empty] | 68 | 20210426_PFAS_PPB_UC_Sample068 | CC9 - 2.272 pg/uL | Standard | 1.64 | 140.432 | 890 | 24118.762 | 0 | 0.996 | 7.45 | 6.669 | -10.48
[9 empty] | 17 | 20210426_PFAS_PPB_UC_Sample017 | CC10 - 3.636 pg/uL | Standard | 1.66 | 241.252 | 1338 | 20868.342 | 0 | 0.996 | 11.92 | 13.5526 | 13.7
[9 empty] | 69 | 20210426_PFAS_PPB_UC_Sample069 | CC10 - 3.636 pg/uL | Standard | 1.66 | 224.847 | 1391 | 22057.348 | 0 | 0.996 | 11.92 | 11.9122 | -0.07
[9 empty] | 18 | 20210426_PFAS_PPB_UC_Sample018 | CC11 - 5.817 pg/uL | Standard | 1.67 | 354.505 | 2034 | 20127.174 | 0 | 0.996 | 19.07 | 20.82 | 9.18
[9 empty] | 70 | 20210426_PFAS_PPB_UC_Sample070 | CC11 - 5.817 pg/uL | Standard | 1.62 | 326.014 | 1735 | 21287.195 | 0 | 0.996 | 19.07 | 18.0597 | -5.3
[9 empty] | 19 | 20210426_PFAS_PPB_UC_Sample019 | CC12 - 9.308 pg/uL | Standard | 1.66 | 535.869 | 3199 | 19876.451 | 0 | 0.996 | 30.52 | 32.0565 | 5.03
[9 empty] | 71 | 20210426_PFAS_PPB_UC_Sample071 | CC12 - 9.308 pg/uL | Standard | 1.64 | 559.247 | 2908 | 21331.479 | 0 | 0.996 | 30.52 | 31.1626 | 2.11
[9 empty] | 21 | 20210426_PFAS_PPB_UC_Sample021 | CC13 - 14.893 pg/uL | Standard | 1.67 | 839.563 | 4652 | 19941.707 | 0 | 0.996 | 48.83 | 50.2939 | 3
[9 empty] | 73 | 20210426_PFAS_PPB_UC_Sample073 | CC13 - 14.893 pg/uL | Standard | 1.66 | 821.598 | 4441 | 21290.678 | 0 | 0.996 | 48.83 | 46.0606 | -5.67
[9 empty] | 22 | 20210426_PFAS_PPB_UC_Sample022 | CC14 - 23.828 pg/uL | Standard | 1.67 | 1266.612 | 8373 | 18942.52 | 0.001 | 0.996 | 78.13 | 80.219 | 2.67
[9 empty] | 74 | 20210426_PFAS_PPB_UC_Sample074 | CC14 - 23.828 pg/uL | Standard | 1.67 | 1368.343 | 8065 | 20821.406 | 0.001 | 0.996 | 78.13 | 78.8292 | 0.89
[9 empty] | 23 | 20210426_PFAS_PPB_UC_Sample023 | CC15 - 38.125 pg/uL | Standard | 1.66 | 2277.205 | 12591 | 21535.51 | 0.001 | 0.996 | 125 | 127.4354 | 1.95
[9 empty] | 75 | 20210426_PFAS_PPB_UC_Sample075 | CC15 - 38.125 pg/uL | Standard | 1.65 | 2410.583 | 13262 | 23162.967 | 0.001 | 0.996 | 125 | 125.3994 | 0.32
[9 empty] | 24 | 20210426_PFAS_PPB_UC_Sample024 | CC16 - 47.656 pg/uL | Standard | 1.67 | 2563.659 | 14701 | 19472.326 | 0.001 | 0.996 | 156.25 | 159.0757 | 1.81
[9 empty] | 76 | 20210426_PFAS_PPB_UC_Sample076 | CC16 - 47.656 pg/uL | Standard | 1.65 | 2659.883 | 15069 | 21138.355 | 0.001 | 0.996 | 156.25 | 151.9527 | -2.75
[9 empty] | 25 | 20210426_PFAS_PPB_UC_Sample025 | CC17 - 76.250 pg/uL | Standard | 1.68 | 4085.582 | 24417 | 19638.408 | 0.002 | 0.996 | 250 | 253.1255 | 1.25
[9 empty] | 77 | 20210426_PFAS_PPB_UC_Sample077 | CC17 - 76.250 pg/uL | Standard | 1.66 | 4199.565 | 24842 | 20806.488 | 0.002 | 0.996 | 250 | 245.4454 | -1.82
[9 empty] | 4 | 20210426_PFAS_PPB_UC_Sample004 | Crash Blank | Blank | [5 empty] | 0.996
[9 empty] | 13 | 20210426_PFAS_PPB_UC_Sample013 | Crash Blank | Blank | [5 empty] | 0.996
[9 empty] | 53 | 20210426_PFAS_PPB_UC_Sample053 | Crash Blank | Blank | [5 empty] | 0.996
[9 empty] | 65 | 20210426_PFAS_PPB_UC_Sample065 | Crash Blank | Blank | [5 empty] | 0.996
[9 empty] | 5 | 20210426_PFAS_PPB_UC_Sample005 | Crash Mixed Matrix Blank | Blank | 1.65 | 0.576 | 21 | 17652.006 | 0 | 0.996
[9 empty] | 20 | 20210426_PFAS_PPB_UC_Sample020 | Crash Mixed Matrix Blank | Blank | 1.79 | 10.559 | 70 | 18577.885 | 0 | 0.996 |  | 0.37157
[9 empty] | 38 | 20210426_PFAS_PPB_UC_Sample038 | Crash Mixed Matrix Blank | Blank | 1.61 | 7.808 | 60 | 19293.148 | 0 | 0.996 |  | 0.17549
[9 empty] | 49 | 20210426_PFAS_PPB_UC_Sample049 | Crash Mixed Matrix Blank | Blank |  |  |  | 20002.777 |  | 0.996
[9 empty] | 57 | 20210426_PFAS_PPB_UC_Sample057 | Crash Mixed Matrix Blank | Blank |  |  |  | 20263.445 |  | 0.996
[9 empty] | 72 | 20210426_PFAS_PPB_UC_Sample072 | Crash Mixed Matrix Blank | Blank | 1.77 | 5.388 | 39 | 21225.229 | 0 | 0.996
[9 empty] | 84 | 20210426_PFAS_PPB_UC_Sample084 | Crash Mixed Matrix Blank | Blank | 1.49 | 9.65 | 72 | 21873.691 | 0 | 0.996 |  | 0.21918
[9 empty] | 91 | 20210426_PFAS_PPB_UC_Sample091 | Crash Mixed Matrix Blank | Blank | 1.81 | 8.02 | 64 | 19528.357 | 0 | 0.996 |  | 0.18266
[9 empty] | 27 | 20210426_PFAS_PPB_UC_Sample027 | QC-A | QC | 1.7 | 19.152 | 128 | 19718.521 | 0 | 0.996 | 0.63 | 0.85429 | 35.6
[9 empty] | 79 | 20210426_PFAS_PPB_UC_Sample079 | QC-A | QC | 1.61 | 24.063 | 116 | 21178.283 | 0 | 0.996 | 0.63 | 1.0519 | 66.97
[9 empty] | 28 | 20210426_PFAS_PPB_UC_Sample028 | QC-B | QC | 1.66 | 51.847 | 315 | 19527.705 | 0 | 0.996 | 2.5 | 2.872 | 14.88
[9 empty] | 80 | 20210426_PFAS_PPB_UC_Sample080 | QC-B | QC | 1.68 | 38.404 | 222 | 21288.953 | 0 | 0.996 | 2.5 | 1.852 | -25.92
[9 empty] | 29 | 20210426_PFAS_PPB_UC_Sample029 | QC-C | QC | 1.7 | 98.649 | 623 | 19268.641 | 0 | 0.996 | 6.25 | 5.8263 | -6.78
[9 empty] | 81 | 20210426_PFAS_PPB_UC_Sample081 | QC-C | QC | 1.7 | 90.05 | 507 | 20363.877 | 0 | 0.996 | 6.25 | 4.99 | -20.16
[9 empty] | 30 | 20210426_PFAS_PPB_UC_Sample030 | QC-D | QC | 1.71 | 389.258 | 2165 | 19696.182 | 0 | 0.996 | 25 | 23.4031 | -6.39
[9 empty] | 82 | 20210426_PFAS_PPB_UC_Sample082 | QC-D | QC | 1.69 | 414.772 | 2207 | 21171.502 | 0 | 0.996 | 25 | 23.1963 | -7.21
[9 empty] | 1 | 20210426_PFAS_PPB_UC_Sample001 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 2 | 20210426_PFAS_PPB_UC_Sample002 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 3 | 20210426_PFAS_PPB_UC_Sample003 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 6 | 20210426_PFAS_PPB_UC_Sample006 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 26 | 20210426_PFAS_PPB_UC_Sample026 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 31 | 20210426_PFAS_PPB_UC_Sample031 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 45 | 20210426_PFAS_PPB_UC_Sample045 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 58 | 20210426_PFAS_PPB_UC_Sample058 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 78 | 20210426_PFAS_PPB_UC_Sample078 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 83 | 20210426_PFAS_PPB_UC_Sample083 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 98 | 20210426_PFAS_PPB_UC_Sample098 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 105 | 20210426_PFAS_PPB_UC_Sample105 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 106 | 20210426_PFAS_PPB_UC_Sample106 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 107 | 20210426_PFAS_PPB_UC_Sample107 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 108 | 20210426_PFAS_PPB_UC_Sample108 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 109 | 20210426_PFAS_PPB_UC_Sample109 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 110 | 20210426_PFAS_PPB_UC_Sample110 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 111 | 20210426_PFAS_PPB_UC_Sample111 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 112 | 20210426_PFAS_PPB_UC_Sample112 | Solvent Blank | Solvent | [5 empty] | 0.996
[9 empty] | 46 | 20210426_PFAS_PPB_UC_Sample046 | UC_AF_Mix2_A | Analyte | 1.67 | 712.375 | 4415 | 19011.229 | 0 | 0.996 |  | 44.7128
[9 empty] | 47 | 20210426_PFAS_PPB_UC_Sample047 | UC_AF_Mix2_B | Analyte | 1.67 | 797.301 | 4166 | 19306.85 | 0 | 0.996 |  | 49.3237
[9 empty] | 48 | 20210426_PFAS_PPB_UC_Sample048 | UC_AF_Mix2_C | Analyte | 1.67 | 793.19 | 4231 | 20552.422 | 0 | 0.996 |  | 46.0653
[9 empty] | 50 | 20210426_PFAS_PPB_UC_Sample050 | UC_T1hr_Mix2_A | Analyte | 1.66 | 2935.418 | 15668 | 23602.537 | 0.001 | 0.996 |  | 150.1642
[9 empty] | 51 | 20210426_PFAS_PPB_UC_Sample051 | UC_T1hr_Mix2_B | Analyte | 1.66 | 3120.935 | 17093 | 25711.563 | 0.001 | 0.996 |  | 146.5157
[9 empty] | 52 | 20210426_PFAS_PPB_UC_Sample052 | UC_T1hr_Mix2_C | Analyte | 1.65 | 2943.644 | 16358 | 24201.912 | 0.001 | 0.996 |  | 146.8162
[9 empty] | 54 | 20210426_PFAS_PPB_UC_Sample054 | UC_T5hr_Mix2_A | Analyte | 1.66 | 2927.502 | 16329 | 20345.916 | 0.001 | 0.996 |  | 174.0543
[9 empty] | 55 | 20210426_PFAS_PPB_UC_Sample055 | UC_T5hr_Mix2_B | Analyte | 1.67 | 2857.587 | 16426 | 22406.723 | 0.001 | 0.996 |  | 154.0316
[9 empty] | 56 | 20210426_PFAS_PPB_UC_Sample056 | UC_T5hr_Mix2_C | Analyte | 1.65 | 2940.04 | 15083 | 23178.645 | 0.001 | 0.996 |  | 153.188
Compound 2: pyruvate
[9 empty] | # | Name | Sample Text | Type | RT | Area | Height | IS Area | Response | Coeff. Of Determination | Std. Conc (nM) | Actual Conc (nM) | %Dev
[9 empty] | 7 | 20210426_PFAS_PPB_UC_Sample007 | CC1 - 0.053 pg/uL | Standard | 2.05 | 17982.123 | 140631 |  | 17982.123 |  | 0.01 | 0.00872 | -12.8
[9 empty] | 32 | 20210426_PFAS_PPB_UC_Sample032 | CC1 - 0.053 pg/uL | Standard | 2.04 | 19245.213 | 156764 |  | 19245.213 |  | 0.01 | 0.00933 | -6.67
[9 empty] | 39 | 20210426_PFAS_PPB_UC_Sample039 | CC1 - 0.053 pg/uL | Standard | 2.04 | 19577.539 | 160872 |  | 19577.539 |  | 0.01 | 0.00949 | -5.06
[9 empty] | 59 | 20210426_PFAS_PPB_UC_Sample059 | CC1 - 0.053 pg/uL | Standard | 2.04 | 20184.883 | 166642 |  | 20184.883 |  | 0.01 | 0.00979 | -2.12
[9 empty] | 85 | 20210426_PFAS_PPB_UC_Sample085 | CC1 - 0.053 pg/uL | Standard | 2.03 | 21563.041 | 176788 |  | 21563.041 |  | 0.01 | 0.01046 | 4.57
[9 empty] | 92 | 20210426_PFAS_PPB_UC_Sample092 | CC1 - 0.053 pg/uL | Standard | 2.03 | 22119.461 | 183278 |  | 22119.461 |  | 0.01 | 0.01073 | 7.27
[9 empty] | 99 | 20210426_PFAS_PPB_UC_Sample099 | CC1 - 0.053 pg/uL | Standard | 2.03 | 22370.643 | 184607 |  | 22370.643 |  | 0.01 | 0.01085 | 8.48
[9 empty] | 8 | 20210426_PFAS_PPB_UC_Sample008 | CC2 - 0.085 pg/uL | Standard | 2.05 | 17972.965 | 143182 |  | 17972.965 |  | 0.01 | 0.00872 | -12.84
[9 empty] | 33 | 20210426_PFAS_PPB_UC_Sample033 | CC2 - 0.085 pg/uL | Standard | 2.04 | 18883.75 | 151528 |  | 18883.75 |  | 0.01 | 0.00916 | -8.43
[9 empty] | 40 | 20210426_PFAS_PPB_UC_Sample040 | CC2 - 0.085 pg/uL | Standard | 2.04 | 18687.93 | 149379 |  | 18687.93 |  | 0.01 | 0.00906 | -9.38
[9 empty] | 60 | 20210426_PFAS_PPB_UC_Sample060 | CC2 - 0.085 pg/uL | Standard | 2.03 | 19881.344 | 164205 |  | 19881.344 |  | 0.01 | 0.00964 | -3.59
[9 empty] | 86 | 20210426_PFAS_PPB_UC_Sample086 | CC2 - 0.085 pg/uL | Standard | 2.03 | 20940.6 | 170422 |  | 20940.6 |  | 0.01 | 0.01015 | 1.55
[9 empty] | 93 | 20210426_PFAS_PPB_UC_Sample093 | CC2 - 0.085 pg/uL | Standard | 2.03 | 21530.318 | 174046 |  | 21530.318 |  | 0.01 | 0.01044 | 4.41
[9 empty] | 100 | 20210426_PFAS_PPB_UC_Sample100 | CC2 - 0.085 pg/uL | Standard | 2.03 | 21678.836 | 175510 |  | 21678.836 |  | 0.01 | 0.01051 | 5.13
[9 empty] | 9 | 20210426_PFAS_PPB_UC_Sample009 | CC3 - 0.135 pg/uL | Standard | 2.04 | 18890.436 | 147103 |  | 18890.436 |  | 0.01 | 0.00916 | -8.39
[9 empty] | 34 | 20210426_PFAS_PPB_UC_Sample034 | CC3 - 0.135 pg/uL | Standard | 2.04 | 19614.271 | 161197 |  | 19614.271 |  | 0.01 | 0.00951 | -4.88
[9 empty] | 41 | 20210426_PFAS_PPB_UC_Sample041 | CC3 - 0.135 pg/uL | Standard | 2.04 | 19424.961 | 153131 |  | 19424.961 |  | 0.01 | 0.00942 | -5.8
[9 empty] | 61 | 20210426_PFAS_PPB_UC_Sample061 | CC3 - 0.135 pg/uL | Standard | 2.04 | 20468.559 | 164453 |  | 20468.559 |  | 0.01 | 0.00993 | -0.74
[9 empty] | 87 | 20210426_PFAS_PPB_UC_Sample087 | CC3 - 0.135 pg/uL | Standard | 2.03 | 21389.67 | 170853 |  | 21389.67 |  | 0.01 | 0.01037 | 3.73
[9 empty] | 94 | 20210426_PFAS_PPB_UC_Sample094 | CC3 - 0.135 pg/uL | Standard | 2.03 | 21824.785 | 172147 |  | 21824.785 |  | 0.01 | 0.01058 | 5.84
[9 empty] | 101 | 20210426_PFAS_PPB_UC_Sample101 | CC3 - 0.135 pg/uL | Standard | 2.03 | 22074.059 | 174011 |  | 22074.059 |  | 0.01 | 0.0107 | 7.05
[9 empty] | 10 | 20210426_PFAS_PPB_UC_Sample010 | CC4 - 0.217 pg/uL | Standard | 2.05 | 17945.406 | 140704 |  | 17945.406 |  | 0.01 | 0.0087 | -12.98
[9 empty] | 35 | 20210426_PFAS_PPB_UC_Sample035 | CC4 - 0.217 pg/uL | Standard | 2.04 | 18210.824 | 148761 |  | 18210.824 |  | 0.01 | 0.00883 | -11.69
[9 empty] | 42 | 20210426_PFAS_PPB_UC_Sample042 | CC4 - 0.217 pg/uL | Standard | 2.04 | 18550.344 | 151873 |  | 18550.344 |  | 0.01 | 0.009 | -10.04
[9 empty] | 62 | 20210426_PFAS_PPB_UC_Sample062 | CC4 - 0.217 pg/uL | Standard | 2.04 | 19090.504 | 154771 |  | 19090.504 |  | 0.01 | 0.00926 | -7.42
[9 empty] | 88 | 20210426_PFAS_PPB_UC_Sample088 | CC4 - 0.217 pg/uL | Standard | 2.03 | 20121.535 | 160802 |  | 20121.535 |  | 0.01 | 0.00976 | -2.42
[9 empty] | 95 | 20210426_PFAS_PPB_UC_Sample095 | CC4 - 0.217 pg/uL | Standard | 2.03 | 20076.127 | 161780 |  | 20076.127 |  | 0.01 | 0.00974 | -2.64
[9 empty] | 102 | 20210426_PFAS_PPB_UC_Sample102 | CC4 - 0.217 pg/uL | Standard | 2.03 | 20386.076 | 165777 |  | 20386.076 |  | 0.01 | 0.00989 | -1.14
[9 empty] | 11 | 20210426_PFAS_PPB_UC_Sample011 | CC5 - 0.347 pg/uL | Standard | 2.04 | 22943.939 | 176206 |  | 22943.939 |  | 0.01 | 0.01113 | 11.26
[9 empty] | 36 | 20210426_PFAS_PPB_UC_Sample036 | CC5 - 0.347 pg/uL | Standard | 2.04 | 23353.961 | 180197 |  | 23353.961 |  | 0.01 | 0.01133 | 13.25
[9 empty] | 43 | 20210426_PFAS_PPB_UC_Sample043 | CC5 - 0.347 pg/uL | Standard | 2.04 | 23802.168 | 188346 |  | 23802.168 |  | 0.01 | 0.01154 | 15.43
[9 empty] | 63 | 20210426_PFAS_PPB_UC_Sample063 | CC5 - 0.347 pg/uL | Standard | 2.04 | 24190.055 | 188829 |  | 24190.055 |  | 0.01 | 0.01173 | 17.31
[9 empty] | 89 | 20210426_PFAS_PPB_UC_Sample089 | CC5 - 0.347 pg/uL | Standard | 2.04 | 25246.25 | 197618 |  | 25246.25 |  | 0.01 | 0.01224 | 22.43
[9 empty] | 96 | 20210426_PFAS_PPB_UC_Sample096 | CC5 - 0.347 pg/uL | Standard | 2.03 | 25515.787 | 198180 |  | 25515.787 |  | 0.01 | 0.01237 | 23.74
[9 empty] | 103 | 20210426_PFAS_PPB_UC_Sample103 | CC5 - 0.347 pg/uL | Standard | 2.03 | 25443.777 | 198677 |  | 25443.777 |  | 0.01 | 0.01234 | 23.39
[9 empty] | 12 | 20210426_PFAS_PPB_UC_Sample012 | CC6 - 0.555 pg/uL | Standard | 2.04 | 17147.428 | 135053 |  | 17147.428 |  | 0.01 | 0.00832 | -16.85
[9 empty] | 37 | 20210426_PFAS_PPB_UC_Sample037 | CC6 - 0.555 pg/uL | Standard | 2.04 | 17945.646 | 146779 |  | 17945.646 |  | 0.01 | 0.0087 | -12.97
[9 empty] | 44 | 20210426_PFAS_PPB_UC_Sample044 | CC6 - 0.555 pg/uL | Standard | 2.04 | 17798.01 | 148940 |  | 17798.01 |  | 0.01 | 0.00863 | -13.69
[9 empty] | 64 | 20210426_PFAS_PPB_UC_Sample064 | CC6 - 0.555 pg/uL | Standard | 2.03 | 18563.932 | 156895 |  | 18563.932 |  | 0.01 | 0.009 | -9.98
[9 empty] | 90 | 20210426_PFAS_PPB_UC_Sample090 | CC6 - 0.555 pg/uL | Standard | 2.03 | 19383.559 | 158465 |  | 19383.559 |  | 0.01 | 0.0094 | -6
[9 empty] | 97 | 20210426_PFAS_PPB_UC_Sample097 | CC6 - 0.555 pg/uL | Standard | 2.03 | 19635.27 | 161777 |  | 19635.27 |  | 0.01 | 0.00952 | -4.78
[9 empty] | 104 | 20210426_PFAS_PPB_UC_Sample104 | CC6 - 0.555 pg/uL | Standard | 2.03 | 20158.318 | 165203 |  | 20158.318 |  | 0.01 | 0.00978 | -2.24
[9 empty] | 14 | 20210426_PFAS_PPB_UC_Sample014 | CC7 - 0.888 pg/uL | Standard | 2.05 | 19809.535 | 154111 |  | 19809.535 |  | 0.01 | 0.00961 | -3.94
[9 empty] | 66 | 20210426_PFAS_PPB_UC_Sample066 | CC7 - 0.888 pg/uL | Standard | 2.04 | 21701.838 | 172731 |  | 21701.838 |  | 0.01 | 0.01052 | 5.24
[9 empty] | 15 | 20210426_PFAS_PPB_UC_Sample015 | CC8 - 1.420 pg/uL | Standard | 2.04 | 18169.176 | 145983 |  | 18169.176 |  | 0.01 | 0.00881 | -11.89
[9 empty] | 67 | 20210426_PFAS_PPB_UC_Sample067 | CC8 - 1.420 pg/uL | Standard | 2.03 | 19398.408 | 160737 |  | 19398.408 |  | 0.01 | 0.00941 | -5.93
[9 empty] | 16 | 20210426_PFAS_PPB_UC_Sample016 | CC9 - 2.272 pg/uL | Standard | 2.04 | 22449.201 | 172676 |  | 22449.201 |  | 0.01 | 0.01089 | 8.86
[9 empty] | 68 | 20210426_PFAS_PPB_UC_Sample068 | CC9 - 2.272 pg/uL | Standard | 2.04 | 24118.762 | 187527 |  | 24118.762 |  | 0.01 | 0.0117 | 16.96
[9 empty] | 17 | 20210426_PFAS_PPB_UC_Sample017 | CC10 - 3.636 pg/uL | Standard | 2.04 | 20868.342 | 164105 |  | 20868.342 |  | 0.01 | 0.01012 | 1.2
[9 empty] | 69 | 20210426_PFAS_PPB_UC_Sample069 | CC10 - 3.636 pg/uL | Standard | 2.03 | 22057.348 | 176133 |  | 22057.348 |  | 0.01 | 0.0107 | 6.96
[9 empty] | 18 | 20210426_PFAS_PPB_UC_Sample018 | CC11 - 5.817 pg/uL | Standard | 2.04 | 20127.174 | 161135 |  | 20127.174 |  | 0.01 | 0.00976 | -2.4
[9 empty] | 70 | 20210426_PFAS_PPB_UC_Sample070 | CC11 - 5.817 pg/uL | Standard | 2.04 | 21287.195 | 169400 |  | 21287.195 |  | 0.01 | 0.01032 | 3.23
[9 empty] | 19 | 20210426_PFAS_PPB_UC_Sample019 | CC12 - 9.308 pg/uL | Standard | 2.04 | 19876.451 | 155628 |  | 19876.451 |  | 0.01 | 0.00964 | -3.61
[9 empty] | 71 | 20210426_PFAS_PPB_UC_Sample071 | CC12 - 9.308 pg/uL | Standard | 2.04 | 21331.479 | 171312 |  | 21331.479 |  | 0.01 | 0.01034 | 3.44
[9 empty] | 21 | 20210426_PFAS_PPB_UC_Sample021 | CC13 - 14.893 pg/uL | Standard | 2.04 | 19941.707 | 152822 |  | 19941.707 |  | 0.01 | 0.00967 | -3.3
[9 empty] | 73 | 20210426_PFAS_PPB_UC_Sample073 | CC13 - 14.893 pg/uL | Standard | 2.03 | 21290.678 | 169010 |  | 21290.678 |  | 0.01 | 0.01032 | 3.25
[9 empty] | 22 | 20210426_PFAS_PPB_UC_Sample022 | CC14 - 23.828 pg/uL | Standard | 2.04 | 18942.52 | 153928 |  | 18942.52 |  | 0.01 | 0.00919 | -8.14
[9 empty] | 74 | 20210426_PFAS_PPB_UC_Sample074 | CC14 - 23.828 pg/uL | Standard | 2.03 | 20821.406 | 168412 |  | 20821.406 |  | 0.01 | 0.0101 | 0.97
[9 empty] | 23 | 20210426_PFAS_PPB_UC_Sample023 | CC15 - 38.125 pg/uL | Standard | 2.04 | 21535.51 | 172640 |  | 21535.51 |  | 0.01 | 0.01044 | 4.43
[9 empty] | 75 | 20210426_PFAS_PPB_UC_Sample075 | CC15 - 38.125 pg/uL | Standard | 2.04 | 23162.967 | 181590 |  | 23162.967 |  | 0.01 | 0.01123 | 12.33
[9 empty] | 24 | 20210426_PFAS_PPB_UC_Sample024 | CC16 - 47.656 pg/uL | Standard | 2.04 | 19472.326 | 154182 |  | 19472.326 |  | 0.01 | 0.00944 | -5.57
[9 empty] | 76 | 20210426_PFAS_PPB_UC_Sample076 | CC16 - 47.656 pg/uL | Standard | 2.03 | 21138.355 | 170313 |  | 21138.355 |  | 0.01 | 0.01025 | 2.51
[9 empty] | 25 | 20210426_PFAS_PPB_UC_Sample025 | CC17 - 76.250 pg/uL | Standard | 2.04 | 19638.408 | 160226 |  | 19638.408 |  | 0.01 | 0.00952 | -4.77
[9 empty] | 77 | 20210426_PFAS_PPB_UC_Sample077 | CC17 - 76.250 pg/uL | Standard | 2.03 | 20806.488 | 165857 |  | 20806.488 |  | 0.01 | 0.01009 | 0.9
[9 empty] | 4 | 20210426_PFAS_PPB_UC_Sample004 | Crash Blank | Blank | [6 empty] | 0.01
[9 empty] | 13 | 20210426_PFAS_PPB_UC_Sample013 | Crash Blank | Blank | [6 empty] | 0.01
[9 empty] | 53 | 20210426_PFAS_PPB_UC_Sample053 | Crash Blank | Blank | [6 empty] | 0.01
[9 empty] | 65 | 20210426_PFAS_PPB_UC_Sample065 | Crash Blank | Blank | [6 empty] | 0.01
[9 empty] | 5 | 20210426_PFAS_PPB_UC_Sample005 | Crash Mixed Matrix Blank | Blank | 2.05 | 17652.006 | 139445 |  | 17652.006 |  | 0.01 | 0.00856 | -14.4
[9 empty] | 20 | 20210426_PFAS_PPB_UC_Sample020 | Crash Mixed Matrix Blank | Blank | 2.04 | 18577.885 | 153071 |  | 18577.885 |  | 0.01 | 0.00901 | -9.91
[9 empty] | 38 | 20210426_PFAS_PPB_UC_Sample038 | Crash Mixed Matrix Blank | Blank | 2.04 | 19293.148 | 159475 |  | 19293.148 |  | 0.01 | 0.00936 | -6.44
[9 empty] | 49 | 20210426_PFAS_PPB_UC_Sample049 | Crash Mixed Matrix Blank | Blank | 2.04 | 20002.777 | 165237 |  | 20002.777 |  | 0.01 | 0.0097 | -3
[9 empty] | 57 | 20210426_PFAS_PPB_UC_Sample057 | Crash Mixed Matrix Blank | Blank | 2.04 | 20263.445 | 167447 |  | 20263.445 |  | 0.01 | 0.00983 | -1.74
[9 empty] | 72 | 20210426_PFAS_PPB_UC_Sample072 | Crash Mixed Matrix Blank | Blank | 2.04 | 21225.229 | 171044 |  | 21225.229 |  | 0.01 | 0.01029 | 2.93
[9 empty] | 84 | 20210426_PFAS_PPB_UC_Sample084 | Crash Mixed Matrix Blank | Blank | 2.04 | 21873.691 | 176085 |  | 21873.691 |  | 0.01 | 0.01061 | 6.07
[9 empty] | 91 | 20210426_PFAS_PPB_UC_Sample091 | Crash Mixed Matrix Blank | Blank | 2.03 | 19528.357 | 161164 |  | 19528.357 |  | 0.01 | 0.00947 | -5.3
[9 empty] | 27 | 20210426_PFAS_PPB_UC_Sample027 | QC-A | QC | 2.04 | 19718.521 | 158029 |  | 19718.521 |  | 0.01 | 0.00956 | -4.38
[9 empty] | 79 | 20210426_PFAS_PPB_UC_Sample079 | QC-A | QC | 2.03 | 21178.283 | 170526 |  | 21178.283 |  | 0.01 | 0.01027 | 2.7
[9 empty] | 28 | 20210426_PFAS_PPB_UC_Sample028 | QC-B | QC | 2.04 | 19527.705 | 155235 |  | 19527.705 |  | 0.01 | 0.00947 | -5.3
[9 empty] | 80 | 20210426_PFAS_PPB_UC_Sample080 | QC-B | QC | 2.03 | 21288.953 | 171872 |  | 21288.953 |  | 0.01 | 0.01032 | 3.24
[9 empty] | 29 | 20210426_PFAS_PPB_UC_Sample029 | QC-C | QC | 2.04 | 19268.641 | 154935 |  | 19268.641 |  | 0.01 | 0.00934 | -6.56
[9 empty] | 81 | 20210426_PFAS_PPB_UC_Sample081 | QC-C | QC | 2.03 | 20363.877 | 164763 |  | 20363.877 |  | 0.01 | 0.00988 | -1.25
[9 empty] | 30 | 20210426_PFAS_PPB_UC_Sample030 | QC-D | QC | 2.04 | 19696.182 | 160708 |  | 19696.182 |  | 0.01 | 0.00955 | -4.49
[9 empty] | 82 | 20210426_PFAS_PPB_UC_Sample082 | QC-D | QC | 2.03 | 21171.502 | 170463 |  | 21171.502 |  | 0.01 | 0.01027 | 2.67
[9 empty] | 1 | 20210426_PFAS_PPB_UC_Sample001 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 2 | 20210426_PFAS_PPB_UC_Sample002 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 3 | 20210426_PFAS_PPB_UC_Sample003 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 6 | 20210426_PFAS_PPB_UC_Sample006 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 26 | 20210426_PFAS_PPB_UC_Sample026 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 31 | 20210426_PFAS_PPB_UC_Sample031 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 45 | 20210426_PFAS_PPB_UC_Sample045 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 58 | 20210426_PFAS_PPB_UC_Sample058 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 78 | 20210426_PFAS_PPB_UC_Sample078 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 83 | 20210426_PFAS_PPB_UC_Sample083 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 98 | 20210426_PFAS_PPB_UC_Sample098 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 105 | 20210426_PFAS_PPB_UC_Sample105 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 106 | 20210426_PFAS_PPB_UC_Sample106 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 107 | 20210426_PFAS_PPB_UC_Sample107 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 108 | 20210426_PFAS_PPB_UC_Sample108 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 109 | 20210426_PFAS_PPB_UC_Sample109 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 110 | 20210426_PFAS_PPB_UC_Sample110 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 111 | 20210426_PFAS_PPB_UC_Sample111 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 112 | 20210426_PFAS_PPB_UC_Sample112 | Solvent Blank | Solvent | [6 empty] | 0.01
[9 empty] | 46 | 20210426_PFAS_PPB_UC_Sample046 | UC_AF_Mix2_A | Analyte | 2.04 | 19011.229 | 155018 |  | 19011.229 |  | 0.01 | 0.00922 | -7.81
[9 empty] | 47 | 20210426_PFAS_PPB_UC_Sample047 | UC_AF_Mix2_B | Analyte | 2.04 | 19306.85 | 149520 |  | 19306.85 |  | 0.01 | 0.00936 | -6.37
[9 empty] | 48 | 20210426_PFAS_PPB_UC_Sample048 | UC_AF_Mix2_C | Analyte | 2.04 | 20552.422 | 161382 |  | 20552.422 |  | 0.01 | 0.00997 | -0.33
[9 empty] | 50 | 20210426_PFAS_PPB_UC_Sample050 | UC_T1hr_Mix2_A | Analyte | 2.04 | 23602.537 | 190231 |  | 23602.537 |  | 0.01 | 0.01145 | 14.46
[9 empty] | 51 | 20210426_PFAS_PPB_UC_Sample051 | UC_T1hr_Mix2_B | Analyte | 2.04 | 25711.563 | 200318 |  | 25711.563 |  | 0.01 | 0.01247 | 24.68
[9 empty] | 52 | 20210426_PFAS_PPB_UC_Sample052 | UC_T1hr_Mix2_C | Analyte | 2.04 | 24201.912 | 186866 |  | 24201.912 |  | 0.01 | 0.01174 | 17.36
[9 empty] | 54 | 20210426_PFAS_PPB_UC_Sample054 | UC_T5hr_Mix2_A | Analyte | 2.04 | 20345.916 | 161538 |  | 20345.916 |  | 0.01 | 0.00987 | -1.34
[9 empty] | 55 | 20210426_PFAS_PPB_UC_Sample055 | UC_T5hr_Mix2_B | Analyte | 2.04 | 22406.723 | 179535 |  | 22406.723 |  | 0.01 | 0.01087 | 8.66
[9 empty] | 56 | 20210426_PFAS_PPB_UC_Sample056 | UC_T5hr_Mix2_C | Analyte | 2.04 | 23178.645 | 182161 |  | 23178.645 |  | 0.01 | 0.01124 | 12.4