## Final GC-PFAS Fu_HepCl_PFAS150
DTXSID | Chemical Name (Common Abbreviation) | TK_Assay_SPID | Abbrev_SPID | to John | LC_or_GC | Mean fu | SD fu | CV fu (%) | PPB_Stab_Fail | % remaining_PPB | Unadj in vitro Clint | Hep_Stab_Fail | Bkgd_adj_Clint | QC_Fail | MD_Fail | % remaining_Hep_T240 | Comments
DTXSID3059927 | Hexafluoroamylene | 1480945 | 945 | 911 | GC | 0.67695 | 0.060632 | 8.9566 | 0 | NS | 2.8 | 0 | 0 | 0 | 0 | 71 | 29% loss by T240 hep media
DTXSID0059871 | Pentafluoropropionamide | 1208990273 | 273 | 20 | GC | 0.80894 | 0.037181 | 4.6 | 0 | NS | 0 | 0 | 0 | 0 | 0 | 71 | some loss in heps, 71% remaining
DTXSID80310730 | Octafluoroadipamide | 1480923 | 923 | 911 | GC | 0.82012 | 0.13096 | 15.9689 | 0 | NS | 5.29 | 0 | 2.95 | 0 | 0 | 76
DTXSID10382147 | 3-(Perfluoro-2-butyl)propane-1,2-diol | 1480913 | 913 | 20 | GC | 0.36959 | 0.044797 | 12.12 | 0 | NS | 8.61 | 0 | 5.88 | 0 | 0 | 72 | 28% loss by T240-hep media
DTXSID70381090 | 1H,1H,8H,8H-Perfluoro-3,6-dioxaoctane-1,8-diol | 1480949 | 949 | 911 | GC | 0.20694 | 0.019301 | 9.33 | 0 | NS | 6.72 | 0 | 6.72 | 0 | 0 | 100
DTXSID70366226 | Perfluoropentanamide | 1480916 | 916 | 911 | GC | 0.54171 | 0.096514 | 17.8164 | 0 | NS | 14.68 | 0 | 14.68 | 0 | 0 | 100
DTXSID00380798 | 1H,1H,11H,11H-Perfluorotetraethylene glycol | 1208990464 | 464 | 911 | GC | 0.01278 | 0.0016833 | 13.1713 | 0 | NS | 24.3 | 0 | 19.93 | 0 | 0 | 59 | 59% remaining at T240
DTXSID2060965 | Heptafluorobutyramide | 1480908 | 908 | 911 | GC | 0.60297 | 0.072721 | 12.0604 | 0 | NS | 19.95 | 0 | 19.95 | 0 | 0
DTXSID30396867 | 1H,1H,8H,8H-Perfluorooctane-1,8-diol | 1208990479 | 479 | 911 | GC | 0.056 | 0.0072 | 13.03 | 0 | NS | 22.82 | 0 | 20.006 | 0 | 0 | 71 | 71% remaining at T240
DTXSID30340244 | 1H,1H,7H-Perfluoroheptyl 4-methylbenzenesulfonate | 1208990477 | 477 | 911 | GC | 0.029 | 0.01056 | 36.28 | 0 | NS | 30.98 | 0 | 23.85 | 0 | 0 | 42 | 42% remaining at T240
DTXSID60400587 | Nonafluoropentanamide | 1480909 | 909 | 911 | GC | 0.19849 | 0.028876 | 14.548 | 0 | NS | 34.94 | 0 | 26.026 | 0 | 0
DTXSID1062122 | 4:2 Fluorotelomer alcohol | 1480971 | 971 | 911 | GC | 0.168 | 0.053637 | 31.95 | 0 | NS | 45.62 | 0 | 37.71 | 0 | 0 | 70 | 70% rem at T120; hep assay undergoing data analysis now; PPB data being confirmed
DTXSID50369896 | 1H,1H,10H,10H-Perfluorodecane-1,10-diol | 1208990274 | 274 | 911 | GC | 0.0047 | 0.00105 | 22.3 | 0 | NS | 56.6 | 0 | 49.86 | 0 | 0
DTXSID50381992 | Bis(1H,1H-perfluoropropyl)amine | 1480959 | 959 | 911 | GC | 0.047669 | 0.011454 | 24.03 | 0 | NS | Fmd | Fmd | Fmd | 0 | 0 | NA | Failed method dev in hep media - huge peaks
DTXSID3047558 | 6:2 Fluorotelomer methacrylate | 1480940 | 940 |  | GC | 0.21 | 0.11 | 50.05 | 0 | 54 | Fmd | Fmd | Fmd | 0 | 1 | Fmd | 54% rem at T5hr; highly variable; usable but need to note loss of parent in PPB; couldn't detect in hep media - sens issues (and prob stab issues)
DTXSID20335129 | 1,6-Dibromododecafluorohexane | 1213130503 / 275 | 30503 | 1 | GC | 0.004 | based on eLOQ | based on eLOQ | 0 | 40 | Fst | 1 | Fst | 0 | 0 | 0 | 37% rem at T15 - hep; >59% loss in plasma, highly bound; Plus-up Chemicals
DTXSID30190948 | Perfluoro-1,4-diiodobutane | 1213130516 | 30516 | 1 | GC | 0.0055 | 0.0017 | 31.33 | 0 | see comments | Fst | 1 | Fst | 0 | 0 | 0 | 22% rem at T15; only 1 uM at T1hr but ns loss by T5hr in PPB; Fu numbers entered Plus-up Chemicals
DTXSID7060332 | (Perfluorobutyryl)-2-thenoylmethane | 1210314812 | 812 | 1 | GC | 0.006 | 0.00013 | 2.021 | 0 | 100 | Fst | Fst | Fst | mix | 1 | Fst | PPB based on eLOQ. Cmpd stable; highly unstable in hep media
DTXSID00190950 | 6:1 Fluorotelomer alcohol | 1503135 | 3135 | 911 | GC | 0.023 | 0.005819 | 25.43 | 0 | NS | Fst | 1 | Fst | 0 | 0 | 0 | 50% rem at T60, 19% rem at T120 -Athens, Fu CC recheck but data OK
DTXSID50382621 | 7:3 Fluorotelomer alcohol | 1503145 | 3145 | 911 | GC | 0.023 | 0.011217 | 48.3486 | 0 | NS | Fst | 1 | Fst | 0 | 0 | NA | Athens - 40% rem at T60, 16% at T120 - unstable, Fu CC recheck
DTXSID5044572 | 6:2 Fluorotelomer alcohol | 1480941 | 941 | 911 | GC | 0.023 | 0.005819 | 25.43 | 0 | 100 | Fst | 1 | Fst | 0 | 0 | 0 | Athens-50% rem at T60; 30% at T120
DTXSID70381151 | Perfluorooctanamidine | 1503125 | 3125 |  | GC | 0.025258 | 0.00066538 | 2.63 | 0 | 67 | Fst | 1 | Fst | 0 | 0 | 0 | unstable in hep media
DTXSID90190949 | 1,6-Diiodoperfluorohexane | 1213130501 | 30501 | 1 | GC | 0.026 | 0.0083 | 32.56 | 0 | 72 | Fst | 1 | Fst | 0 | 0 | 0 | 33% rem at T15 - hep; PPB - 72% rem; stablePlus-up Chemicals
DTXSID60195123 | Perfluorooctanamide | 1503117 | 3117 | 911 | GC | 0.028193 | 0.0052592 | 18.6541 | 0 | NS | Fst | 1 | Fst | 0 | 0 | 0 | 26% rem at T60, Fail;
DTXSID10379991 | 3-(Perfluorooctyl)propanol | 1208990267 | 267 | 20 | GC | 0.035748 | 0.0085689 | 23.97 | 0 | NS | Fst | 1 | Fst | 0 | 0 | 0 | 80% loss by T60-hep media
DTXSID9059832 | Dodecafluoroheptanol | 1480906 | 906 | 20 | GC | 0.053683 | 0.0092232 | 17.18 | 0 | NS | Fst | 1 | Fst | 0 | 0 | 1 | 53% loss by T60, 99% T240
DTXSID80375107 | 11:1 Fluorotelomer alcohol | 1480969 | 969 | 911 | GC | 0.057 | 0.026248 | 46.136 | 0 | 100 | Fst | 1 | Fst | 0 | 0 | 0 | 26% rem at T60, Fail; Fu high CV
DTXSID60377821 | 4:4 Fluorotelomer alcohol | 1480902 | 902 | 911 | GC | 0.064 | 0.016328 | 25.4982 | 0 | 100 | Fst | 1 | Fst | 0 | 0 |  | 42.4% rem at T60, 26.5% at T120
DTXSID8062101 | 8:2 Fluorotelomer methacrylate | 1208990467 | 467 |  | GC | 0.09 | 0.04 | 39.34 | 0 | 66 | Fst | 1 | Fst | 0 | 0 | NA | Ann withdrew this one but passed QC; generated data; samples 6/22 in Athens
DTXSID1047578 | 1H,1H,2H,2H-Perfluorohexyl iodide | 1210314763 | 763 | 911 | GC | 0.098037 | 0.015769 | 16.0847 | 0 | NS | Fst | 1 | Fst | 0 | 0
DTXSID50184723 | 1H,1H-Perfluorooctylamine | 1213130521 | 30521; or 268 | 1 (521/268) | GC | 0.105 | update (avg of 2 values) |  | 0 | 58 | Fst | Fst | Fst | 0 | 0 | 0 | 98% loss in hep media by T30- U. 521 Fu 0.081; 58% rem; 268 Fu 0.134; 30% rem; Provided as both a plus-up chemicals and as 268 in Set 5, withdrawn by Ann.
DTXSID90880156 | 1-Iodo-1H,1H,2H,2H-perfluorononane | 1208990474 | 474 | 1 | GC | 0.1123 | 0.05 | 44.17 | 0 | 51.7 | Fst | Fst | Fst | 0 | 0 | 0 | 90% loss by T60 in hep media; 44% remaining in PPB at T5hr
DTXSID5063235 | 1H,1H-Perfluorooctyl methacrylate | 1208990276 | 276 |  | GC | 0.13 | 0.05 | 40.53 | 0 | 49 | Fst | 1 | Fst | 0 | 0 | Fst | 49% rem in PPB, but worth using data
DTXSID30395037 | tris(Trifluoroethoxy)methane | 1480964 | 964 | 911 | GC | 0.17285 | 0.011946 | 6.9115 | 0 | 66 | Fst | 1 | Fst | 0 | 0 | 0 | 11% remaining at T30 in hep media
DTXSID60379269 | 3-(Perfluoropropyl)propanol | 1480965 | 965 | 20 | GC | 0.2033 | 0.022537 | 11.09 | 0 | NS | Fst | 1 | Fst | 0 | 0 | 0 | 61% loss by T60
DTXSID0059879 | 1H,1H,5H-Perfluoropentanol | 1480900 | 900 | 20 | GC | 0.3616 | 0.072492 | 20.05 | 0 | NS | Fst | 1 | Fst | 0 | 0 | 9 | sig loss in media, two assays at T240; solubility issues too
DTXSID4059914 | Heptafluorobutanol | 1480915 | 915 | 20 | GC | 0.51051 | 0.031035 | 6.08 | 0 | 82 | Fst | 1 | Fst | 0 | 0 | 0 | unstable in hep media
DTXSID40379666 | N-Methyl-N-trimethylsilylheptafluorobutyramide | 1208990476 | 476 | 20 | GC | 0.54507 | 0.050973 | 9.35 | 0 | NS | Fst | 1 | Fst | 0 | 0 |  | 96% loss at T240 - assay; also unstable in stab check (WMH saw this as stable on LCMS 100% rem at T120)
DTXSID70880230 | ((2,2,3,3-Tetrafluoropropoxy)methyl)oxirane | 1503096 | 3096 | 1 | GC | 0.8411 | 0.17 | 19.9 | 0 | 66 | Fst | 1 | Fst | 0 | 0 | 9 | PPB - not stat sig loss, but worth noting 66% rem - PPB; too unstable in hep assay
DTXSID80382093 | 2-Aminohexafluoropropan-2-ol | 1480899 | 899 | 20 | GC | 1.0718 | 0.31304 | 29.21 | 0 | 76 | Fst | 1 | Fst | 0 | 0 | 0 | highly unstable in hep media
DTXSID7029904 | 8:2 Fluorotelomer alcohol | 1480956 | 956 | 911 | GC | 0.017 | 0.008818 | 51.98 | 0 | 100 | Fst | 1 | Fst | 0 | 0 |  | checking in with WMH re: hep stab
DTXSID50379930 | 1H,1H-Perfluorononylamine | 1213130510 | 30510 | 1 | GC | 0.043 | 0.01013 | 23.5329 | 0 | 60 |  |  | Fmd-st | 0 |  |  | solub issues in hepCl run; stabil p/f call made wk of 5/23; Plus-up Chemicals
DTXSID10379835 | 1H,1H-Perfluoroheptylamine | 1213130505 | 30505 | 1 | GC | 0.129 | 0.0311 | 24.1838 | 0 | 54 |  |  | Fmd |  | 0 |  | 54% rem at T5hr in PPB:solubil issues with hep assay work- still evaluating; stability p/f avail wk of May 23; Plus-up Chemicals
DTXSID20337446 | 2-(Perfluorooctyl)ethanthiol | 1210314523 | 523 |  | GC | Fmd | Fmd | Fmd | 1 | NA | Fmd | Fmd | Fmd | 0 | 0 | Fmd | failed method dev in hep media - likely due to stability issues
DTXSID5067348 | 8:2 Fluorotelomer acrylate | 1503128 | 3128 or 773 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | 0 | 0 | 0 | unstable in hep media
DTXSID00194615 | 1H,1H,9H-Perfluorononyl acrylate | 1503142 | 3142 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | 0 | 0 | 0 | After 1hr, only 3% remaining in plasma; 30% remaining at T30 in hep; 10% rem T60
DTXSID10224331 | 2,2,3,3-Tetrafluoropropyl acrylate | 1208990471 | 471 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | 0 | 0 |  | 20% rem in hep media T60 - unstable; 0% rem at end of PPB assay
DTXSID10379254 | 1H,1H-Heptafluorobutyl epoxide | 1208990472 | 472 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | 0 | 0 |  | 75% loss by T10 in hep media; 98% loss by T30 in plasma
DTXSID1068772 | 2-(Perfluorobutyl)ethyl acrylate | 1208990478 | 478 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | 0 | 0 | 0 | 0% rem at T5hr PPB; 63% rem T60 hep - unstable
DTXSID3065586 | 1H,1H-Perfluorobutyl methacrylate | 1503203 | 3203 |  | GC | Fst | Fst | Fst | 1 | 8 | Fst | 1 | Fst | 0 | 0 | 0 | 8% remaining at T5hr - assay fail. Calcucated Fu=0.94, but this is not reliable - fu typically overestimated when compound unstable.; 50% loss by T60, 72% by T120 in hep media - fail
DTXSID40235137 | Dimethoxymethyl((perfluorohexyl)ethyl)silane | 1208990482 | 482 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | 0 | 0 | Fst | very low levels if detected - stability issue
DTXSID40380797 | Fluorinated triethylene glycol monomethyl ether | 1503204 | 3204 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | 0 | 0 | 0 | 0% in plasma at T240; 9% rem at T60 in hep media
DTXSID5059799 | 1H,1H-Perfluorooctyl acrylate | 1503094 | 3094 |  | GC | Fst | Fst | Fst | 1 | 6 | Fst | 1 | Fst | 0 | 0 | 0 | 6% remaining at T1hr - PPB assay fail; 95% loss by T60 in hep media - fail
DTXSID5059828 | 1-Iodopentadecafluoroheptane | 1210314513 / 1503155 | 3155 (or 513?) | 1 | GC | Fst | Fst | Fst | 1 | 16 | Fst | 1 | Fst | 0 | 0 | NA | highly unstable in hep media; could detect in PPB but high loss
DTXSID5060986 | 1H,1H,5H,5H-Perfluoro-1,5-pentanediol diacrylate | 1208990468 | 468 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | 0 | 0 | 0 | 43% rem at T120 in hep media; unstable; not stable in PPB (NDs at T5hr)
DTXSID70880134 | 1-Pentafluoroethylethanol | 1480907 | 907 or 527 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | mix | 0 | 0 | 60% loss by T30 in hep media; 65% loss by T60 in plasma
DTXSID80379721 | 1H,1H,6H,6H-Perfluorohexane-1,6-diol diacrylate | 1210314537 or 1503184 | 3184 or 537 |  | GC | Fst | Fst | Fst | 1 | 0 | Fst | 1 | Fst | 0 | 0 | 0 | no data at all ck with Matt- method issues?
DTXSID8044969 | Methyl perfluoro(3-(1-ethenyloxypropan-2-yloxy)propanoate) | 1210314520 | 520 |  | GC | Fst | Fst | Fst | 1 | Fst | Fst | 1 | Fst | 0 | 0 | 0 | exceedingly unstable in these two matrices
DTXSID90880131 | 1H,1H,5H-Perfluoropentyl methacrylate | 1213130507 | 30507 | 1 | GC | Fst | Fst | Fst | 1 | 0.01 | Fst | 1 | Fst | 0 | 0 | 0 | 4% rem at T15 - hep; 99% loss by 5 hrin PPB - failed; Plus-up Chemicals
DTXSID00379884 | 3-(Perfluoro-3-methylbutyl)-1,2-propenoxide | 1208990278 | 278 |  | GC | Fst | Fst | Fst | 1 | NA | Fst | 1 | Fst | 0 | 0 | 0 | 80% loss by T10 in hep; 35% rem by T60 in plasma
DTXSID20379947 | 2-(Perfluorohexyl)ethanethiol | 1213130522 | 30522 |  | GC | Fst | Fst | Fst | 1 | 0 | [6 empty] | failed in PPB (nondetect); change to a Fst for PPB?;solub issues in hep assay; stabil p/f to be made wk of 5/23Plus-up Chemicals
DTXSID20440585 | 1-(Perfluorohexyl)octane | 1208990475 | 475 |  | GC | Fmd | Fmd | Fmd | Fmd | Fmd | Fmd | Fmd | Fmd | 0 | 1 | Fmd | in Scott's yellow bin
DTXSID50229163 | Trichloro((perfluorohexyl)ethyl)silane | 1503116 | 3116 |  | GC | Fmd | Fmd | Fmd | Fmd | Fmd | Fmd | Fmd | Fmd | 0 | 1 | NA
DTXSID3066215 | (Heptafluorobutanoyl)pivaloylmethane | 1503107 / 1210314745 | 3107 or 745 |  | GC | Fmd | Fmd | Fmd | Fmd | Fmd | Fst | 1 | Fst | 0 | 0 | 0 | T60 45% remaining; 5% rem T240. Very fluky, inconsistent responses; difficult to pin down; tried both stocks
DTXSID30880413 | 3-(Perfluorohexyl)-1,2-epoxypropane | 1503091 |  |  | GC | Fmd | Fmd | Fmd | NA | Fmd | Fmd | Fmd | Fmd | ? | 1 | NA | 1503091 failed during method dev. SPID 1210314754 stock failed QC - Evotec used wrong PFAS in stock prep.
DTXSID4059912 | Heptafluorobutyl iodide | 1503163 | 3163 |  | GC | Fmd | Fmd | Fmd | NA | 0 | Fmd | Fmd | Fmd | 0 | 1 | NA | failed to detect in meth dev phase
DTXSID50441560 | Methyl 2H,2H,3H,3H-perfluoroheptanoate | 1480901 | 901 |  | GC | Fmd | Fmd | Fmd | NA | Fmd | Fmd | Fmd | Fmd | 0 | 1 | Fmd | MSC - method dev mode; method not sensitive enough (could be stab issue?)
DTXSID60377826 | 1H,1H-Perfluoropentylamine | 1480918 |  |  | GC | Fmd | Fmd | Fmd | NA | Fmd | Fmd | Fmd | Fmd | ? | 1 |  | ? QC all; failed in the end
DTXSID7047566 | Perfluorohexyl iodide | 1210314749 | 749 |  | GC | Fmd | Fmd | Fmd | NA | NA | Fmd | Fmd | Fmd | ? | 1
DTXSID90371872 | 1,8-Divinylperfluorooctane | 1503101 | 3101 |  | GC | Fmd | Fmd | Fmd | NA | NA | Fmd | Fmd | Fmd | 0 | 1 | Fmd | Huge peaks - method dev fail
DTXSID9061881 | 1-Iodo-1H,1H,2H,2H-perfluoroheptane | 1503134 or 1210314502 | 3134 or 502 |  | GC | Fmd | Fmd | Fmd | NA | NA | Fmd | Fmd | Fmd | 0 | 1 | Fmd | Failed method dev - large preaks - could not optimize
DTXSID60238701 | Perfluoropinacol | 1208990271 | 271 |  | GC | Fmd | Fmd | Fmd | NA | NA | Fmd | Fmd | Fmd | 0 | 1 |  | AR removed but stocks went to screeners. Thought WMH had method but does not. ; plas/med stab and hep cl samples shipped 6/22/21; UC assay to be prepped 3/8/22; Ended up in Scott's yellow bin
DTXSID60379901 | (Perfluoro-5-methylhexyl)ethyl 2-methylprop-2-enoate | 1210314760 | 3126 or 760 | 1 | GC | 0.0603 | 0.016 | 26.42 |  | 63.6 | Fst | 1 | Fst | 0 | 0 | 0 | 55% loss by T60; 64% loss by T5hr in PPB is somewhat concerning - flag