## EPA Hepatocyte Stability 080720
EPA
2020-09-24
Hepatocyte Stability: Data Summary
Compound | Species | Clearance (µl/min/million cells) | Half Life (mins) | Avg % Remaining at Last Point | Avg % Remaining at 120' Control** | Comments
DTXSID1026241 | Human | 0 | > 480 | 801.9% | solubility issues | 1 µM Concentration, Solubility Issues
DTXSID2026232 | Human | 0 | > 480 | 660.7% | solubility issues | 1 µM Concentration, Solubility Issues
DTXSID3020625 | Human | 4.2517 | 326.0574 | 83.69% | 79.1% | 1 µM Concentration
DTXSID3025881 | Human | 3.9022 | 355.2594 | 74.77% | 75.6% | 1 µM Concentration
DTXSID7041964 | Human | 135.9196 | 10.1994 | 1.747% | 37.7% | 1 µM Concentration
DTXSID9023889 | Human | >93 | < 15 | 0% | 135% | 1 µM Concentration
DTXSID1026241 | Human | 0 | > 480 | 1588% | solubility issues | 10 µM Concentration, Solubility Issues
DTXSID2026232 | Human | 0 | > 480 | 4083% | solubility issues | 10 µM Concentration, Solubility Issues
DTXSID3020625 | Human | 4.2994 | 322.4382 | 79.1% | 82.5% | 10 µM Concentration
DTXSID3025881 | Human | 0 | > 480 | 112% | 83.4% | 10 µM Concentration
DTXSID7041964 | Human | 96.5604 | 14.3568 | 5.15% | 49.3% | 10 µM Concentration
DTXSID9023889 | Human | >93 | < 15 | 0% | 39.4% | 10 µM Concentration
Midazolam | Human | 101.5608 | 13.6499 | 9.528% |  | 1 µM Concentration; Control
*Average percent remaining at last time point used to determine slope and half-life
ND: Not Determined (Data not reportable due to low analyte signal relative to background, likely due to matrix interference and poor ionization)
NC: Not Calculable
** 120' Control Hepatocyte Heat Inactivated 60 minutes at 100'C

## 1uM Data
SampleName | CompoundName | Transition | Area | ISTD Area | ISTDResponseRatio | % Remaining | Time (mins) | ln % Remaining | Chart |  |  |  |  | Table
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID1026241 | 262.9 / 139.0 | 0 | 1782000 | 0 |  |  |  | DTXSID1026241 - Human | 1 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID1026241 | 262.9 / 139.0 | 649 | 1767000 | 0.0003672 |  |  |  | Time (Mins) | 5 |  |  |  | 120 | 570.1% | -2618.14% | 1034% | 801.9%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID1026241 | 262.9 / 139.0 | 0 | 1796000 | 0 |  |  |  | ln Percent Remaining | 19 |  |  |  | 60 | 490.6% | -4270.10% | 714.5% | 602.6%
DTXSID1026241__Human__120_1_____5P2_Inj 2020Aug14_EPA_390 | DTXSID1026241 | 262.9 / 139.0 | 8474 | 1167000 | 0.007263 | 570.0623 | 120 | 6.3457 |  |  | 1 | 120 | 6.3457 | 30 | 366.6% | -3132.84% | 1127% | 746.9%
DTXSID1026241__Human__120_2_____5P2_Inj 2020Aug14_EPA_391 | DTXSID1026241 | 262.9 / 139.0 | 4234 | 1272000 | 0.003327 | -2618.1373 | 120 |  |  |  |  | 120 | 6.9409 | 15 | 564.9% | -1532.35% | 669.2% | 617%
DTXSID1026241__Human__120_3_____5P2_Inj 2020Aug14_EPA_392 | DTXSID1026241 | 262.9 / 139.0 | 7006 | 1186000 | 0.005907 | 1033.7026 | 120 | 6.9409 |  |  | 3 | 60 | 6.1957 | 0 | 100% | 100% | 100% | 100%
DTXSID1026241__Human__60_1_____5P3_Inj 2020Aug14_EPA_393 | DTXSID1026241 | 262.9 / 139.0 | 6244 | 996100 | 0.006268 | 490.6275 | 60 | 6.1957 |  |  | 4 | 60 | 6.5716
DTXSID1026241__Human__60_2_____5P3_Inj 2020Aug14_EPA_394 | DTXSID1026241 | 262.9 / 139.0 | 5366 | 1003000 | 0.005349 | -4270.098 | 60 |  |  |  |  | 30 | 5.9044 | Slope | 0.012882
DTXSID1026241__Human__60_3_____5P3_Inj 2020Aug14_EPA_395 | DTXSID1026241 | 262.9 / 139.0 | 4479 | 1087000 | 0.004121 | 714.5461 | 60 | 6.5716 |  |  | 6 | 30 | 7.0275 | Intercept | 5.4406
DTXSID1026241__Human__30_1_____5P4_Inj 2020Aug14_EPA_396 | DTXSID1026241 | 262.9 / 139.0 | 5188 | 1100000 | 0.004715 | 366.6454 | 30 | 5.9044 |  |  | 7 | 15 | 6.3366 | R2 | 0.38158
DTXSID1026241__Human__30_2_____5P4_Inj 2020Aug14_EPA_397 | DTXSID1026241 | 262.9 / 139.0 | 4433 | 1120000 | 0.003957 | -3132.8431 | 30 |  |  |  |  | 15 | 6.506 | T½ (mins) | >480
DTXSID1026241__Human__30_3_____5P4_Inj 2020Aug14_EPA_398 | DTXSID1026241 | 262.9 / 139.0 | 7872 | 1224000 | 0.00643 | 1127.1623 | 30 | 7.0275 |  |  | 9 | 0 | 4.6052 | CLint (µl/min/106 cells) | 0
DTXSID1026241__Human__15_1_____5P5_Inj 2020Aug14_EPA_399 | DTXSID1026241 | 262.9 / 139.0 | 9051 | 1257000 | 0.007198 | 564.8731 | 15 | 6.3366 |  |  | 10 | 0 | 4.6052 | Comments | Points Deleted: (120,) (60,) (30,) (15,)
DTXSID1026241__Human__15_2_____5P5_Inj 2020Aug14_EPA_400 | DTXSID1026241 | 262.9 / 139.0 | 2483 | 1243000 | 0.001998 | -1532.3529 | 15 |  |  |  |  | 0 | 4.6052
DTXSID1026241__Human__15_3_____5P5_Inj 2020Aug14_EPA_401 | DTXSID1026241 | 262.9 / 139.0 | 5079 | 1313000 | 0.003867 | 669.1565 | 15 | 6.506 |  |  | 12
DTXSID1026241__Human__0_1_____5P6_Inj 2020Aug14_EPA_402 | DTXSID1026241 | 262.9 / 139.0 | 1727 | 1256000 | 0.001375 | 100 | 0 | 4.6052 |  |  | 13
DTXSID1026241__Human__0_2_____5P6_Inj 2020Aug14_EPA_403 | DTXSID1026241 | 262.9 / 139.0 | 0 | 1257000 | 0 | 100 | 0 | 4.6052 |  |  | 14
DTXSID1026241__Human__0_3_____5P6_Inj 2020Aug14_EPA_404 | DTXSID1026241 | 262.9 / 139.0 | 873.8 | 1281000 | 0.000682 | 100 | 0 | 4.6052 |  |  | 15
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID2026232 | 195.0 / 125.1 | 43.34 | 1782000 | 2.432e-05 |  |  |  | DTXSID2026232 - Human | 3 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID2026232 | 195.0 / 125.1 | 67.65 | 1767000 | 3.828e-05 |  |  |  | Time (Mins) | 43 |  |  |  | 120 | 387.1% | 849.8% | 745.3% | 660.7%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID2026232 | 195.0 / 125.1 | 497.1 | 1796000 | 0.0002768 |  |  |  | ln Percent Remaining | 57 |  |  |  | 60 | 392.2% | 710.2% | 640.8% | 581.1%
DTXSID2026232__Human__120_1_____5P2_Inj 2020Aug14_EPA_326 | DTXSID2026232 | 195.0 / 125.1 | 1150 | 1122000 | 0.001025 | 387.0949 | 120 | 5.9587 |  |  | 1 | 120 | 5.9587 | 30 | 631.6% | 655.6% | 716.8% | 668%
DTXSID2026232__Human__120_2_____5P2_Inj 2020Aug14_EPA_327 | DTXSID2026232 | 195.0 / 125.1 | 1922 | 1184000 | 0.001623 | 849.8311 | 120 | 6.745 |  |  | 2 | 120 | 6.745 | 15 | 294.3% | 514.4% | 414.1% | 407.6%
DTXSID2026232__Human__120_3_____5P2_Inj 2020Aug14_EPA_328 | DTXSID2026232 | 195.0 / 125.1 | 2264 | 1181000 | 0.001918 | 745.2994 | 120 | 6.6138 |  |  | 3 | 120 | 6.6138 | 0 | 100% | 100% | 100% | 100%
DTXSID2026232__Human__60_1_____5P3_Inj 2020Aug14_EPA_329 | DTXSID2026232 | 195.0 / 125.1 | 1010 | 973700 | 0.001037 | 392.189 | 60 | 5.9717 |  |  | 4 | 60 | 5.9717
DTXSID2026232__Human__60_2_____5P3_Inj 2020Aug14_EPA_330 | DTXSID2026232 | 195.0 / 125.1 | 1302 | 946400 | 0.001375 | 710.2439 | 60 | 6.5656 |  |  | 5 | 60 | 6.5656 | Slope | 0.010403
DTXSID2026232__Human__60_3_____5P3_Inj 2020Aug14_EPA_331 | DTXSID2026232 | 195.0 / 125.1 | 1594 | 957300 | 0.001665 | 640.8259 | 60 | 6.4628 |  |  | 6 | 60 | 6.4628 | Intercept | 5.5049
DTXSID2026232__Human__30_1_____5P4_Inj 2020Aug14_EPA_332 | DTXSID2026232 | 195.0 / 125.1 | 1656 | 1034000 | 0.001601 | 631.6117 | 30 | 6.4483 |  |  | 7 | 30 | 6.4483 | R2 | 0.35543
DTXSID2026232__Human__30_2_____5P4_Inj 2020Aug14_EPA_333 | DTXSID2026232 | 195.0 / 125.1 | 1514 | 1185000 | 0.001278 | 655.6473 | 30 | 6.4856 |  |  | 8 | 30 | 6.4856 | T½ (mins) | >480
DTXSID2026232__Human__30_3_____5P4_Inj 2020Aug14_EPA_334 | DTXSID2026232 | 195.0 / 125.1 | 2055 | 1112000 | 0.001849 | 716.8066 | 30 | 6.5748 |  |  | 9 | 30 | 6.5748 | CLint (µl/min/106 cells) | 0
DTXSID2026232__Human__15_1_____5P5_Inj 2020Aug14_EPA_335 | DTXSID2026232 | 195.0 / 125.1 | 1015 | 1258000 | 0.0008065 | 294.3399 | 15 | 5.6847 |  |  | 10 | 15 | 5.6847 | Comments
DTXSID2026232__Human__15_2_____5P5_Inj 2020Aug14_EPA_336 | DTXSID2026232 | 195.0 / 125.1 | 1196 | 1165000 | 0.001027 | 514.3715 | 15 | 6.2429 |  |  | 11 | 15 | 6.2429
DTXSID2026232__Human__15_3_____5P5_Inj 2020Aug14_EPA_337 | DTXSID2026232 | 195.0 / 125.1 | 1365 | 1223000 | 0.001116 | 414.1225 | 15 | 6.0262 |  |  | 12 | 15 | 6.0262
DTXSID2026232__Human__0_1_____5P6_Inj 2020Aug14_EPA_338 | DTXSID2026232 | 195.0 / 125.1 | 410.4 | 1177000 | 0.0003487 | 100 | 0 | 4.6052 |  |  | 13 | 0 | 4.6052
DTXSID2026232__Human__0_2_____5P6_Inj 2020Aug14_EPA_339 | DTXSID2026232 | 195.0 / 125.1 | 369.7 | 1271000 | 0.0002908 | 100 | 0 | 4.6052 |  |  | 14 | 0 | 4.6052
DTXSID2026232__Human__0_3_____5P6_Inj 2020Aug14_EPA_340 | DTXSID2026232 | 195.0 / 125.1 | 464 | 1306000 | 0.0003553 | 100 | 0 | 4.6052 |  |  | 15 | 0 | 4.6052
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID3020625 | 373.2 / 317.2 | 0 | 1782000 | 0 |  |  |  | DTXSID3020625 - Human | 5 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID3020625 | 373.2 / 317.2 | 0 | 1767000 | 0 |  |  |  | Time (Mins) | 81 |  |  |  | 120 | 86.44% | 90.54% | 74.08% | 83.69%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID3020625 | 373.2 / 317.2 | 0 | 1796000 | 0 |  |  |  | ln Percent Remaining | 95 |  |  |  | 60 | 91.7% | 83.36% | 82.48% | 85.85%
DTXSID3020625__Human__120_1_____5P2_Inj 2020Aug14_EPA_230 | DTXSID3020625 | 373.2 / 317.2 | 3316000 | 1553000 | 2.136 | 86.4427 | 120 | 4.4595 |  |  | 1 | 120 | 4.4595 | 30 | 166.5% | 93.4% | 108.1% | 122.7%
DTXSID3020625__Human__120_2_____5P2_Inj 2020Aug14_EPA_231 | DTXSID3020625 | 373.2 / 317.2 | 3636000 | 1667000 | 2.182 | 90.5394 | 120 | 4.5058 |  |  | 2 | 120 | 4.5058 | 15 | 112.2% | 90.41% | 104.7% | 102.4%
DTXSID3020625__Human__120_3_____5P2_Inj 2020Aug14_EPA_232 | DTXSID3020625 | 373.2 / 317.2 | 2010000 | 1258000 | 1.598 | 74.0844 | 120 | 4.3052 |  |  | 3 | 120 | 4.3052 | 0 | 100% | 100% | 100% | 100%
DTXSID3020625__Human__60_1_____5P3_Inj 2020Aug14_EPA_233 | DTXSID3020625 | 373.2 / 317.2 | 2621000 | 1157000 | 2.266 | 91.7038 | 60 | 4.5186 |  |  | 4 | 60 | 4.5186
DTXSID3020625__Human__60_2_____5P3_Inj 2020Aug14_EPA_234 | DTXSID3020625 | 373.2 / 317.2 | 2143000 | 1067000 | 2.009 | 83.361 | 60 | 4.4232 |  |  | 5 | 60 | 4.4232 | Slope | -0.0021258
DTXSID3020625__Human__60_3_____5P3_Inj 2020Aug14_EPA_235 | DTXSID3020625 | 373.2 / 317.2 | 1861000 | 1046000 | 1.779 | 82.4757 | 60 | 4.4125 |  |  | 6 | 60 | 4.4125 | Intercept | 4.6724
DTXSID3020625__Human__30_1_____5P4_Inj 2020Aug14_EPA_236 | DTXSID3020625 | 373.2 / 317.2 | 8455000 | 2055000 | 4.113 | 166.4508 | 30 | 5.1147 |  |  | 7 | 30 | 5.1147 | R2 | 0.25286
DTXSID3020625__Human__30_2_____5P4_Inj 2020Aug14_EPA_237 | DTXSID3020625 | 373.2 / 317.2 | 2758000 | 1225000 | 2.251 | 93.4025 | 30 | 4.5369 |  |  | 8 | 30 | 4.5369 | T½ (mins) | 326.0574
DTXSID3020625__Human__30_3_____5P4_Inj 2020Aug14_EPA_238 | DTXSID3020625 | 373.2 / 317.2 | 4451000 | 1909000 | 2.332 | 108.1131 | 30 | 4.6832 |  |  | 9 | 30 | 4.6832 | CLint (µl/min/106 cells) | 4.2517
DTXSID3020625__Human__15_1_____5P5_Inj 2020Aug14_EPA_239 | DTXSID3020625 | 373.2 / 317.2 | 3807000 | 1374000 | 2.772 | 112.1813 | 15 | 4.7201 |  |  | 10 | 15 | 4.7201 | Comments
DTXSID3020625__Human__15_2_____5P5_Inj 2020Aug14_EPA_240 | DTXSID3020625 | 373.2 / 317.2 | 2762000 | 1268000 | 2.179 | 90.4149 | 15 | 4.5044 |  |  | 11 | 15 | 4.5044
DTXSID3020625__Human__15_3_____5P5_Inj 2020Aug14_EPA_241 | DTXSID3020625 | 373.2 / 317.2 | 2891000 | 1280000 | 2.259 | 104.7288 | 15 | 4.6514 |  |  | 12 | 15 | 4.6514
DTXSID3020625__Human__0_1_____5P6_Inj 2020Aug14_EPA_242 | DTXSID3020625 | 373.2 / 317.2 | 3426000 | 1387000 | 2.471 | 100 | 0 | 4.6052 |  |  | 13 | 0 | 4.6052
DTXSID3020625__Human__0_2_____5P6_Inj 2020Aug14_EPA_243 | DTXSID3020625 | 373.2 / 317.2 | 3016000 | 1252000 | 2.41 | 100 | 0 | 4.6052 |  |  | 14 | 0 | 4.6052
DTXSID3020625__Human__0_3_____5P6_Inj 2020Aug14_EPA_244 | DTXSID3020625 | 373.2 / 317.2 | 2631000 | 1220000 | 2.157 | 100 | 0 | 4.6052 |  |  | 15 | 0 | 4.6052
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID3025881 | 109.1 / 91.9 | 202.2 | 1782000 | 0.0001134 |  |  |  | DTXSID3025881 - Human | 6 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID3025881 | 109.1 / 91.9 | 996.7 | 1767000 | 0.0005639 |  |  |  | Time (Mins) | 100 |  |  |  | 120 | 74.16% | 79.34% | 70.81% | 74.77%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID3025881 | 109.1 / 91.9 | 125.9 | 1796000 | 7.013e-05 |  |  |  | ln Percent Remaining | 114 |  |  |  | 60 | 77.59% | 73.23% | 76.76% | 75.86%
DTXSID3025881__Human__120_1_____5P2_Inj 2020Aug14_EPA_454 | DTXSID3025881 | 109.1 / 91.9 | 25920 | 1300000 | 0.01994 | 74.1628 | 120 | 4.3063 |  |  | 1 | 120 | 4.3063 | 30 | 74.92% | 83.95% | 107.6% | 88.82%
DTXSID3025881__Human__120_2_____5P2_Inj 2020Aug14_EPA_455 | DTXSID3025881 | 109.1 / 91.9 | 26670 | 1237000 | 0.02156 | 79.338 | 120 | 4.3737 |  |  | 2 | 120 | 4.3737 | 15 | 89.91% | 74.13% | 78.15% | 80.73%
DTXSID3025881__Human__120_3_____5P2_Inj 2020Aug14_EPA_456 | DTXSID3025881 | 109.1 / 91.9 | 26670 | 1326000 | 0.02012 | 70.8134 | 120 | 4.26 |  |  | 3 | 120 | 4.26 | 0 | 100% | 100% | 100% | 100%
DTXSID3025881__Human__60_1_____5P3_Inj 2020Aug14_EPA_457 | DTXSID3025881 | 109.1 / 91.9 | 23280 | 1117000 | 0.02085 | 77.5902 | 60 | 4.3514 |  |  | 4 | 60 | 4.3514
DTXSID3025881__Human__60_2_____5P3_Inj 2020Aug14_EPA_458 | DTXSID3025881 | 109.1 / 91.9 | 22250 | 1117000 | 0.01992 | 73.2324 | 60 | 4.2936 |  |  | 5 | 60 | 4.2936 | Slope | -0.0019511
DTXSID3025881__Human__60_3_____5P3_Inj 2020Aug14_EPA_459 | DTXSID3025881 | 109.1 / 91.9 | 25860 | 1187000 | 0.02179 | 76.7648 | 60 | 4.3407 |  |  | 6 | 60 | 4.3407 | Intercept | 4.5098
DTXSID3025881__Human__30_1_____5P4_Inj 2020Aug14_EPA_460 | DTXSID3025881 | 109.1 / 91.9 | 27540 | 1368000 | 0.02014 | 74.9161 | 30 | 4.3164 |  |  | 7 | 30 | 4.3164 | R2 | 0.37926
DTXSID3025881__Human__30_2_____5P4_Inj 2020Aug14_EPA_461 | DTXSID3025881 | 109.1 / 91.9 | 27070 | 1187000 | 0.0228 | 83.9543 | 30 | 4.4303 |  |  | 8 | 30 | 4.4303 | T½ (mins) | 355.2594
DTXSID3025881__Human__30_3_____5P4_Inj 2020Aug14_EPA_462 | DTXSID3025881 | 109.1 / 91.9 | 37650 | 1237000 | 0.03044 | 107.5906 | 30 | 4.6783 |  |  | 9 | 30 | 4.6783 | CLint (µl/min/106 cells) | 3.9022
DTXSID3025881__Human__15_1_____5P5_Inj 2020Aug14_EPA_463 | DTXSID3025881 | 109.1 / 91.9 | 32850 | 1362000 | 0.02412 | 89.9062 | 15 | 4.4988 |  |  | 10 | 15 | 4.4988 | Comments
DTXSID3025881__Human__15_2_____5P5_Inj 2020Aug14_EPA_464 | DTXSID3025881 | 109.1 / 91.9 | 27790 | 1378000 | 0.02016 | 74.1259 | 15 | 4.3058 |  |  | 11 | 15 | 4.3058
DTXSID3025881__Human__15_3_____5P5_Inj 2020Aug14_EPA_465 | DTXSID3025881 | 109.1 / 91.9 | 30190 | 1361000 | 0.02218 | 78.1546 | 15 | 4.3587 |  |  | 12 | 15 | 4.3587
DTXSID3025881__Human__0_1_____5P6_Inj 2020Aug14_EPA_466 | DTXSID3025881 | 109.1 / 91.9 | 36130 | 1348000 | 0.0268 | 100 | 0 | 4.6052 |  |  | 13 | 0 | 4.6052
DTXSID3025881__Human__0_2_____5P6_Inj 2020Aug14_EPA_467 | DTXSID3025881 | 109.1 / 91.9 | 34940 | 1289000 | 0.02711 | 100 | 0 | 4.6052 |  |  | 14 | 0 | 4.6052
DTXSID3025881__Human__0_3_____5P6_Inj 2020Aug14_EPA_468 | DTXSID3025881 | 109.1 / 91.9 | 38020 | 1343000 | 0.02831 | 100 | 0 | 4.6052 |  |  | 15 | 0 | 4.6052
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID7041964 | 293.1 / 265.0 | 136.7 | 1782000 | 7.67e-05 |  |  |  | DTXSID7041964 - Human | 7 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID7041964 | 293.1 / 265.0 | 327.1 | 1767000 | 0.000185 |  |  |  | Time (Mins) | 119 |  |  |  | 120 | 1.99% | 0.96% | 1.40%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID7041964 | 293.1 / 265.0 | 393.3 | 1796000 | 0.000219 |  |  |  | ln Percent Remaining | 133 |  |  |  | 60 | 2.075% | 1.42% | 6274.77% | 1.747%
DTXSID7041964__Human__120_1_____5P2_Inj 2020Aug14_EPA_198 | DTXSID7041964 | 293.1 / 265.0 | 1988 | 1162000 | 0.001711 | 1.9915 | 120 | 0.689 |  |  |  | 60 | 0.72994 | 30 | 5.935% | 6.366% | 20.64% | 6.15%
DTXSID7041964__Human__120_2_____5P2_Inj 2020Aug14_EPA_199 | DTXSID7041964 | 293.1 / 265.0 | 720.2 | 1026000 | 0.0007022 | 0.96026 | 120 | -0.041 |  |  |  | 60 | 0.35056 | 15 | 20.12% | 23.55% | 25.08% | 22.92%
DTXSID7041964__Human__120_3_____5P2_Inj 2020Aug14_EPA_200 | DTXSID7041964 | 293.1 / 265.0 | 867.6 | 999700 | 0.0008679 | 1.4044 | 120 | 0.340 |  |  |  | 30 | 1.7809 | 0 | 100% | 100% | 100% | 100%
DTXSID7041964__Human__60_1_____5P3_Inj 2020Aug14_EPA_201 | DTXSID7041964 | 293.1 / 265.0 | 1768 | 995500 | 0.001776 | 2.075 | 60 | 0.72994 |  |  | 4 | 30 | 1.8509
DTXSID7041964__Human__60_2_____5P3_Inj 2020Aug14_EPA_202 | DTXSID7041964 | 293.1 / 265.0 | 860.8 | 895100 | 0.0009616 | 1.4199 | 60 | 0.35056 |  |  | 5 | 15 | 3.0019 | Slope | -0.06796
DTXSID7041964__Human__60_3_____5P3_Inj 2020Aug14_EPA_203 | DTXSID7041964 | 293.1 / 265.0 | 6162 | 1949 | 3.162 | 6274.7656 | 60 | 8.744 |  |  |  | 15 | 3.159 | Intercept | 4.3202
DTXSID7041964__Human__30_1_____5P4_Inj 2020Aug14_EPA_204 | DTXSID7041964 | 293.1 / 265.0 | 5414 | 1132000 | 0.004782 | 5.9353 | 30 | 1.7809 |  |  | 7 | 15 | 3.2222 | R2 | 0.95327
DTXSID7041964__Human__30_2_____5P4_Inj 2020Aug14_EPA_205 | DTXSID7041964 | 293.1 / 265.0 | 3590 | 956500 | 0.003753 | 6.3657 | 30 | 1.8509 |  |  | 8 | 0 | 4.6052 | T½ (mins) | 10.1994
DTXSID7041964__Human__30_3_____5P4_Inj 2020Aug14_EPA_206 | DTXSID7041964 | 293.1 / 265.0 | 12590 | 1192000 | 0.01056 | 20.6386 | 30 | 3.027 |  |  |  | 0 | 4.6052 | CLint (µl/min/106 cells) | 135.9196
DTXSID7041964__Human__15_1_____5P5_Inj 2020Aug14_EPA_207 | DTXSID7041964 | 293.1 / 265.0 | 18960 | 1198000 | 0.01583 | 20.123 | 15 | 3.0019 |  |  | 10 | 0 | 4.6052 | Comments | Points Deleted: (120,0.6890) (120,-0.0410) (120,0.3400) (60,8.7440) (30,3.0270)
DTXSID7041964__Human__15_2_____5P5_Inj 2020Aug14_EPA_208 | DTXSID7041964 | 293.1 / 265.0 | 15150 | 1127000 | 0.01345 | 23.5468 | 15 | 3.159 |  |  | 11
DTXSID7041964__Human__15_3_____5P5_Inj 2020Aug14_EPA_209 | DTXSID7041964 | 293.1 / 265.0 | 14450 | 1129000 | 0.0128 | 25.084 | 15 | 3.2222 |  |  | 12
DTXSID7041964__Human__0_1_____5P6_Inj 2020Aug14_EPA_210 | DTXSID7041964 | 293.1 / 265.0 | 121600 | 1558000 | 0.07803 | 100 | 0 | 4.6052 |  |  | 13
DTXSID7041964__Human__0_2_____5P6_Inj 2020Aug14_EPA_211 | DTXSID7041964 | 293.1 / 265.0 | 68700 | 1214000 | 0.0566 | 100 | 0 | 4.6052 |  |  | 14
DTXSID7041964__Human__0_3_____5P6_Inj 2020Aug14_EPA_212 | DTXSID7041964 | 293.1 / 265.0 | 51250 | 1014000 | 0.05055 | 100 | 0 | 4.6052 |  |  | 15
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1782000 | 0 |  |  |  | DTXSID9023889 - Human | 8 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID9023889 | 373.0 / 300.0 | 13.46 | 1767000 | 7.613e-06 |  |  |  | Time (Mins) | 138 |  |  |  | 120 | -0.20% | -0.22% | -0.46%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1796000 | 0 |  |  |  | ln Percent Remaining | 152 |  |  |  | 60 | -0.20% | -0.22% | -0.46%
DTXSID9023889__Human__120_1_____5P2_Inj 2020Aug14_EPA_102 | DTXSID9023889 | 373.0 / 300.0 | 0 | 897800 | 0 | -0.20117 | 120 |  |  |  |  | 0 | 4.6052 | 30 | -0.20% | -0.22% | -0.46%
DTXSID9023889__Human__120_2_____5P2_Inj 2020Aug14_EPA_103 | DTXSID9023889 | 373.0 / 300.0 | 0 | 873200 | 0 | -0.22096 | 120 |  |  |  |  | 0 | 4.6052 | 15 | -0.20% | -0.22% | -0.46%
DTXSID9023889__Human__120_3_____5P2_Inj 2020Aug14_EPA_104 | DTXSID9023889 | 373.0 / 300.0 | 0 | 731000 | 0 | -0.46151 | 120 |  |  |  |  | 0 | 4.6052 | 0 | 100% | 100% | 100% | 100%
DTXSID9023889__Human__60_1_____5P3_Inj 2020Aug14_EPA_105 | DTXSID9023889 | 373.0 / 300.0 | 0 | 879800 | 0 | -0.20117 | 60
DTXSID9023889__Human__60_2_____5P3_Inj 2020Aug14_EPA_106 | DTXSID9023889 | 373.0 / 300.0 | 0 | 837400 | 0 | -0.22096 | 60 | [6 empty] | Slope
DTXSID9023889__Human__60_3_____5P3_Inj 2020Aug14_EPA_107 | DTXSID9023889 | 373.0 / 300.0 | 0 | 808600 | 0 | -0.46151 | 60 | [6 empty] | Intercept
DTXSID9023889__Human__30_1_____5P4_Inj 2020Aug14_EPA_108 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1262000 | 0 | -0.20117 | 30 | [6 empty] | R2
DTXSID9023889__Human__30_2_____5P4_Inj 2020Aug14_EPA_109 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1006000 | 0 | -0.22096 | 30 | [6 empty] | T½ (mins) | >0
DTXSID9023889__Human__30_3_____5P4_Inj 2020Aug14_EPA_110 | DTXSID9023889 | 373.0 / 300.0 | 0 | 986700 | 0 | -0.46151 | 30 | [6 empty] | CLint (µl/min/106 cells) | 0
DTXSID9023889__Human__15_1_____5P5_Inj 2020Aug14_EPA_111 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1108000 | 0 | -0.20117 | 15 | [6 empty] | Comments
DTXSID9023889__Human__15_2_____5P5_Inj 2020Aug14_EPA_112 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1018000 | 0 | -0.22096 | 15
DTXSID9023889__Human__15_3_____5P5_Inj 2020Aug14_EPA_113 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1076000 | 0 | -0.46151 | 15
DTXSID9023889__Human__0_1_____5P6_Inj 2020Aug14_EPA_114 | DTXSID9023889 | 373.0 / 300.0 | 2054 | 1625000 | 0.001264 | 100 | 0 | 4.6052 |  |  | 13
DTXSID9023889__Human__0_2_____5P6_Inj 2020Aug14_EPA_115 | DTXSID9023889 | 373.0 / 300.0 | 1218 | 1058000 | 0.001151 | 100 | 0 | 4.6052 |  |  | 14
DTXSID9023889__Human__0_3_____5P6_Inj 2020Aug14_EPA_116 | DTXSID9023889 | 373.0 / 300.0 | 546.5 | 989400 | 0.0005524 | 100 | 0 | 4.6052 |  |  | 15
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | Midazolam | 326.2 / 291.0 | 174 | 1782000 | 9.761e-05 |  |  |  | Midazolam - Human | 10 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | Midazolam | 326.2 / 291.0 | 234.1 | 1767000 | 0.0001325 |  |  |  | Time (Mins) | 176 |  |  |  | 120 | 10.56% | 8.495% | 8389.71% | 9.528%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | Midazolam | 326.2 / 291.0 | 323.1 | 1796000 | 0.0001799 |  |  |  | ln Percent Remaining | 190 |  |  |  | 60 | 21.13% | 20.11% | 21.79% | 21.01%
Midazolam__Human__120_1_____5P2_Inj 2020Aug14_EPA_006 | Midazolam | 326.2 / 291.0 | 470600 | 957400 | 0.4915 | 10.5605 | 120 | 2.3571 |  |  | 1 | 120 | 2.3571 | 30 | 42.51% | 40.43% | 40.61% | 41.18%
Midazolam__Human__120_2_____5P2_Inj 2020Aug14_EPA_007 | Midazolam | 326.2 / 291.0 | 332500 | 938800 | 0.3542 | 8.4951 | 120 | 2.1395 |  |  | 2 | 120 | 2.1395 | 15 | 76.68% | 93.02% | 87.02% | 85.57%
Midazolam__Human__120_3_____5P2_Inj 2020Aug14_EPA_008 | Midazolam | 326.2 / 291.0 | 373100 | 1077 | 346.4 | 8389.7149 | 120 | 9.035 |  |  |  | 60 | 3.0506 | 0 | 100% | 100% | 100% | 100%
Midazolam__Human__60_1_____5P3_Inj 2020Aug14_EPA_009 | Midazolam | 326.2 / 291.0 | 1029000 | 1047000 | 0.9832 | 21.1281 | 60 | 3.0506 |  |  | 4 | 60 | 3.001
Midazolam__Human__60_2_____5P3_Inj 2020Aug14_EPA_010 | Midazolam | 326.2 / 291.0 | 789200 | 941600 | 0.8381 | 20.1053 | 60 | 3.001 |  |  | 5 | 60 | 3.0817 | Slope | -0.020821
Midazolam__Human__60_3_____5P3_Inj 2020Aug14_EPA_011 | Midazolam | 326.2 / 291.0 | 874900 | 972000 | 0.9 | 21.7945 | 60 | 3.0817 |  |  | 6 | 30 | 3.7497 | Intercept | 4.5352
Midazolam__Human__30_1_____5P4_Inj 2020Aug14_EPA_012 | Midazolam | 326.2 / 291.0 | 2393000 | 1210000 | 1.978 | 42.5085 | 30 | 3.7497 |  |  | 7 | 30 | 3.6995 | R2 | 0.93924
Midazolam__Human__30_2_____5P4_Inj 2020Aug14_EPA_013 | Midazolam | 326.2 / 291.0 | 1811000 | 1074000 | 1.685 | 40.4251 | 30 | 3.6995 |  |  | 8 | 30 | 3.7041 | T½ (mins) | 33.2914
Midazolam__Human__30_3_____5P4_Inj 2020Aug14_EPA_014 | Midazolam | 326.2 / 291.0 | 1668000 | 994700 | 1.677 | 40.6132 | 30 | 3.7041 |  |  | 9 | 15 | 4.3397 | CLint (µl/min/106 cells) | 41.6412
Midazolam__Human__15_1_____5P5_Inj 2020Aug14_EPA_015 | Midazolam | 326.2 / 291.0 | 6621000 | 1856000 | 3.568 | 76.681 | 15 | 4.3397 |  |  | 10 | 15 | 4.5328 | Comments | Points Deleted: (120,9.0350)
Midazolam__Human__15_2_____5P5_Inj 2020Aug14_EPA_016 | Midazolam | 326.2 / 291.0 | 9191000 | 2371000 | 3.877 | 93.018 | 15 | 4.5328 |  |  | 11 | 15 | 4.4661
Midazolam__Human__15_3_____5P5_Inj 2020Aug14_EPA_017 | Midazolam | 326.2 / 291.0 | 8515000 | 2370000 | 3.593 | 87.0182 | 15 | 4.4661 |  |  | 12 | 0 | 4.6052
Midazolam__Human__0_1_____5P6_Inj 2020Aug14_EPA_018 | Midazolam | 326.2 / 291.0 | 5464000 | 1174000 | 4.653 | 100 | 0 | 4.6052 |  |  | 13 | 0 | 4.6052
Midazolam__Human__0_2_____5P6_Inj 2020Aug14_EPA_019 | Midazolam | 326.2 / 291.0 | 4499000 | 1079000 | 4.168 | 100 | 0 | 4.6052 |  |  | 14 | 0 | 4.6052
Midazolam__Human__0_3_____5P6_Inj 2020Aug14_EPA_020 | Midazolam | 326.2 / 291.0 | 4629000 | 1121000 | 4.129 | 100 | 0 | 4.6052 |  |  | 15

## 10uM Data
SampleName | CompoundName | Transition | Area | ISTD Area | ISTDResponseRatio | % Remaining | Time (mins) | ln % Remaining | Chart |  |  |  |  | Table
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID1026241 | 262.9 / 139.0 | 1838 | 1782000 | 0.001031 |  |  |  | DTXSID1026241 - Human | 1 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID1026241 | 262.9 / 139.0 | 649 | 1767000 | 0.0003672 |  |  |  | Time (Mins) | 5 |  |  |  | 120 | 1515% | 2059% | 1190% | 1588%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID1026241 | 262.9 / 139.0 | 1724 | 1796000 | 0.0009601 |  |  |  | ln Percent Remaining | 19 |  |  |  | 60 | 1404% | 1621% | 923.2% | 1316%
DTXSID1026241__Human__120_1_____5P2_Inj 2020Aug14_EPA_406 | DTXSID1026241 | 262.9 / 139.0 | 37540 | 1310000 | 0.02866 | 1514.9682 | 120 | 7.3231 |  |  | 1 | 120 | 7.3231 | 30 | 1120% | 1278% | 754.3% | 1051%
DTXSID1026241__Human__120_2_____5P2_Inj 2020Aug14_EPA_407 | DTXSID1026241 | 262.9 / 139.0 | 55300 | 1277000 | 0.04329 | 2059.3973 | 120 | 7.6302 |  |  | 2 | 120 | 7.6302 | 15 | 847.5% | 933.4% | 638.4% | 806.4%
DTXSID1026241__Human__120_3_____5P2_Inj 2020Aug14_EPA_408 | DTXSID1026241 | 262.9 / 139.0 | 57900 | 1535000 | 0.03772 | 1189.9191 | 120 | 7.0816 |  |  | 3 | 120 | 7.0816 | 0 | 100% | 100% | 100% | 100%
DTXSID1026241__Human__60_1_____5P3_Inj 2020Aug14_EPA_409 | DTXSID1026241 | 262.9 / 139.0 | 29690 | 1116000 | 0.02661 | 1403.5491 | 60 | 7.2468 |  |  | 4 | 60 | 7.2468
DTXSID1026241__Human__60_2_____5P3_Inj 2020Aug14_EPA_410 | DTXSID1026241 | 262.9 / 139.0 | 41260 | 1205000 | 0.03424 | 1620.907 | 60 | 7.3907 |  |  | 5 | 60 | 7.3907 | Slope | 0.016285
DTXSID1026241__Human__60_3_____5P3_Inj 2020Aug14_EPA_411 | DTXSID1026241 | 262.9 / 139.0 | 35800 | 1216000 | 0.02944 | 923.158 | 60 | 6.8278 |  |  | 6 | 60 | 6.8278 | Intercept | 5.8109
DTXSID1026241__Human__30_1_____5P4_Inj 2020Aug14_EPA_412 | DTXSID1026241 | 262.9 / 139.0 | 25410 | 1187000 | 0.0214 | 1120.3815 | 30 | 7.0214 |  |  | 7 | 30 | 7.0214 | R2 | 0.46545
DTXSID1026241__Human__30_2_____5P4_Inj 2020Aug14_EPA_413 | DTXSID1026241 | 262.9 / 139.0 | 34150 | 1257000 | 0.02717 | 1278.3517 | 30 | 7.1533 |  |  | 8 | 30 | 7.1533 | T½ (mins) | >480
DTXSID1026241__Human__30_3_____5P4_Inj 2020Aug14_EPA_414 | DTXSID1026241 | 262.9 / 139.0 | 28510 | 1179000 | 0.0242 | 754.3381 | 30 | 6.6258 |  |  | 9 | 30 | 6.6258 | CLint (µl/min/106 cells) | 0
DTXSID1026241__Human__15_1_____5P5_Inj 2020Aug14_EPA_415 | DTXSID1026241 | 262.9 / 139.0 | 20650 | 1261000 | 0.01638 | 847.5406 | 15 | 6.7423 |  |  | 10 | 15 | 6.7423 | Comments
DTXSID1026241__Human__15_2_____5P5_Inj 2020Aug14_EPA_416 | DTXSID1026241 | 262.9 / 139.0 | 25690 | 1281000 | 0.02005 | 933.3737 | 15 | 6.8388 |  |  | 11 | 15 | 6.8388
DTXSID1026241__Human__15_3_____5P5_Inj 2020Aug14_EPA_417 | DTXSID1026241 | 262.9 / 139.0 | 43550 | 2115000 | 0.0206 | 638.355 | 15 | 6.4589 |  |  | 12 | 15 | 6.4589
DTXSID1026241__Human__0_1_____5P6_Inj 2020Aug14_EPA_418 | DTXSID1026241 | 262.9 / 139.0 | 3319 | 1264000 | 0.002626 | 100 | 0 | 4.6052 |  |  | 13 | 0 | 4.6052
DTXSID1026241__Human__0_2_____5P6_Inj 2020Aug14_EPA_419 | DTXSID1026241 | 262.9 / 139.0 | 3654 | 1282000 | 0.00285 | 100 | 0 | 4.6052 |  |  | 14 | 0 | 4.6052
DTXSID1026241__Human__0_3_____5P6_Inj 2020Aug14_EPA_420 | DTXSID1026241 | 262.9 / 139.0 | 4678 | 1203000 | 0.00389 | 100 | 0 | 4.6052 |  |  | 15 | 0 | 4.6052
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID2026232 | 195.0 / 125.1 | 43.34 | 1782000 | 2.432e-05 |  |  |  | DTXSID2026232 - Human | 3 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID2026232 | 195.0 / 125.1 | 67.65 | 1767000 | 3.828e-05 |  |  |  | Time (Mins) | 43 |  |  |  | 120 | 4025% | 4394% | 3831% | 4083%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID2026232 | 195.0 / 125.1 | 313 | 1796000 | 0.0001743 |  |  |  | ln Percent Remaining | 57 |  |  |  | 60 | 2656% | 4183% | 3383% | 3408%
DTXSID2026232__Human__120_1_____5P2_Inj 2020Aug14_EPA_342 | DTXSID2026232 | 195.0 / 125.1 | 70010 | 1226000 | 0.05712 | 4025.384 | 120 | 8.3004 |  |  | 1 | 120 | 8.3004 | 30 | 2556% | 2820% | 2236% | 2538%
DTXSID2026232__Human__120_2_____5P2_Inj 2020Aug14_EPA_343 | DTXSID2026232 | 195.0 / 125.1 | 59650 | 1268000 | 0.04705 | 4393.7857 | 120 | 8.3879 |  |  | 2 | 120 | 8.3879 | 15 | 969% | 1329% | 1065% | 1121%
DTXSID2026232__Human__120_3_____5P2_Inj 2020Aug14_EPA_344 | DTXSID2026232 | 195.0 / 125.1 | 63500 | 1385000 | 0.04586 | 3830.942 | 120 | 8.2509 |  |  | 3 | 120 | 8.2509 | 0 | 100% | 100% | 100% | 100%
DTXSID2026232__Human__60_1_____5P3_Inj 2020Aug14_EPA_345 | DTXSID2026232 | 195.0 / 125.1 | 46130 | 1223000 | 0.03772 | 2656.3266 | 60 | 7.8847 |  |  | 4 | 60 | 7.8847
DTXSID2026232__Human__60_2_____5P3_Inj 2020Aug14_EPA_346 | DTXSID2026232 | 195.0 / 125.1 | 47330 | 1056000 | 0.0448 | 4183.3151 | 60 | 8.3389 |  |  | 5 | 60 | 8.3389 | Slope | 0.023343
DTXSID2026232__Human__60_3_____5P3_Inj 2020Aug14_EPA_347 | DTXSID2026232 | 195.0 / 125.1 | 61950 | 1529000 | 0.04051 | 3383.2557 | 60 | 8.1266 |  |  | 6 | 60 | 8.1266 | Intercept | 6.1261
DTXSID2026232__Human__30_1_____5P4_Inj 2020Aug14_EPA_348 | DTXSID2026232 | 195.0 / 125.1 | 39340 | 1084000 | 0.0363 | 2556.1172 | 30 | 7.8462 |  |  | 7 | 30 | 7.8462 | R2 | 0.52666
DTXSID2026232__Human__30_2_____5P4_Inj 2020Aug14_EPA_349 | DTXSID2026232 | 195.0 / 125.1 | 35840 | 1186000 | 0.03023 | 2820.4016 | 30 | 7.9446 |  |  | 8 | 30 | 7.9446 | T½ (mins) | >480
DTXSID2026232__Human__30_3_____5P4_Inj 2020Aug14_EPA_350 | DTXSID2026232 | 195.0 / 125.1 | 39280 | 1466000 | 0.0268 | 2236.0074 | 30 | 7.7124 |  |  | 9 | 30 | 7.7124 | CLint (µl/min/106 cells) | 0
DTXSID2026232__Human__15_1_____5P5_Inj 2020Aug14_EPA_351 | DTXSID2026232 | 195.0 / 125.1 | 17400 | 1260000 | 0.01381 | 968.9986 | 15 | 6.8763 |  |  | 10 | 15 | 6.8763 | Comments
DTXSID2026232__Human__15_2_____5P5_Inj 2020Aug14_EPA_352 | DTXSID2026232 | 195.0 / 125.1 | 18690 | 1308000 | 0.01429 | 1329.3349 | 15 | 7.1924 |  |  | 11 | 15 | 7.1924
DTXSID2026232__Human__15_3_____5P5_Inj 2020Aug14_EPA_353 | DTXSID2026232 | 195.0 / 125.1 | 25340 | 1978000 | 0.01281 | 1065.3287 | 15 | 6.971 |  |  | 12 | 15 | 6.971
DTXSID2026232__Human__0_1_____5P6_Inj 2020Aug14_EPA_354 | DTXSID2026232 | 195.0 / 125.1 | 1867 | 1248000 | 0.001496 | 100 | 0 | 4.6052 |  |  | 13 | 0 | 4.6052
DTXSID2026232__Human__0_2_____5P6_Inj 2020Aug14_EPA_355 | DTXSID2026232 | 195.0 / 125.1 | 1492 | 1300000 | 0.001148 | 100 | 0 | 4.6052 |  |  | 14 | 0 | 4.6052
DTXSID2026232__Human__0_3_____5P6_Inj 2020Aug14_EPA_356 | DTXSID2026232 | 195.0 / 125.1 | 1620 | 1272000 | 0.001274 | 100 | 0 | 4.6052 |  |  | 15 | 0 | 4.6052
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID3020625 | 373.2 / 317.2 | 69.91 | 1782000 | 3.923e-05 |  |  |  | DTXSID3020625 - Human | 5 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID3020625 | 373.2 / 317.2 | 24.02 | 1767000 | 1.359e-05 |  |  |  | Time (Mins) | 81 |  |  |  | 120 | 80.26% | 79.58% | 77.57% | 79.14%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID3020625 | 373.2 / 317.2 | 227.8 | 1796000 | 0.0001268 |  |  |  | ln Percent Remaining | 95 |  |  |  | 60 | 89.05% | 73.17% | 84.23% | 82.15%
DTXSID3020625__Human__120_1_____5P2_Inj 2020Aug14_EPA_246 | DTXSID3020625 | 373.2 / 317.2 | 25270000 | 1312000 | 19.27 | 80.2582 | 120 | 4.3852 |  |  | 1 | 120 | 4.3852 | 30 | 107.7% | 96.34% | 89.33% | 97.78%
DTXSID3020625__Human__120_2_____5P2_Inj 2020Aug14_EPA_247 | DTXSID3020625 | 373.2 / 317.2 | 27380000 | 1299000 | 21.09 | 79.5849 | 120 | 4.3768 |  |  | 2 | 120 | 4.3768 | 15 | 105.9% | 97.21% | 89.46% | 97.51%
DTXSID3020625__Human__120_3_____5P2_Inj 2020Aug14_EPA_248 | DTXSID3020625 | 373.2 / 317.2 | 24300000 | 1270000 | 19.13 | 77.575 | 120 | 4.3512 |  |  | 3 | 120 | 4.3512 | 0 | 100% | 100% | 100% | 100%
DTXSID3020625__Human__60_1_____5P3_Inj 2020Aug14_EPA_249 | DTXSID3020625 | 373.2 / 317.2 | 30960000 | 1448000 | 21.38 | 89.0462 | 60 | 4.4892 |  |  | 4 | 60 | 4.4892
DTXSID3020625__Human__60_2_____5P3_Inj 2020Aug14_EPA_250 | DTXSID3020625 | 373.2 / 317.2 | 22290000 | 1150000 | 19.39 | 73.1698 | 60 | 4.2928 |  |  | 5 | 60 | 4.2928 | Slope | -0.0021497
DTXSID3020625__Human__60_3_____5P3_Inj 2020Aug14_EPA_251 | DTXSID3020625 | 373.2 / 317.2 | 32460000 | 1563000 | 20.77 | 84.2254 | 60 | 4.4335 |  |  | 6 | 60 | 4.4335 | Intercept | 4.6045
DTXSID3020625__Human__30_1_____5P4_Inj 2020Aug14_EPA_252 | DTXSID3020625 | 373.2 / 317.2 | 57400000 | 2220000 | 25.85 | 107.6635 | 30 | 4.679 |  |  | 7 | 30 | 4.679 | R2 | 0.62636
DTXSID3020625__Human__30_2_____5P4_Inj 2020Aug14_EPA_253 | DTXSID3020625 | 373.2 / 317.2 | 55540000 | 2175000 | 25.53 | 96.3396 | 30 | 4.5679 |  |  | 8 | 30 | 4.5679 | T½ (mins) | 322.4382
DTXSID3020625__Human__30_3_____5P4_Inj 2020Aug14_EPA_254 | DTXSID3020625 | 373.2 / 317.2 | 39960000 | 1814000 | 22.03 | 89.3349 | 30 | 4.4924 |  |  | 9 | 30 | 4.4924 | CLint (µl/min/106 cells) | 4.2994
DTXSID3020625__Human__15_1_____5P5_Inj 2020Aug14_EPA_255 | DTXSID3020625 | 373.2 / 317.2 | 42230000 | 1661000 | 25.42 | 105.8726 | 15 | 4.6622 |  |  | 10 | 15 | 4.6622 | Comments
DTXSID3020625__Human__15_2_____5P5_Inj 2020Aug14_EPA_256 | DTXSID3020625 | 373.2 / 317.2 | 49500000 | 1922000 | 25.76 | 97.2075 | 15 | 4.5768 |  |  | 11 | 15 | 4.5768
DTXSID3020625__Human__15_3_____5P5_Inj 2020Aug14_EPA_257 | DTXSID3020625 | 373.2 / 317.2 | 31830000 | 1443000 | 22.06 | 89.4566 | 15 | 4.4938 |  |  | 12 | 15 | 4.4938
DTXSID3020625__Human__0_1_____5P6_Inj 2020Aug14_EPA_258 | DTXSID3020625 | 373.2 / 317.2 | 41950000 | 1747000 | 24.01 | 100 | 0 | 4.6052 |  |  | 13 | 0 | 4.6052
DTXSID3020625__Human__0_2_____5P6_Inj 2020Aug14_EPA_259 | DTXSID3020625 | 373.2 / 317.2 | 51940000 | 1960000 | 26.5 | 100 | 0 | 4.6052 |  |  | 14 | 0 | 4.6052
DTXSID3020625__Human__0_3_____5P6_Inj 2020Aug14_EPA_260 | DTXSID3020625 | 373.2 / 317.2 | 44110000 | 1789000 | 24.66 | 100 | 0 | 4.6052 |  |  | 15 | 0 | 4.6052
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID3025881 | 109.1 / 91.9 | 2339 | 1782000 | 0.001312 |  |  |  | DTXSID3025881 - Human | 6 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID3025881 | 109.1 / 91.9 | 996.7 | 1767000 | 0.0005639 |  |  |  | Time (Mins) | 100 |  |  |  | 120 | 128.4% | 112.7% | 95.83% | 112.3%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID3025881 | 109.1 / 91.9 | 2976 | 1796000 | 0.001657 |  |  |  | ln Percent Remaining | 114 |  |  |  | 60 | 101.3% | 90.92% | 99.36% | 97.2%
DTXSID3025881__Human__120_1_____5P2_Inj 2020Aug14_EPA_470 | DTXSID3025881 | 109.1 / 91.9 | 470700 | 1285000 | 0.3664 | 128.4085 | 120 | 4.8552 |  |  | 1 | 120 | 4.8552 | 30 | 110.9% | 101.8% | 77.87% | 96.85%
DTXSID3025881__Human__120_2_____5P2_Inj 2020Aug14_EPA_471 | DTXSID3025881 | 109.1 / 91.9 | 446700 | 1353000 | 0.3301 | 112.6746 | 120 | 4.7245 |  |  | 2 | 120 | 4.7245 | 15 | 103.1% | 96.2% | 93.55% | 97.6%
DTXSID3025881__Human__120_3_____5P2_Inj 2020Aug14_EPA_472 | DTXSID3025881 | 109.1 / 91.9 | 499100 | 1650000 | 0.3026 | 95.835 | 120 | 4.5626 |  |  | 3 | 120 | 4.5626 | 0 | 100% | 100% | 100% | 100%
DTXSID3025881__Human__60_1_____5P3_Inj 2020Aug14_EPA_473 | DTXSID3025881 | 109.1 / 91.9 | 320400 | 1108000 | 0.2893 | 101.3009 | 60 | 4.6181 |  |  | 4 | 60 | 4.6181
DTXSID3025881__Human__60_2_____5P3_Inj 2020Aug14_EPA_474 | DTXSID3025881 | 109.1 / 91.9 | 331800 | 1245000 | 0.2666 | 90.9222 | 60 | 4.51 |  |  | 5 | 60 | 4.51 | Slope | 0.001014
DTXSID3025881__Human__60_3_____5P3_Inj 2020Aug14_EPA_475 | DTXSID3025881 | 109.1 / 91.9 | 535400 | 1707000 | 0.3137 | 99.3641 | 60 | 4.5988 |  |  | 6 | 60 | 4.5988 | Intercept | 4.5618
DTXSID3025881__Human__30_1_____5P4_Inj 2020Aug14_EPA_476 | DTXSID3025881 | 109.1 / 91.9 | 383300 | 1211000 | 0.3165 | 110.8641 | 30 | 4.7083 |  |  | 7 | 30 | 4.7083 | R2 | 0.16512
DTXSID3025881__Human__30_2_____5P4_Inj 2020Aug14_EPA_477 | DTXSID3025881 | 109.1 / 91.9 | 342800 | 1149000 | 0.2984 | 101.8156 | 30 | 4.6232 |  |  | 8 | 30 | 4.6232 | T½ (mins) | >480
DTXSID3025881__Human__30_3_____5P4_Inj 2020Aug14_EPA_478 | DTXSID3025881 | 109.1 / 91.9 | 382300 | 1553000 | 0.2461 | 77.8712 | 30 | 4.3551 |  |  | 9 | 30 | 4.3551 | CLint (µl/min/106 cells) | 0
DTXSID3025881__Human__15_1_____5P5_Inj 2020Aug14_EPA_479 | DTXSID3025881 | 109.1 / 91.9 | 406200 | 1381000 | 0.2943 | 103.0588 | 15 | 4.6353 |  |  | 10 | 15 | 4.6353 | Comments
DTXSID3025881__Human__15_2_____5P5_Inj 2020Aug14_EPA_480 | DTXSID3025881 | 109.1 / 91.9 | 386100 | 1369000 | 0.282 | 96.1976 | 15 | 4.5664 |  |  | 11 | 15 | 4.5664
DTXSID3025881__Human__15_3_____5P5_Inj 2020Aug14_EPA_481 | DTXSID3025881 | 109.1 / 91.9 | 421000 | 1425000 | 0.2954 | 93.5458 | 15 | 4.5385 |  |  | 12 | 15 | 4.5385
DTXSID3025881__Human__0_1_____5P6_Inj 2020Aug14_EPA_482 | DTXSID3025881 | 109.1 / 91.9 | 378300 | 1325000 | 0.2856 | 100 | 0 | 4.6052 |  |  | 13 | 0 | 4.6052
DTXSID3025881__Human__0_2_____5P6_Inj 2020Aug14_EPA_483 | DTXSID3025881 | 109.1 / 91.9 | 376200 | 1283000 | 0.2931 | 100 | 0 | 4.6052 |  |  | 14 | 0 | 4.6052
DTXSID3025881__Human__0_3_____5P6_Inj 2020Aug14_EPA_484 | DTXSID3025881 | 109.1 / 91.9 | 465300 | 1474000 | 0.3157 | 100 | 0 | 4.6052 |  |  | 15 | 0 | 4.6052
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID7041964 | 293.1 / 265.0 | 362.9 | 1782000 | 0.0002036 |  |  |  | DTXSID7041964 - Human | 7 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID7041964 | 293.1 / 265.0 | 327.1 | 1767000 | 0.000185 |  |  |  | Time (Mins) | 119 |  |  |  | 120 | 3.49% | 3.55% | 2.66%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID7041964 | 293.1 / 265.0 | 393.3 | 1796000 | 0.000219 |  |  |  | ln Percent Remaining | 133 |  |  |  | 60 | 5.006% | 5.857% | 4.582% | 5.148%
DTXSID7041964__Human__120_1_____5P2_Inj 2020Aug14_EPA_214 | DTXSID7041964 | 293.1 / 265.0 | 18380 | 1032000 | 0.01782 | 3.4893 | 120 | 1.250 |  |  |  | 60 | 1.6107 | 30 | 11.87% | 14.98% | 12.39% | 13.08%
DTXSID7041964__Human__120_2_____5P2_Inj 2020Aug14_EPA_215 | DTXSID7041964 | 293.1 / 265.0 | 15140 | 1026000 | 0.01476 | 3.5498 | 120 | 1.267 |  |  |  | 60 | 1.7676 | 15 | 29.63% | 38.5% | 28.19% | 32.11%
DTXSID7041964__Human__120_3_____5P2_Inj 2020Aug14_EPA_216 | DTXSID7041964 | 293.1 / 265.0 | 14390 | 1052000 | 0.01368 | 2.6588 | 120 | 0.978 |  |  |  | 60 | 1.5222 | 0 | 100% | 100% | 100% | 100%
DTXSID7041964__Human__60_1_____5P3_Inj 2020Aug14_EPA_217 | DTXSID7041964 | 293.1 / 265.0 | 24060 | 944200 | 0.02548 | 5.0065 | 60 | 1.6107 |  |  | 4 | 30 | 2.4743
DTXSID7041964__Human__60_2_____5P3_Inj 2020Aug14_EPA_218 | DTXSID7041964 | 293.1 / 265.0 | 21270 | 878300 | 0.02422 | 5.8565 | 60 | 1.7676 |  |  | 5 | 30 | 2.707 | Slope | -0.04828
DTXSID7041964__Human__60_3_____5P3_Inj 2020Aug14_EPA_219 | DTXSID7041964 | 293.1 / 265.0 | 22300 | 951600 | 0.02343 | 4.5823 | 60 | 1.5222 |  |  | 6 | 30 | 2.5171 | Intercept | 4.3334
DTXSID7041964__Human__30_1_____5P4_Inj 2020Aug14_EPA_220 | DTXSID7041964 | 293.1 / 265.0 | 63010 | 1048000 | 0.06015 | 11.8732 | 30 | 2.4743 |  |  | 7 | 15 | 3.3888 | R2 | 0.94328
DTXSID7041964__Human__30_2_____5P4_Inj 2020Aug14_EPA_221 | DTXSID7041964 | 293.1 / 265.0 | 65260 | 1059000 | 0.06165 | 14.9836 | 30 | 2.707 |  |  | 8 | 15 | 3.6507 | T½ (mins) | 14.3568
DTXSID7041964__Human__30_3_____5P4_Inj 2020Aug14_EPA_222 | DTXSID7041964 | 293.1 / 265.0 | 64630 | 1026000 | 0.06302 | 12.3925 | 30 | 2.5171 |  |  | 9 | 15 | 3.339 | CLint (µl/min/106 cells) | 96.5604
DTXSID7041964__Human__15_1_____5P5_Inj 2020Aug14_EPA_223 | DTXSID7041964 | 293.1 / 265.0 | 149000 | 994600 | 0.1498 | 29.6293 | 15 | 3.3888 |  |  | 10 | 0 | 4.6052 | Comments | Points Deleted: (120,1.2500) (120,1.2670) (120,0.9780)
DTXSID7041964__Human__15_2_____5P5_Inj 2020Aug14_EPA_224 | DTXSID7041964 | 293.1 / 265.0 | 188200 | 1190000 | 0.1581 | 38.5024 | 15 | 3.6507 |  |  | 11 | 0 | 4.6052
DTXSID7041964__Human__15_3_____5P5_Inj 2020Aug14_EPA_225 | DTXSID7041964 | 293.1 / 265.0 | 158200 | 1106000 | 0.1431 | 28.1906 | 15 | 3.339 |  |  | 12 | 0 | 4.6052
DTXSID7041964__Human__0_1_____5P6_Inj 2020Aug14_EPA_226 | DTXSID7041964 | 293.1 / 265.0 | 536800 | 1063000 | 0.5051 | 100 | 0 | 4.6052 |  |  | 13
DTXSID7041964__Human__0_2_____5P6_Inj 2020Aug14_EPA_227 | DTXSID7041964 | 293.1 / 265.0 | 403200 | 982700 | 0.4103 | 100 | 0 | 4.6052 |  |  | 14
DTXSID7041964__Human__0_3_____5P6_Inj 2020Aug14_EPA_228 | DTXSID7041964 | 293.1 / 265.0 | 559100 | 1103000 | 0.5071 | 100 | 0 | 4.6052 |  |  | 15
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID9023889 | 373.0 / 300.0 | 71.54 | 1782000 | 4.014e-05 |  |  |  | DTXSID9023889 - Human | 8 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID9023889 | 373.0 / 300.0 | 124.3 | 1767000 | 7.031e-05 |  |  |  | Time (Mins) | 138 |  |  |  | 120 | -0.29% | -0.20% | -0.10%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID9023889 | 373.0 / 300.0 | 24.37 | 1796000 | 1.357e-05 |  |  |  | ln Percent Remaining | 152 |  |  |  | 60 | -0.29% | -0.20% | -0.10%
DTXSID9023889__Human__120_1_____5P2_Inj 2020Aug14_EPA_118 | DTXSID9023889 | 373.0 / 300.0 | 0 | 864000 | 0 | -0.28651 | 120 |  |  |  |  | 0 | 4.6052 | 30 | -0.29% | -0.20% | -0.10%
DTXSID9023889__Human__120_2_____5P2_Inj 2020Aug14_EPA_119 | DTXSID9023889 | 373.0 / 300.0 | 0 | 841200 | 0 | -0.19501 | 120 |  |  |  |  | 0 | 4.6052 | 15 | -0.29% | -0.20% | -0.10%
DTXSID9023889__Human__120_3_____5P2_Inj 2020Aug14_EPA_120 | DTXSID9023889 | 373.0 / 300.0 | 0 | 896700 | 0 | -0.10032 | 120 |  |  |  |  | 0 | 4.6052 | 0 | 100% | 100% | 100% | 100%
DTXSID9023889__Human__60_1_____5P3_Inj 2020Aug14_EPA_121 | DTXSID9023889 | 373.0 / 300.0 | 0 | 796300 | 0 | -0.28651 | 60
DTXSID9023889__Human__60_2_____5P3_Inj 2020Aug14_EPA_122 | DTXSID9023889 | 373.0 / 300.0 | 0 | 841700 | 0 | -0.19501 | 60 | [6 empty] | Slope
DTXSID9023889__Human__60_3_____5P3_Inj 2020Aug14_EPA_123 | DTXSID9023889 | 373.0 / 300.0 | 0 | 872600 | 0 | -0.10032 | 60 | [6 empty] | Intercept
DTXSID9023889__Human__30_1_____5P4_Inj 2020Aug14_EPA_124 | DTXSID9023889 | 373.0 / 300.0 | 0 | 944600 | 0 | -0.28651 | 30 | [6 empty] | R2
DTXSID9023889__Human__30_2_____5P4_Inj 2020Aug14_EPA_125 | DTXSID9023889 | 373.0 / 300.0 | 0 | 990800 | 0 | -0.19501 | 30 | [6 empty] | T½ (mins) | >0
DTXSID9023889__Human__30_3_____5P4_Inj 2020Aug14_EPA_126 | DTXSID9023889 | 373.0 / 300.0 | 0 | 895400 | 0 | -0.10032 | 30 | [6 empty] | CLint (µl/min/106 cells) | 0
DTXSID9023889__Human__15_1_____5P5_Inj 2020Aug14_EPA_127 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1031000 | 0 | -0.28651 | 15 | [6 empty] | Comments
DTXSID9023889__Human__15_2_____5P5_Inj 2020Aug14_EPA_128 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1107000 | 0 | -0.19501 | 15
DTXSID9023889__Human__15_3_____5P5_Inj 2020Aug14_EPA_129 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1062000 | 0 | -0.10032 | 15
DTXSID9023889__Human__0_1_____5P6_Inj 2020Aug14_EPA_130 | DTXSID9023889 | 373.0 / 300.0 | 15260 | 1055000 | 0.01447 | 100 | 0 | 4.6052 |  |  | 13
DTXSID9023889__Human__0_2_____5P6_Inj 2020Aug14_EPA_131 | DTXSID9023889 | 373.0 / 300.0 | 25210 | 1187000 | 0.02124 | 100 | 0 | 4.6052 |  |  | 14
DTXSID9023889__Human__0_3_____5P6_Inj 2020Aug14_EPA_132 | DTXSID9023889 | 373.0 / 300.0 | 43500 | 1055000 | 0.04125 | 100 | 0 | 4.6052 |  |  | 15

## 1uM Data - Inactive
SampleName | CompoundName | Transition | Area | ISTD Area | ISTDResponseRatio | % Remaining | Time (mins) | ln % Remaining | Chart |  |  |  |  | Table
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID3020625 | 373.2 / 317.2 | 237.8 | 1782000 | 0.0001334 |  |  |  | DTXSID3020625 - Human | 5 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID3020625 | 373.2 / 317.2 | 133.5 | 1767000 | 7.553e-05 |  |  |  | Time (Mins) | 85 |  |  |  | 120 | 85.34% | 75.8% | 76.31% | 79.15%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID3020625 | 373.2 / 317.2 | 227.8 | 1796000 | 0.0001268 |  |  |  | ln Percent Remaining | 90 |  |  |  | 0 | 100% | 100% | 100% | 100%
DTXSID3020625__Human__120_1_____XP1_Inj 104 | DTXSID3020625 | 373.2 / 317.2 | 3909000 | 1850000 | 2.113 | 85.3386 | 120 | 4.4466 |  |  | 1 | 120 | 4.4466
DTXSID3020625__Human__120_2_____XP1_Inj 105 | DTXSID3020625 | 373.2 / 317.2 | 3353000 | 1833000 | 1.829 | 75.7966 | 120 | 4.3281 |  |  | 2 | 120 | 4.3281 | Slope | -0.0019613
DTXSID3020625__Human__120_3_____XP1_Inj 106 | DTXSID3020625 | 373.2 / 317.2 | 3101000 | 1880000 | 1.649 | 76.306 | 120 | 4.3348 |  |  | 3 | 120 | 4.3348 | Intercept | 4.6052
DTXSID3020625__Human__0_1_____5P6_Inj 2020Aug14_EPA_242 | DTXSID3020625 | 373.2 / 317.2 | 3434000 | 1387000 | 2.476 | 100 | 0 | 4.6052 |  |  | 4 | 0 | 4.6052 | R2 | 0.90351
DTXSID3020625__Human__0_2_____5P6_Inj 2020Aug14_EPA_243 | DTXSID3020625 | 373.2 / 317.2 | 3021000 | 1252000 | 2.413 | 100 | 0 | 4.6052 |  |  | 5 | 0 | 4.6052 | T½ (mins) | 353.4072
DTXSID3020625__Human__0_3_____5P6_Inj 2020Aug14_EPA_244 | DTXSID3020625 | 373.2 / 317.2 | 2636000 | 1220000 | 2.161 | 100 | 0 | 4.6052 |  |  | 6 | 0 | 4.6052 | CLint (µl/min/106 cells) | 3.9227
Comments
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID3025881 | 109.1 / 91.9 | 2339 | 1782000 | 0.001312 |  |  |  | DTXSID3025881 - Human | 6 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID3025881 | 109.1 / 91.9 | 996.7 | 1767000 | 0.0005639 |  |  |  | Time (Mins) | 105 |  |  |  | 120 | 76.47% | 74.7% | 75.49% | 75.55%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID3025881 | 109.1 / 91.9 | 2976 | 1796000 | 0.001657 |  |  |  | ln Percent Remaining | 110 |  |  |  | 0 | 100% | 100% | 100% | 100%
DTXSID3025881__Human__120_1_____XP1_Inj 202 | DTXSID3025881 | 109.1 / 91.9 | 39980 | 1925000 | 0.02077 | 76.4659 | 120 | 4.3368 |  |  | 1 | 120 | 4.3368
DTXSID3025881__Human__120_2_____XP1_Inj 203 | DTXSID3025881 | 109.1 / 91.9 | 37600 | 1830000 | 0.02055 | 74.7034 | 120 | 4.3135 |  |  | 2 | 120 | 4.3135 | Slope | -0.0023365
DTXSID3025881__Human__120_3_____XP1_Inj 204 | DTXSID3025881 | 109.1 / 91.9 | 38820 | 1793000 | 0.02166 | 75.4905 | 120 | 4.324 |  |  | 3 | 120 | 4.324 | Intercept | 4.6052
DTXSID3025881__Human__0_1_____5P6_Inj 2020Aug14_EPA_466 | DTXSID3025881 | 109.1 / 91.9 | 36130 | 1348000 | 0.0268 | 100 | 0 | 4.6052 |  |  | 4 | 0 | 4.6052 | R2 | 0.99769
DTXSID3025881__Human__0_2_____5P6_Inj 2020Aug14_EPA_467 | DTXSID3025881 | 109.1 / 91.9 | 34940 | 1289000 | 0.02711 | 100 | 0 | 4.6052 |  |  | 5 | 0 | 4.6052 | T½ (mins) | 296.663
DTXSID3025881__Human__0_3_____5P6_Inj 2020Aug14_EPA_468 | DTXSID3025881 | 109.1 / 91.9 | 38020 | 1343000 | 0.02831 | 100 | 0 | 4.6052 |  |  | 6 | 0 | 4.6052 | CLint (µl/min/106 cells) | 4.673
Comments
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID7041964 | 293.1 / 265.0 | 362.9 | 1782000 | 0.0002036 |  |  |  | DTXSID7041964 - Human | 7 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID7041964 | 293.1 / 265.0 | 327.1 | 1767000 | 0.000185 |  |  |  | Time (Mins) | 125 |  |  |  | 120 | 32.21% | 39.29% | 41.71% | 37.73%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID7041964 | 293.1 / 265.0 | 393.3 | 1796000 | 0.000219 |  |  |  | ln Percent Remaining | 130 |  |  |  | 0 | 100% | 100% | 100% | 100%
DTXSID7041964__Human__120_1_____XP1_Inj 090 | DTXSID7041964 | 293.1 / 265.0 | 47730 | 1876000 | 0.02544 | 32.2081 | 120 | 3.4722 |  |  | 1 | 120 | 3.4722
DTXSID7041964__Human__120_2_____XP1_Inj 091 | DTXSID7041964 | 293.1 / 265.0 | 43380 | 1924000 | 0.02255 | 39.2905 | 120 | 3.671 |  |  | 2 | 120 | 3.671 | Slope | -0.0081713
DTXSID7041964__Human__120_3_____XP1_Inj 092 | DTXSID7041964 | 293.1 / 265.0 | 40190 | 1896000 | 0.0212 | 41.7051 | 120 | 3.7306 |  |  | 3 | 120 | 3.7306 | Intercept | 4.6052
DTXSID7041964__Human__0_1_____5P6_Inj 2020Aug14_EPA_210 | DTXSID7041964 | 293.1 / 265.0 | 122400 | 1558000 | 0.07856 | 100 | 0 | 4.6052 |  |  | 4 | 0 | 4.6052 | R2 | 0.97524
DTXSID7041964__Human__0_2_____5P6_Inj 2020Aug14_EPA_211 | DTXSID7041964 | 293.1 / 265.0 | 69280 | 1214000 | 0.05708 | 100 | 0 | 4.6052 |  |  | 5 | 0 | 4.6052 | T½ (mins) | 84.8266
DTXSID7041964__Human__0_3_____5P6_Inj 2020Aug14_EPA_212 | DTXSID7041964 | 293.1 / 265.0 | 51250 | 1014000 | 0.05055 | 100 | 0 | 4.6052 |  |  | 6 | 0 | 4.6052 | CLint (µl/min/106 cells) | 16.3427
Comments
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | DTXSID9023889 | 373.0 / 300.0 | 0 | 1782000 | 0 |  |  |  | DTXSID9023889 - Human | 8 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | DTXSID9023889 | 373.0 / 300.0 | 124.3 | 1767000 | 7.031e-05 |  |  |  | Time (Mins) | 145 |  |  |  | 120 | 149.4% | 72.28% | 183.7% | 135.1%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | DTXSID9023889 | 373.0 / 300.0 | 24.37 | 1796000 | 1.357e-05 |  |  |  | ln Percent Remaining | 150 |  |  |  | 0 | 100% | 100% | 100% | 100%
DTXSID9023889__Human__120_1_____XP1_Inj 048 | DTXSID9023889 | 373.0 / 300.0 | 3676 | 1960000 | 0.001875 | 149.4321 | 120 | 5.0068 |  |  | 1 | 120 | 5.0068
DTXSID9023889__Human__120_2_____XP1_Inj 049 | DTXSID9023889 | 373.0 / 300.0 | 1585 | 1887000 | 0.0008397 | 72.2806 | 120 | 4.2806 |  |  | 2 | 120 | 4.2806 | Slope | 0.0019033
DTXSID9023889__Human__120_3_____XP1_Inj 050 | DTXSID9023889 | 373.0 / 300.0 | 2336 | 1817000 | 0.001286 | 183.6984 | 120 | 5.2133 |  |  | 3 | 120 | 5.2133 | Intercept | 4.6052
DTXSID9023889__Human__0_1_____5P6_Inj 2020Aug14_EPA_114 | DTXSID9023889 | 373.0 / 300.0 | 2054 | 1625000 | 0.001264 | 100 | 0 | 4.6052 |  |  | 4 | 0 | 4.6052 | R2 | 0.14015
DTXSID9023889__Human__0_2_____5P6_Inj 2020Aug14_EPA_115 | DTXSID9023889 | 373.0 / 300.0 | 1218 | 1058000 | 0.001151 | 100 | 0 | 4.6052 |  |  | 5 | 0 | 4.6052 | T½ (mins) | >480
DTXSID9023889__Human__0_3_____5P6_Inj 2020Aug14_EPA_116 | DTXSID9023889 | 373.0 / 300.0 | 705.2 | 989400 | 0.0007128 | 100 | 0 | 4.6052 |  |  | 6 | 0 | 4.6052 | CLint (µl/min/106 cells) | 0
Comments
Blank_Human___1_____5P1_Inj 2020Aug14_EPA_003 | Midazolam | 326.2 / 291.0 | 174 | 1782000 | 9.761e-05 |  |  |  | Midazolam - Human | 10 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____5P1_Inj 2020Aug14_EPA_004 | Midazolam | 326.2 / 291.0 | 39.9 | 1767000 | 2.257e-05 |  |  |  | Time (Mins) | 185 |  |  |  | 120 | 111.7% | 117% | 114.8% | 114.5%
Blank_Human___3_____5P1_Inj 2020Aug14_EPA_005 | Midazolam | 326.2 / 291.0 | 323.1 | 1796000 | 0.0001799 |  |  |  | ln Percent Remaining | 190 |  |  |  | 0 | 100% | 100% | 100% | 100%
Midazolam__Human__120_1_____XP1_Inj 006 | Midazolam | 326.2 / 291.0 | 13470000 | 2592000 | 5.197 | 111.6916 | 120 | 4.7157 |  |  | 1 | 120 | 4.7157
Midazolam__Human__120_2_____XP1_Inj 007 | Midazolam | 326.2 / 291.0 | 13130000 | 2694000 | 4.875 | 116.963 | 120 | 4.7619 |  |  | 2 | 120 | 4.7619 | Slope | 0.0011269
Midazolam__Human__120_3_____XP1_Inj 008 | Midazolam | 326.2 / 291.0 | 14180000 | 2990000 | 4.742 | 114.8466 | 120 | 4.7436 |  |  | 3 | 120 | 4.7436 | Intercept | 4.6052
Midazolam__Human__0_1_____5P6_Inj 2020Aug14_EPA_018 | Midazolam | 326.2 / 291.0 | 5464000 | 1174000 | 4.653 | 100 | 0 | 4.6052 |  |  | 4 | 0 | 4.6052 | R2 | 0.96216
Midazolam__Human__0_2_____5P6_Inj 2020Aug14_EPA_019 | Midazolam | 326.2 / 291.0 | 4499000 | 1079000 | 4.168 | 100 | 0 | 4.6052 |  |  | 5 | 0 | 4.6052 | T½ (mins) | >480
Midazolam__Human__0_3_____5P6_Inj 2020Aug14_EPA_020 | Midazolam | 326.2 / 291.0 | 4629000 | 1121000 | 4.129 | 100 | 0 | 4.6052 |  |  | 6 | 0 | 4.6052 | CLint (µl/min/106 cells) | 0
[14 empty] | Comments | Control

## 10uM Data - Inactive
SampleName | CompoundName | Transition | Area | ISTD Area | ISTDResponseRatio | % Remaining | Time (mins) | ln % Remaining | Chart |  |  |  |  | Table
Blank_Human___1_____XP1_Inj 003 | DTXSID3020625 | 373.2 / 317.2 | 80.78 | 1635000 | 4.941e-05 |  |  |  | DTXSID3020625 - Human | 5 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____XP1_Inj 004 | DTXSID3020625 | 373.2 / 317.2 | 96.26 | 1651000 | 5.83e-05 |  |  |  | Time (Mins) | 85 |  |  |  | 120 | 88.71% | 75.02% | 83.9% | 82.54%
Blank_Human___3_____XP1_Inj 005 | DTXSID3020625 | 373.2 / 317.2 | 47.35 | 1611000 | 2.939e-05 |  |  |  | ln Percent Remaining | 90 |  |  |  | 0 | 100% | 100% | 100% | 100%
DTXSID3020625__Human__120_1_____XP1_Inj 111 | DTXSID3020625 | 373.2 / 317.2 | 41950000 | 1970000 | 21.3 | 88.713 | 120 | 4.4854 |  |  | 1 | 120 | 4.4854
DTXSID3020625__Human__120_2_____XP1_Inj 112 | DTXSID3020625 | 373.2 / 317.2 | 41470000 | 2087000 | 19.88 | 75.0188 | 120 | 4.3177 |  |  | 2 | 120 | 4.3177 | Slope | -0.0016187
DTXSID3020625__Human__120_3_____XP1_Inj 113 | DTXSID3020625 | 373.2 / 317.2 | 48150000 | 2327000 | 20.69 | 83.901 | 120 | 4.4296 |  |  | 3 | 120 | 4.4296 | Intercept | 4.6052
DTXSID3020625__Human__0_1_____5P6_Inj 2020Aug14_EPA_258 | DTXSID3020625 | 373.2 / 317.2 | 41950000 | 1747000 | 24.01 | 100 | 0 | 4.6052 |  |  | 4 | 0 | 4.6052 | R2 | 0.79514
DTXSID3020625__Human__0_2_____5P6_Inj 2020Aug14_EPA_259 | DTXSID3020625 | 373.2 / 317.2 | 51940000 | 1960000 | 26.5 | 100 | 0 | 4.6052 |  |  | 5 | 0 | 4.6052 | T½ (mins) | 428.2159
DTXSID3020625__Human__0_3_____5P6_Inj 2020Aug14_EPA_260 | DTXSID3020625 | 373.2 / 317.2 | 44110000 | 1789000 | 24.66 | 100 | 0 | 4.6052 |  |  | 6 | 0 | 4.6052 | CLint (µl/min/106 cells) | 3.2374
Comments
Blank_Human___1_____XP1_Inj 003 | DTXSID3025881 | 109.1 / 91.9 | 222.5 | 1635000 | 0.0001361 |  |  |  | DTXSID3025881 - Human | 6 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____XP1_Inj 004 | DTXSID3025881 | 109.1 / 91.9 | 1121 | 1651000 | 0.0006789 |  |  |  | Time (Mins) | 105 |  |  |  | 120 | 89.53% | 85.5% | 75.02% | 83.35%
Blank_Human___3_____XP1_Inj 005 | DTXSID3025881 | 109.1 / 91.9 | 3458 | 1611000 | 0.002146 |  |  |  | ln Percent Remaining | 110 |  |  |  | 0 | 100% | 100% | 100% | 100%
DTXSID3025881__Human__120_1_____XP1_Inj 209 | DTXSID3025881 | 109.1 / 91.9 | 489200 | 1912000 | 0.2558 | 89.5296 | 120 | 4.4946 |  |  | 1 | 120 | 4.4946
DTXSID3025881__Human__120_2_____XP1_Inj 210 | DTXSID3025881 | 109.1 / 91.9 | 456300 | 1835000 | 0.2487 | 85.5029 | 120 | 4.4486 |  |  | 2 | 120 | 4.4486 | Slope | -0.0015405
DTXSID3025881__Human__120_3_____XP1_Inj 211 | DTXSID3025881 | 109.1 / 91.9 | 495500 | 2089000 | 0.2371 | 75.0249 | 120 | 4.3178 |  |  | 3 | 120 | 4.3178 | Intercept | 4.6052
DTXSID3025881__Human__0_1_____5P6_Inj 2020Aug14_EPA_482 | DTXSID3025881 | 109.1 / 91.9 | 378300 | 1325000 | 0.2856 | 100 | 0 | 4.6052 |  |  | 4 | 0 | 4.6052 | R2 | 0.75297
DTXSID3025881__Human__0_2_____5P6_Inj 2020Aug14_EPA_483 | DTXSID3025881 | 109.1 / 91.9 | 373000 | 1283000 | 0.2907 | 100 | 0 | 4.6052 |  |  | 5 | 0 | 4.6052 | T½ (mins) | 449.9568
DTXSID3025881__Human__0_3_____5P6_Inj 2020Aug14_EPA_484 | DTXSID3025881 | 109.1 / 91.9 | 465300 | 1474000 | 0.3157 | 100 | 0 | 4.6052 |  |  | 6 | 0 | 4.6052 | CLint (µl/min/106 cells) | 3.0809
Comments
Blank_Human___1_____XP1_Inj 003 | DTXSID7041964 | 293.1 / 265.0 | 278.2 | 1635000 | 0.0001701 |  |  |  | DTXSID7041964 - Human | 7 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____XP1_Inj 004 | DTXSID7041964 | 293.1 / 265.0 | 325 | 1651000 | 0.0001968 |  |  |  | Time (Mins) | 125 |  |  |  | 120 | 44.4% | 58.77% | 44.72% | 49.3%
Blank_Human___3_____XP1_Inj 005 | DTXSID7041964 | 293.1 / 265.0 | 423 | 1611000 | 0.0002625 |  |  |  | ln Percent Remaining | 130 |  |  |  | 0 | 100% | 100% | 100% | 100%
DTXSID7041964__Human__120_1_____XP1_Inj 097 | DTXSID7041964 | 293.1 / 265.0 | 415300 | 1851000 | 0.2244 | 44.4038 | 120 | 3.7933 |  |  | 1 | 120 | 3.7933
DTXSID7041964__Human__120_2_____XP1_Inj 098 | DTXSID7041964 | 293.1 / 265.0 | 419300 | 1739000 | 0.2412 | 58.7652 | 120 | 4.0735 |  |  | 2 | 120 | 4.0735 | Slope | -0.0059672
DTXSID7041964__Human__120_3_____XP1_Inj 099 | DTXSID7041964 | 293.1 / 265.0 | 395000 | 1740000 | 0.2269 | 44.7218 | 120 | 3.8005 |  |  | 3 | 120 | 3.8005 | Intercept | 4.6052
DTXSID7041964__Human__0_1_____5P6_Inj 2020Aug14_EPA_226 | DTXSID7041964 | 293.1 / 265.0 | 536800 | 1063000 | 0.5051 | 100 | 0 | 4.6052 |  |  | 4 | 0 | 4.6052 | R2 | 0.93775
DTXSID7041964__Human__0_2_____5P6_Inj 2020Aug14_EPA_227 | DTXSID7041964 | 293.1 / 265.0 | 403200 | 982700 | 0.4103 | 100 | 0 | 4.6052 |  |  | 5 | 0 | 4.6052 | T½ (mins) | 116.1603
DTXSID7041964__Human__0_3_____5P6_Inj 2020Aug14_EPA_228 | DTXSID7041964 | 293.1 / 265.0 | 559100 | 1103000 | 0.5071 | 100 | 0 | 4.6052 |  |  | 6 | 0 | 4.6052 | CLint (µl/min/106 cells) | 11.9343
Comments
Blank_Human___1_____XP1_Inj 003 | DTXSID9023889 | 373.0 / 300.0 | 74.53 | 1635000 | 4.559e-05 |  |  |  | DTXSID9023889 - Human | 8 |  |  |  | Time (Mins) | % Remaining Replica 1 | % Remaining Replica 2 | % Remaining Replica 3 | Average
Blank_Human___2_____XP1_Inj 004 | DTXSID9023889 | 373.0 / 300.0 | 68.2 | 1651000 | 4.131e-05 |  |  |  | Time (Mins) | 145 |  |  |  | 120 | 58.69% | 40.99% | 18.62% | 39.43%
Blank_Human___3_____XP1_Inj 005 | DTXSID9023889 | 373.0 / 300.0 | 40.33 | 1611000 | 2.503e-05 |  |  |  | ln Percent Remaining | 150 |  |  |  | 0 | 100% | 100% | 100% | 100%
DTXSID9023889__Human__120_1_____XP1_Inj 055 | DTXSID9023889 | 373.0 / 300.0 | 15360 | 1805000 | 0.008508 | 58.691 | 120 | 4.0723 |  |  | 1 | 120 | 4.0723
DTXSID9023889__Human__120_2_____XP1_Inj 056 | DTXSID9023889 | 373.0 / 300.0 | 15390 | 1763000 | 0.008729 | 40.9933 | 120 | 3.7134 |  |  | 2 | 120 | 3.7134 | Slope | -0.008627
DTXSID9023889__Human__120_3_____XP1_Inj 057 | DTXSID9023889 | 373.0 / 300.0 | 14030 | 1819000 | 0.00771 | 18.6173 | 120 | 2.9241 |  |  | 3 | 120 | 2.9241 | Intercept | 4.6052
DTXSID9023889__Human__0_1_____5P6_Inj 2020Aug14_EPA_130 | DTXSID9023889 | 373.0 / 300.0 | 15260 | 1055000 | 0.01447 | 100 | 0 | 4.6052 |  |  | 4 | 0 | 4.6052 | R2 | 0.69967
DTXSID9023889__Human__0_2_____5P6_Inj 2020Aug14_EPA_131 | DTXSID9023889 | 373.0 / 300.0 | 25210 | 1187000 | 0.02124 | 100 | 0 | 4.6052 |  |  | 5 | 0 | 4.6052 | T½ (mins) | 80.3462
DTXSID9023889__Human__0_3_____5P6_Inj 2020Aug14_EPA_132 | DTXSID9023889 | 373.0 / 300.0 | 43500 | 1055000 | 0.04125 | 100 | 0 | 4.6052 |  |  | 6 | 0 | 4.6052 | CLint (µl/min/106 cells) | 17.254
Comments